| PRR Number | 584 | PRR Title | Extending Black Start Service Bid Timeline |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.5.8 Black Start Service |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | Change Black Start Service Bids to a two year process |  |
| Reason for Revision |  | Give TO’s and Market Participants more time to prepare and train their System Operators |  |
| Credit Implications (Yes or No, and summary of impact) |  | Unknown |  |
| Timeline |  |  |  |
| Date Posted |  | 3/25/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens (on behalf of BSTF) |
| E-mail Address | franko@gplops.org |
| Company | City of Garland |
| Company Address | 525 East Ave B, Garland TX 75040 |
| Phone Number | 972-205-3003 |
| Fax Number | 972-205-3106 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Not known | Not known | Not known |
| MARKET SEGMENT | Not known | Not known | Not known |
| Consumer | Not known | Not known | Not known |
| LSE: General, Including NOIE | Not known | Not known | Not known |
| LSE: CR & REP | Not known | Not known | Not known |
| QSE | Not known | Not known | Allows more time to prepare for training |
| Resource | Not known | Not known | Allows more time to prepare for training |
| TDSP | Not known | Not known | Allows more time to prepare for training |

Proposed Protocol Language Revision

6.5.8	Black Start Service

(1)	Providers of Black Start Service shall meet the requirements specified in NERC policy and Operating Guides.

(2)	Each Resource providing Black Start Service must meet technical requirements specified in Section 6.10, Ancillary Service Qualification, Testing and Performance Standards.

(3)	Beginning in 2006, ERCOT will request bids from Generation Resource Entities for the provision of Black Start Service.  Such bids shall be due on or before June 1 of each two (2) year period.  Bids will be evaluated based on evaluation criteria attached as an appendix to the request for bids and contracted by December 31 for the next two (2) year period.  ERCOT shall ensure Black Start Services are arranged, provided, and deployed as necessary to reenergize the ERCOT System following a total or partial system blackout.

(4)	ERCOT shall schedule random testing or simulation, or both, to verify Black Start Service is operable according to the ERCOT System restoration plan.  Testing and verification will be in accordance with established qualification criteria.

(5)	QSEs representing Generation Resources contracting for Black Start Services shall participate in training and restoration drills coordinated by ERCOT.

(6)	ERCOT shall periodically conduct system restoration seminars for all TDSPs, QSEs, Generation Entities and other Market Participants.