# Operations Working Group report to ROS December 15, 2004

The OWG last met on November 17, 2004 and reviewed the preliminary results of the ERCOT Winter Preparedness Drill that was conducted on November 10, 2004.  Drill participants included 13 QSEs and 8 TOs. The drill was considered a success. Several issues were recognized as needing further attention such as the hotline capabilities of the back up centers, regularly updated lists of back up center telephone and fax numbers, and procedures for digital certificate renewal. The Operations Task Force will present a formal drill review at the OWG meeting in January.

The OWG discussed OGRR 156 - Reactive Considerations due to PRR 409 - and remanded to the OGRTF to resolve concerns related to the communication path for voltage control and compliance. This OGRR will be on the OGRTF’s agenda in January.

The approved OWG minutes are posted on the ERCOT website.

The next OWG meeting is scheduled for January 19, 2005.

The OWG recommends the following OGRRs for ROS approval:

OGRR 157 – Delete Test Form for Non-Spin - Remove unit specific non-spin test form from Operating Guides. No comments received.

OGRR 158 – Consistent UF Relay Trip Time Language - Revise Operating Guide 2.9.1 (Automatic Firm Load Shedding) to be consistent with approved OGRR150 (Clarification of UF Relay Trip Time for Load Shedding).

- The Operating Guide Revision Task Force met last on November 16, 2004.

Operating Guide Update:

Effective December 1, 2004

OGRR153 – Reactive Capability Testing - Revision of Operating Guide Section

3.1.4.3 and Section 6.2.3 to conform to ERCOT Generator Reactive Testing Procedures as prescribed in PRR 535.

Posted OGRRs in Comment Period:

OGRR 154 – Generator Protection Requirements - Describes the operating conditions under which generators should stay connected. Complies with NERC Planning Std IIICM7. (The SPWG has been asked to review this OGRR.)

OGRR 155 – Section 3 Corrections and Clarifications - Implements Protocol and Operating Guides Reference Corrections, Section title corrections, punctuation corrections, corrections to pre-deregulation language, and defined term corrections.  Removes redundant and unnecessary language.

OGRR 156 – Reactive Considerations due to PRR 409- Adds appropriate language to ensure the timely response of Generation Resources to ERCOT instructions for Voltage Support Service. This is a TAC assignment.

OGRR 159 – Clarification of QSE SCE equation, Bias Setting, and Turbine Speed Governors – Defines governor dead band per NERC Policy 1 and governor free to respond to all frequency deviations.

OGRR 160 – Administrative Changes – updates to Protocols referenced in OG sections 3.1.4.3, 3.2.1.2, 8.2.6, 8.2.7, and 8.2.9.

Next OGRTF meeting is scheduled for January 18, 2004.

- The Black Start Task Force met on November 2, 2004.  The 2005 Black Start Plan is on schedule and a draft will be reviewed at the December 16th meeting in Taylor. The existing TDSP synch scope locations are being reviewed and recommendations for new installations will be made.

- The Operations Task Force met on November 18, 2004.  The TF reviewed lessons learned from the November 10th Drill and discussed future drill scenarios such as hurricanes, capacity emergencies and transmission outages. The TF will continue to work with ERCOT to develop drill scenarios and scripts. There are currently no meetings scheduled.