| PRR Number | 525 | PRR Title | SCE Performance and Monitoring |
| --- | --- | --- | --- |
| Impact Analysis Date |  | February 10, 2005 |  |
| Credit Impacts |  | YES _______ NO ___X___ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | 5-L ($100,000 - $500,000) |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Two independent system development projects are necessary. The project to automate reports will take approximately 2 months and cannot begin until after Enterprise Data Warehouse deployment (PR-40042-01, PR-40042-07, and CR-50005), estimated to occur in Summer 2005. The EMMS project will take approximately 4-6 months. |  |
| ERCOT Staffing Impacts (across all areas) |  | The manual production of the compliance report will cause an immediate, but temporary increase in the Compliance staffing workload that will subside upon report automation to a level easily accommodated by current staff. If the compliance report is not automated, current staff will be able to handle the workload; however, manual report preparation will take an estimated additional twelve hours per month. |  |
| ERCOT Computer System Impacts |  | ERCOT system modifications would require: - the development of an automated Compliance report by the EDW development team (see Evaluation of Interim Solutions below); and - modification to the EMMS system by ERCOT personnel to: - send QSEs a signal for the modified participation factor L10 and archive data as appropriate (to enable QSEs to shadow their own score), and - display the Real Time Ancillary Services performance (for use by ERCOT Compliance). |  |
| ERCOT Business Function Impacts |  | None |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Evaluation of Interim Solutions (e.g., manual workarounds)

The ERCOT Compliance team could manually produce the report that contains SCE performance data until report automation is completed. There is no manual workaround for the EMMS project. QSEs will not be able to shadow their performance until this project is completed.

Comments