| PRR Number | 564 | PRR Title | Clarification of OOME Definition |
| --- | --- | --- | --- |
| Impact Analysis Date |  | April 12, 2005 |  |
| Credit Impacts |  | YES _______ NO __X__ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Six weeks are necessary to update Control Room procedures documentation and train staff prior to the effective date. Also see Evaluation of Interim Solutions below. |  |
| ERCOT Staffing Impacts (across all areas) |  | There will be a minor increase in workload to ERCOT Control Room staff and Settlements staff to communicate and process Verbal Dispatch Instructions (VDIs) associated with the activation of a Special Protection Scheme (SPS). |  |
| ERCOT Computer System Impacts |  | None. See Evaluation of Interim Solutions below. |  |
| ERCOT Business Function Impacts |  | An additional business function to communicate with Transmission Service Providers (TSPs) regarding the activation of an SPS and processing of the associated VDI will need to be incorporated into the Control Operations procedures documentation. |  |
| Grid Operations & Practices Impacts |  | The activation of an SPS will require verbal confirmation with a TSP and the issuance of a VDI to the affected Qualified Scheduling Entity (QSE). |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Evaluation of Interim Solutions (e.g., manual workarounds)

A manual workaround is the recommended solution due the current infrequency of activating an SPS (averaging one every two months). The TSP shall notify Control Room Operations, who shall issue a VDI to the affected QSE. This VDI shall be sent to Settlements for manual processing. If the frequency of these occurrences increases to a level that impedes the process either in the Control Room or for Settlements, ERCOT will consider an automated solution.

Comments

The revisions adopted to this PRR by PRS on 3/17/05 did not necessitate any notable changes to the original Impact Analysis for this PRR.