| PRR Number | 592 | PRR Title | Modify Shift factor Calculation to Exclude Fixed Output Generators |
| --- | --- | --- | --- |
| Impact Analysis Date |  | April 12, 2005 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | Section 7.2.1.4, Option 1 has no budget impact. Section 7.2.1.4, Option 2 solution is estimated to be 6-LL (less than $100k). |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | Section 7.2.1.4, Option 1 does not require a project. Section 7.2.1.4, Option 2 automation would take approximately 3 months. |  |
| ERCOT Staffing Impacts (across all areas) |  | Section 7.2.1.4, Option 1 will add a negligible workload to existing ERCOT staff to compile the list of all nuclear, coal or lignite fueled Generation Resources that will be excluded from the calculation of Zonal Shift factors for the year. Section 7.2.1.4, Option 2 would require an extra couple of days per month by ERCOT Planning staff to calculate the monthly shift factors for the list of units generated by the Enterprise Data Warehouse (EDW). Automating the calculations suggested in Option 2 in EDW is desirable so as to allow for efficient use of ERCOT Planning resources. If the EDW automated solution is not implemented, ERCOT Planning staff would need an additional week each month to perform the calculation manually. See Evaluation of Interim Solutions section. |  |
| ERCOT Business Function Impacts |  | Section 7.2.1.4, Option 1, has a negligible impact. Section 7.2.1.4, Option 2, adds the requirement for ERCOT Planning to every month determine a list of units to exclude from the shift factor calculations. The manual solution to perform the Option 2 calculations will be an additional function. See Evaluation of Interim Solutions section. |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Automating the calculations suggested in Option 2 in EDW is desirable so as to allow efficient use of ERCOT Planning resources. If the EDW automated solution is not implemented, ERCOT Planning staff would need an additional week each month to perform the calculation manually.

Evaluation of Interim Solutions (e.g., manual workarounds)

If the EDW automated solution cannot be implemented, ERCOT Planning staff needs an additional week each month to perform the Option 2 calculations, generate the list of units, and perform the monthly shift factor calculations.

Comments

This PRR addresses Potomac Economics Recommendation No. 3 which suggests modifying the zonal average shift factor calculation methodology to exclude generation whose output is generally fixed.