ERCOT Meter Working Group Meeting

Agenda

Meeting Date: April 12, 2005

Location: ERCOT Taylor Control Center 1

Taylor, TX

Conference Room 253

9:00 – 9:05: 	Reading of ERCOT Anti trust rules.

- Reading of the ERCOT Anti trust rules by Ken Swift.

- Introductions were done.

.

9:05 – 9:10: 	Opening Business from Chairman – Ken Swift

- Ken Swift discussed the details of the confirmation of Chair and Vice Chair at the WMS meeting.

- The Group was informed how to subscribe to 1 Metering subcommittee.

9:10 – 9:40:	Update and finalize on MV90 Event Codes – Pat Vinton

Meters with open issues:

Transdata – CenterPoint

Q1000 - Austin Energy

JEMSTAR - Pat Vinton

- Pat discussed the Event Codes with the group (See attached file).

Action Item: 	-ERCOT will develop a list of events that may impact the 				data (within 90 to 120 days).

-ERCOT will clarify the events meaning and how it impacts the data.

-ERCOT will use the TDSP as resources.

-TDSP will need to still work with the meter manufactures 		 	             with the current list.

9:40 – 10:40: 	Fiber Optic Current Transformers – Discuss process involving 				recertifying and maintenance of Fiber Optic CT’s – Ken Swift

Discussion on recent LCRA OCT test – Mark Rollins

Open for Discussion

- Ken showed a photo slide of his CCVT’s and OCT’s system replacements.

- Mark presented a power point presentation of LCRA OCT’s field test by ARVEA. If someone needs a copy of the presentation, contact Mark Rollins at LCRA.

10:40 – 11:30:	Capacitive Coupling Voltage Transformers – Discuss process involving 			recertifying and maintenance of Capacitive Coupling VT’s – Ken Swift

Open for Discussion:

- The Group discussed a method to track testing and repair of CCVT’s and OCT’s

Action Items:	-TXU will develop a tracking spreadsheet.

-TDSP’s will track test results from CCVT’s and OCT’s.

-ERCOT will receive the updated test results from the TDSP’s.

-ECROT will keep a master spreadsheet with the 					information provide by the TDSP’s. (Spreadsheet will 				include historical information).

-Updates will be provided by LCRA, TXU, CenterPoint, AEP, CPS, Austin Energy, and others.

11:30 – 12:30: Lunch (1 hour for lunch. NO Lunch will be provided)

12:30 – 13:15: Discussion about editing or rewording of SMOG items:

Section 3.3 (f)	Burden - Don Tandon (Supported by Bob Collins)

ERCOT will edit section 3.3(f) in SMOG with wording agreed to from the meeting (See attachment).

Discussion about any other changes to SMOG

ERCOT will send out red lined copy of SMOG to MWG, which will include the wording approved by MWG for section 3.3(f), for additional comments (See the attached file).

13:15 – 14:00: Present updated and rewording of the Site Audit Check list - ERCOT.

-ERCOT proposed changes to the Site Audit checklist was approved as modified by the MWG.

-ERCOT will post the updated file to the website.

Review and comments on the ERCOT Settlement Metering

Website Open 	items that need to be clean up

Due to lack of time this was not discussed at this meeting.

14:00 – 15:30: New Business (open for discussion)

Revising Protocol Discussion

MWG reviewed Protocols Section 10 which was sent to the group on 4/7/05. It was edited to add clarification to the definition of annual meter test and 5 year CCVT and OCT tests in section 10.6.1.2.

ERCOT Market Rule clarified the definition developed by MWG. They will help MWG develop PRR to synch existing Protocols Section 10 with the TNT approved changes (See the attached file).

Other

15:30 – 16:00: Wrap up

Next Meeting around June/July