ROS Summary Report to TAC for March 3, 2005

# OGRR Recommended for TAC Approval:

OGRR 159 – Clarification of QSE SCE Equation Bias Setting and Turbine Speed Governors - Clarification of QSE Schedule Control Error equation Bias Setting and reference to Protocol Section 5.8.2. Define Governor dead band per NERC Policy 1 and governor free to respond to all frequency deviations.

## Status of TAC Assignments to ROS

Reliable Fuel Operations Update – DRAFT PRR language has been developed concerning notice to dual fuel facilities to prepare for anticipated severe cold weather and will be on the agenda for the March ROS meeting.

#### Verify Operating Guide Language Supports PRR 409 Voltage Support Service – Prior to implementation of PRR 409, currently waiting for system changes, ERCOT is expected to revise its procedures and OGRR 156 – Reactive Considerations due to PRR 409 will be voted on at the next ROS meeting.  This OGRR is expected to be a voting item at the April TAC meeting.

State Estimator Observability and Redundancy Requirements Document – posted as OGRR 163. This OGRR includes sections 5 and 6 from the “State Estimator Observability and Redundancy Requirements” document, placed in the appropriate Operating Guide section as determined by OGRTF, outlining ERCOT’s requirements and exception process.  The sections have been added as new Operating Guide sections 8.1.6.2.1 and 8.1.6.2.2 as a starting point for further comments.

## Other ROS Activities

Double Circuit Outage Contingency Ad Hoc - The group reviewed previous work and determined that the probability of 1 outage of each DCKT line every 7-18 years could be expected.  The group looked at Non-ERCOT criteria specifically operating criteria of large ISOs and other control areas.  The options for DCKT inclusion were discussed.  The next steps of the group will be to explore market solutions further and bring ROS choices on how to handle this issue at the March ROS meeting.