| PRR Number | 564 | PRR Title | OOME Definition |
| --- | --- | --- | --- |
| Date |  | 3/11/05 |  |
| Submitter’s Information |  |  |  |
| Name |  | Bob Helton |  |
| E-mail Address |  | bhelton@anpower.com |  |
| Company |  | American National Power, Inc. |  |
| Company Address |  | 18509 Champions Circle, Point Venture TX. 78654 |  |
| Phone Number |  | 832-435-7815 |  |
| Fax Number |  | 512-267-3833 |  |

Comments

ANP – Calpine recommends revision to Section 6.5.11 in addition to the original revision to Section 6.1.11.  Also recommended are changes to the PRR Title, Description, Reason for Revision and Impacts/Benefits.

| PRR Number | 564 | PRR Title | OOME Definition |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.1.11, Out-of-Merit Energy Service, 6.5.11, Zonal Out-of-Merit Energy Service |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | Provides ERCOT guidance when there is an actuation of a special protection system (SPS). |  |
| Reason for Revision |  | While the protocols implicitly indicate that an SPS actuation as an OOME Dispatch they do not explicitly include an SPS in its definition in section 6. Therefore, this PRR only gives guidance to ERCOT on handling settlement. Currently, Resource owners under an ERCOT approved SPS have to file a dispute to correct the settlement after an SPS actuation. Section 5 – Dispatch, of the protocols indicate that an SPS is an authorized Dispatch Instruction by ERCOT as stated below. 5.4.1 Control Area Operator Authority ERCOT, as Control Area Operator (CAO), is authorized to take the following actions for the limited purpose of securely operating the ERCOT Transmission Grid in conformance with the standards specified in Section 5.2, Standards and Practices, including, but not limited to: - Direct the physical operation of the ERCOT System, including circuit breakers, switches, voltage control equipment, protective relays, metering and Load shedding equipment; …….. As stated in OG section 7.2.2.13, Special Protection Systems (SPS) are protective relay systems designed to detect abnormal ERCOT System conditions and take pre-planned corrective action (other than the isolation of faulted elements) to provide acceptable ERCOT System performance. SPS actions include among others, changes in Demand, generation, or system configuration to maintain system stability, acceptable voltages, or acceptable Facility loadings. The SPS is used because neither the ERCOT Operating System or System Operators would be able to take corrective action in an acceptable timeframe. Therefore, as the above indicates, an SPS is a pre-planned corrective action Dispatch approved by ERCOT which is implemented automatically when system conditions warrant. Therefore, an SPS is a legitimate ERCOT OOME Dispatch Instruction. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No impact |  |
| Timeline |  |  |  |
| Date Posted |  | 12/17/04 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Robert Helton |
| E-mail Address | bhelton@anpower.com |
| Company | American National Power, Inc. |
| Company Address | 18509 Champions Circle, Point Venture TX. 78654 |
| Phone Number | 832-435-7815 |
| Fax Number | 512-267-3833 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | No impact as this only gives ERCOT guidance and automates the settlement of SPS actuations | None, this is handled by the issuance of a VDI instruction upon SPS actuation. | Clarifies ERCOT’s actions |
| MARKET SEGMENT |  |  |  |
| Consumer | No impact as this only gives ERCOT guidance and automates the settlement of SPS actuations | No impact | No impact |
| LSE: General, Including NOIE | No impact as this only gives ERCOT guidance and automates the settlement of SPS actuations | No impact | No impact |
| LSE: CR & REP | No impact as this only gives ERCOT guidance and automates the settlement of SPS actuations | No impact | No impact |
| QSE | No impact as this only gives ERCOT guidance and automates the settlement of SPS actuations | No impact | Provides guidance for QSE’s and eliminates the need for filing disputes for settlement |
| Resource | No impact as this only gives ERCOT guidance and automates the settlement of SPS actuations | No impact | Provides guidance for QSE’s and eliminates the need for filing disputes for settlement |
| TDSP | No impact as this only gives ERCOT guidance and automates the settlement of SPS actuations | No impact | No impact |

Revised Proposed Protocol Language

6.1.11	Out-Of-Merit Energy Service

As provided by ERCOT to QSEs: The deployment by ERCOT for the Settlement Interval of energy from Resources, that may or may not have provided Resource-specific premium bids, and used by ERCOT to provide Balancing Energy Service when no Market Solution exists for resolving Congestion, the actuation for specific units under an ERCOT approved Special Protection System or if required in declared emergencies as described in these Protocols.

6.5.11	Zonal Out-of-Merit Energy Service

(1)	ERCOT will use Zonal OOME Deployments to procure additional energy required to provide reliable ERCOT System operation, as determined by ERCOT.  Zonal OOME Deployments shall not be used to bring on additional capacity.

(2)	Any QSE with Generation Resources may be called upon by ERCOT to provide Zonal OOME Service in any time frame that the Resources are listed as on line in the Resource Plan.

(3)	Zonal OOME is used by ERCOT only when necessary to provide ERCOT System security and only after other Congestion management techniques have failed to clear a Congestion problem.  ERCOT will call on Zonal OOME Service in such a way as to minimize the use of this service as much as practicable.

(4)	Zonal OOME will be settled in accordance with Section 6.8.2.5, Settlement of Zonal OOME Deployments.

(5)	The QSE associated with the Generation Resources that receives a Zonal OOME Dispatch Instruction must use all commercially reasonable efforts to provide the requested service.  If the QSE declines the Dispatch Instruction according to the provisions of Section 5.4.4, Compliance with Dispatch Instructions, of these Protocols to provide Zonal OOME Service(s), ERCOT will post such declines on the MIS.

- Upon a SPS actuation the TSP shall inform ERCOT of the time of actuation.  The affected QSE(s) will receive a VDI OOME instruction corresponding with the actuation that will last no longer than four hours after the time of actuation.  If the actuation results in a unit being taken Off-line then ERCOT will proceed in accordance with the OOME offline Dispatch in section 6.5.10 (12).

- In the event the SPS triggers a trip of a DC Tie, the user of the tie will also be entitled to OOME treatment.  ERCOT will proceed in accordance with OOME down Dispatch provisions in Section 6.8.2.3 (4), utilizing the RCGFC category (Combined Cycle greater than 90 MW** = FIP * 5 MMBtu/MWh).

**	Determined by capacity of largest simple cycle combustion turbine in the train.