| PRR Number | 580 | PRR Title | Modify RMR Evaluation |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.1.9 Reliability Must Run |  |
| Requested Resolution (Normal or Urgent) |  | Urgent in order to be effective before Summer 2005. |  |
| Revision Description |  | Removes “localized” restriction on transmission constraints for consideration of RMR Units. |  |
| Reason for Revision |  | Violation of transmission constraints are a reliability concern, regardless of whether the constraints are localized. In fact, violation of bulk area (inter-zonal) transmission constraints has much more severe consequences than violation of localized constraints, because the amount of Load at risk and potential for large scale cascading outages is much higher. |  |
| Timeline |  |  |  |
| Date Posted |  | 3/8/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Manuel Munoz |
| E-mail Address | manuel.munoz@centerpointenergy.com |
| Company | CenterPoint Energy |
| Company Address | 1111 Louisiana, Houston, TX. 77002 |
| Phone Number | 713-207-5398 |
| Fax Number | 713-207-9270 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Unknown | Unknown | More reliable service |
| MARKET SEGMENT | Unknown | Unknown | More reliable service |
| Consumer | Unknown | Unknown | More reliable service |
| LSE: General, Including NOIE | Unknown | Unknown | More reliable service |
| LSE: CR & REP | Unknown | Unknown | More reliable service |
| QSE | Unknown | Unknown | More reliable service |
| Resource | Unknown | Unknown | More reliable service |
| TDSP | Unknown | Unknown | More reliable service |

Comments

Make the redline changes to Section 6.1.9 of the March 2005 Protocols as described below.

Proposed Protocol Language Revision

6.1.9	Reliability Must-Run Service

As provided by ERCOT to QSEs: Agreements for capacity and energy from Resources which otherwise would not operate and which are necessary to provide voltage support, stability or management of transmission constraints under first contingency criteria, as described in the Operating Guides, where Market Solutions do not exist. The assessment of the need for such Resources will include a determination of whether there is adequate generation capacity within a zone such that the sum of the generation capacity in the zone and the import capability into the zone exceed the estimated peak Load within that zone by the prescribed ERCOT generation adequacy reserve margin. In situations where RMR agreements are necessary to ensure generation adequacy within an ERCOT Congestion Zone, ERCOT shall designate ERCOT Board-approved transmission projects designed to increase import capacity into that zone (and thereby mitigate the need for the Reliability Must Run agreement) as critical to ERCOT System reliability.  Furthermore, in such situations any generator desiring interconnection of one or more generating units into that zone will receive expedited generation interconnection study consideration, including foregoing the ERCOT screening analysis, since it is already clear additional generation capacity in that zone would benefit ERCOT System reliability.  This includes service provided by RMR Units and MRA Resources.