| PRR Number | 580 | PRR Title | Modify RMR Evaluation |
| --- | --- | --- | --- |
| Date |  | March 16 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Tony Grasso P.E. |  |
| E-mail Address |  | Tony.grasso@puc.state.tx.us |  |
| Company |  | Public Utility Commission of Texas |  |
| Company Address |  | 1701 N. Congress, Austin Tx 787-3326 |  |
| Phone Number |  | (512) 936-7385 |  |
| Fax Number |  | (512) 936-7361 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

This PRR proposes to improve reliability by providing one more tool to ERCOT. The mechanism proposed attempts to guarantee that the zonal balancing energy bids are sufficient to cover the requirements of any and all projected CSC congestion by utilizing a resource that would other wise lay idle.   At face value this seems like a valuable tool, especially in conjunction with the fact that the unit specific shift factors would be used in selecting units which may actually provide a higher quality of bids even though expensive.  Recently with bid stack depletion becoming more common, this has become severe reliability concern.  If this gives ERCOT one more tool at no additional cost then this PRR should be adequately analyzed for its full value.

Revised Proposed Protocol Language