| PRR Number | 581 | PRR Title | Update RMR Language due to PUC Rule 25.502 |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.5.9.1 (7) and (8) |  |
| Requested Resolution (Normal or Urgent) |  | Urgent to make ERCOT Protocols compliant with PUC Rules |  |
| Revision Description |  | Change the RMR language to be consistent with PUC Substantive Rule 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas, which became effective Jan. 9, 2005. |  |
| Reason for Revision |  | The existing protocols allow a Generation Resource to suspend operations after 90 days of negotiation with ERCOT if an RMR Agreement has not been mutually agreed to. PUC Substantive Rule 25.502 (2) , which became effective Jan. 9, clearly states that the Generation Resource must be maintained available for OOM Dispatch by ERCOT until: - ERCOT determines that the Generation Resource is not required for ERCOT reliability; - any RMR Agreement takes effect; - the commission determines that the Generation Resource is not required for ERCOT reliability; or - a commission order requiring the Generation Entity to provide RMR service takes effect. This PRR would make the Protocols consistent with the PUC Substantive Rules. |  |
| Timeline |  |  |  |
| Date Posted |  | 3/8/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Manny Munoz |
| E-mail Address | manuel.munoz@centerpointenergy.com |
| Company | CenterPoint Energy |
| Company Address | 1111 Louisiana, Houston, Tx. 77002 |
| Phone Number | 713-207-5398 |
| Fax Number | 713-207-9270 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Unknown | Unknown | Complies with PUC Rules; helps maintain system reliability |
| MARKET SEGMENT |  |  |  |
| Consumer | Unknown | Unknown | Complies with PUC Rules; helps maintain system reliability |
| LSE: General, Including NOIE | Unknown | Unknown | Complies with PUC Rules; helps maintain system reliability |
| LSE: CR & REP | Unknown | Unknown | Complies with PUC Rules; helps maintain system reliability |
| QSE | Unknown | Unknown | Complies with PUC Rules; helps maintain system reliability |
| Resource |  |  | Complies with PUC Rules; helps maintain system reliability |
| TDSP | Unknown | Unknown | Complies with PUC Rules; helps maintain system reliability |

Comments

In order to achieve compliance with PUC Substantive Rule 25.502, the following redline changes to the March 2005 Protocols are recommended.

Proposed Protocol Language Revision

6.5.9.1	Initiation and Approval of RMR Agreements

(1)	Except for the occurrence of a Forced Outage, a Generation Entity must notify ERCOT in writing no less than ninety (90) days prior to the date on which the Generation Entity intends to cease or suspend operation of a Generation Resource for a period of greater than one hundred eighty (180) days by submitting a completed Part I of the Notification of Suspension of Operations (Notification) (Found in Section 22, Attachment I, RMR Notification) . The Generation Entity may also complete Part II of the Notification and submit it along with Part I, or may wait to submit Part II until ERCOT makes an initial determination of the need for the Generation Resource as RMR.  The Part I Notification must include a corporate officers’ attestation that a Generation Resource is uneconomic to remain in service and will be unavailable for Dispatch by ERCOT for a period specified in the Notification.  The “Minimum Agreement Period” shall be the one hundred eighty (180) day period from November 1 through April 30.  ERCOT may execute RMR Agreements for the Minimum Agreement Period or for a term of one year, except as provided in Section 6.5.9, Reliability Must Run Service, item (5).  At least sixty (60) days before the expiration of an existing RMR Agreement, the Generation Entity may apply to renew the RMR Agreement.  In order to apply to renew the RMR Agreement, the Generation Entity must submit a new Notification (including both Part I and Part II).

(2)	Upon receipt of the Part I Notification, ERCOT shall post all existing relevant studies and data and ERCOT shall provide electronic Notice to all Registered Market Participants of the Notification.

(3)	Within fourteen (14) days, following the postings described in Subsection 6.5.9.1(2), above, unless otherwise notified by ERCOT that a shorter comment period is required, Market Participants may submit comments to ERCOT on whether the Generation Resource meets the test of operational necessity to support ERCOT System reliability as described in Subsection 6.5.9, Reliability Must Run Service, item (4).  ERCOT shall consider and post all submitted comments on the MIS.

(4)	Within eighteen (18) days of receiving Notification, ERCOT will make an initial determination of whether the Generating Resource is required to support ERCOT reliability.  ERCOT will post this determination on the MIS and notify the Generation Entity of the determination.

(5)	Within ten (10) days of a determination by ERCOT that the Generating Resource is required to support ERCOT reliability, the Generation Entity shall complete Part II of the Notification of Suspension of Operations (Found in Section 22, Attachment I, RMR Notification). Upon receipt of Part II, ERCOT and the Generation Entity shall begin good faith negotiations on an RMR Agreement. ERCOT shall post the Part II information on the MIS.

(6)	Within sixty (60) days of receiving the Part I Notification, ERCOT will make a final assessment of whether the Generating Resource is required to support ERCOT reliability.  If ERCOT determines that the Generating Resource is required, and the RMR Agreement between ERCOT and the Generation Resource has not yet been finalized, good faith negotiations will continue.  If ERCOT determines that the Generating Resource is not needed to support ERCOT reliability, then the Generating Resource may cease or suspend operations according to the schedule in its Notification.

(7)	If, after ninety (90) days following receipt of the Part I Notification, ERCOT and the Generation Entity have not finalized an RMR Agreement for a Generating Resource that ERCOT has determined to be required for ERCOT reliability, then the Generating Resource must maintain the Resource available for OOM Dispatch Instructions under Section 6, Ancillary Services, until the requirements described in P.U.C.T. Subs. R. 25.502, Pricing Safeguards in Markets Operated by the Electrical Reliability Council of Texas, are met. The Generation Resource may also file a complaint with the PUCT in accordance with the rule.

(8)	Until the later of ninety (90) days following receipt of the Notification, the suspension date listed in its Notification,  or the requirements described in (7) above are met, the Generating Entity must maintain such Resource(s) available for OOM Dispatch Instructions under Section 6, Ancillary Services.

(9)	After conducting the analysis required by these Protocols and after the date on which it executes an RMR Agreement, ERCOT shall provide Notice to the Board, at the next Board meeting after ERCOT has signed the RMR Agreement, that the following steps have been completed with respect to any RMR Agreement signed by ERCOT:

a)	The Generation Entity provided a complete and timely Notification including a sworn attestation supporting its claim of pending plant closure.

b)	ERCOT received all the data requested from the applicant necessary to evaluate the need for and provisions of the RMR Agreement.  Such information was posted on the MIS by ERCOT, as it became available to ERCOT and no later than prior to execution of the RMR Agreement;

c)	The recommended RMR Agreement is consistent with the ERCOT Protocols; and

d)	ERCOT evaluated:

(i)	The reasonable alternatives to a specific RMR Agreement that exist and compared the alternatives against the feasibility, cost and reliability impacts of the proposed RMR Agreement;

(ii) 	The timeframe in which ERCOT expects each unit to be needed for reliability; and

(iii)	The specific type/scope of reliability concerns identified for each potential RMR Unit.

(10)	ERCOT shall post on the MIS as they become available, unit-specific studies, reports, and data, by which ERCOT justifies entering into the RMR Agreement.