| PRR Number | 587 | PRR Title | Modification of CSC or CRE definitions |
| --- | --- | --- | --- |
| Impact Analysis Date |  | April 1, 2005 |  |
| Credit Impacts |  | YES _______ NO ______ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project is necessary. See Comments section below. |  |
| ERCOT Staffing Impacts (across all areas) |  | None. See Comments section below. |  |
| ERCOT Computer System Impacts |  | None |  |
| ERCOT Business Function Impacts |  | None |  |
| Grid Operations & Practices Impacts |  | ERCOT Operations will have added flexibility to temporarily modify CSCs and CREs due to topology changes. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

This PRR addresses Potomac Recommendation No. 4 by granting ERCOT the authority to modify CSC and CRE definitions as deemed necessary by ERCOT Operations in the event of topology changes during the year. If a modified CSC or CRE is deemed necessary by ERCOT Operations, current ERCOT staff will continue to perform the same business functions; specifically, managing zonal congestion via adjustments to OC1 limits. This change will afford ERCOT more flexibility in which transmission elements it monitors to determine the OC1 limits. In conjunction, a Market Bulletin describing the modification will be sent to Market Participants and made publicly available on ERCOT’s website.