| PRR Number | 587 | PRR Title | Midyear Modification of CREs |
| --- | --- | --- | --- |
| Date |  | April 19, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Beth Garza based on input from CMWG meeting on April 13 |  |
| E-mail Address |  | bgarza@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6361 |  |

Comments

Based on input received at the April 13, 2005 Congestion Management Work Group meeting. ERCOT offers the following comments.

These comments propose to consolidate a portion of PRR589 (CSC and Zone Determination) that addresses CRE determination with the new language proposed in PRR587.  More specifically, the revisions proposed in these comments are intended to reflect the following:

- ERCOT staff will develop a list of CREs for the year using, at minimum, the analytic criteria described in the current Protocols.

- ERCOT staff may propose any additional CREs they deem appropriate.

- During the year, ERCOT staff may propose additional CREs for TAC approval.

- When presented for stakeholder approval, ERCOT staff shall describe their justification for proposing each CRE (either annual or mid-year).

- TAC shall take action on a mid-year CRE recommendation within 7 days of ERCOT’s request.  If TAC takes no action within this deadline, the proposal shall be deemed approved.

In addition, ERCOT proposes to revise the style of this PRR to better reflect its intent.

Revised Proposed Protocol Language

7.2.3	Determining Closely Related Elements (CREs)

For each year, ERCOT staff shall identify potential CREs using, at a minimum, the following process:

(1)	Determine the Zonal Average Shift Factor for a particular CSC (Xz) for each Zone (z).

(2)	Determine the zonal average Shift Factor for the candidate CRE (Yz) for each Zone z using the same generation weighting as in (1) but ignoring Boundary Generation Resource buses that would cluster into a different Congestion Zone with respect to the CRE.

(3)	Determine positive “a” applying least-square curve fitting to the following equation:

Yz = a (Xz) + bz  	for all Zones z.

(4)	Using “a” from (3), determine the maximum absolute value of bz.

(5)	Also determine the total capacity (MW) of Boundary Generation Resources that would cluster into a different Congestion Zone.

(6)	If the maximum absolute value of bz is less than a threshold set by the appropriate TAC subcommittee, not to exceed 0.2, and the total capacity of Boundary Generation Resources that would cluster into a different Congestion Zone is less than 1,500 MW, then the element is a CRE for the particular CSC.

ERCOT staff may identify potential CREs in addition to the potential CREs identified through the process described above as they determine appropriate.  ERCOT shall present all proposed CREs, including justification for their inclusion, to the appropriate ERCOT TAC Subcommittee for approval.

- During the effective year, ERCOT staff may propose additions to the list of CREs, as needed to more closely represent actual system constraints that can be effectively resolved by Zonal Balancing Energy deployments.  Any additions to the list of CREs will not affect Congestion Zone definition or composition, nor will they affect CSC definitions.  ERCOT shall present modifications proposed to the list of CREs after the start of the year to TAC for approval.  TAC will have seven (7) days to take action on the proposed modification.  If TAC takes no action within seven (7) days, the proposed modification shall be deemed approved.