| PRR Number | 596 | PRR Title | Mothballed Generation Resource Estimated Return to Service Dates |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 6.5.9.3, Mothballed Generation Resource Time to Service Update |  |
| Requested Resolution (Normal or Urgent) |  | Urgent: This PRR is submitted as urgent because the data to be generated from this PRR is necessary to complete the reserve margin calculation that will result from the work of the Generation Adequacy Task Force. The interest in this issue—and the resulting reserve margin estimates—from the ERCOT Board and the Public Utility Commission emphasizes the urgency of this request. |  |
| Revision Description |  | This revision requires owners of Mothballed Generation Resources to provide annually to ERCOT projections of the MW of generation capacity of currently Mothballed Generation Resources that will return to service over the next five years. |  |
| Reason for Revision |  | The estimates submitted by owners of Mothballed Generation Resources will allow ERCOT to compute projected reserve margins based upon owners’ self-reported expectations of when/whether currently mothballed units will be returned to service. Annual submissions are required to assure that the reported estimates reflect updated economic and market conditions. The individual reports will be maintained by ERCOT as Protected Information under the already adopted language in 1.3.1.1(21). ERCOT will aggregate the individual submissions and report only the aggregated values to the market as required. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  | 4/19/05 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Mark Dreyfus (on behalf of GATF) |
| E-mail Address | Mark.dreyfus@austinenergy.com |
| Company | Austin Energy |
| Company Address | 721 Barton Springs Rd. |
| Phone Number | 512-322-6544 |
| Fax Number | 512-322-6521 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  | Improve input information into reserve margin calculations. |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE | Annual preparation of and submission of reports. |  |  |
| Resource | Annual preparation of and submission of reports. |  |  |
| TDSP |  |  |  |

Proposed Protocol Language Revision

6.5.9.3	Mothballed Generation Resource Time to Service Updates

By [insert effective date plus thirty days] and thereafter by April 1st of each year, every Generation Entity that owns or controls a Mothballed Generation Resource shall report to ERCOT, on a unit specific basis, the estimated lead time required for each Mothballed Generation Resource to be capable of returning to service and the MW of generation capacity from each Mothballed Generation Resource that the Generation Entity expects to return to service in each season of each of the next five (5) years.