## PRRs Since April 2004
Protocol Revision Requests Since April 2004 |  |  |  |  | Search | m5 | d5
| Last update: 4/12/2005 |  |  |  | Term | 9/9/04 | 6.8.2
Rev Req No. | Description | Protocol Section | Board Action | Effective Date/Status | Finalized | Date Filter | Text Filter
APPROVED
409PRR | Voltage Support Service. The current Protocols allow for excessive reactive dispatching on the part of TSPs without compensation to generation owners. This PRR changes the power factor envelope from +-.95 to +-.98, and allows for payment to generators. | 6.5.7, 6.8.4 | 9/21/04 Approved as revised | 2004-10-01 | 2004 | FALSE | FALSE
468PRR | Frequency Response Requirements and Monitoring. Adds Section 5.8, establishing requirements for QSE portfolio generator governor response, and establishing performance monitoring criteria. | 5.8, 5.8.1, 5.8.1.1, 5.8.1.2, 5.8.2, 5.8.2.1, 5.8.2.2, 5.8.2.3, 5.8.3, 5.8.3.1, 5.8.3.2 [all sections new] | 5/18/04 Approved | 2004-06-01 | 2004 | FALSE | FALSE
479PRR | IDR Optional Removal Threshold. Allow the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold. | 18.6.1, 18.6.7 [new], 18.6.8 [new] | 7/20/04 Approved | 8/1/04 and upon system implementation | 2004 | FALSE | FALSE
483PRR | Interruptible LaaR Response to Instructions. The Load Response to Instructions has always been a requirement from LaaRs, so this just adds it to the list. For reliability reasons, ERCOT feels the Load Resource Response to Instructions should be a Real Time signal telemetered from the QSE and not a calculation based on information provided in the Resource Plan. | 6.5.1.1, 6.10.4.4 | 4/20/04 Approved | 2004-05-01 | 2004 | FALSE | FALSE
485PRR | Revision to Unit-Specific Deployment Based on Generic Cost. This revision includes RMR Units in the list of exceptions and would avoid the bids for certain types of units exceeding the $1,000/MW bid cap. | 4.4.20 | 4/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE
487PRR | Black Start Resources. Changes Black Start Ancillary Services language to allow an ERCOT Resource with a firm standby supply contract with an adjacent power pool supplier to bid as an ERCOT Black Start Resource. | 6.1.8, 6.10.3.6 | 4/20/04 Approved | Upon filling staffing requirements | 2004 | FALSE | FALSE
488PRR | Weather Responsiveness Determination. Amend the weather responsiveness determination to reflect the requirement for TDSPs to submit profile code changes, to prevent changing the weather responsiveness based on missing data, to establish a threshold for the amount of missing data and to set up a process to re-test ESI IDs with insufficient data. | 11.3.3.1 | 4/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE
489PRR | Ancillary Service Deployment Performance Conditions. Revises the requirement that ERCOT remove from consideration of average performance of a QSE any interval or group of intervals in which any one of several specific events (e.g., OOME deployments to the QSE) has occurred. | 6.10.6 | 4/20/04 Approved | 2004-05-01 | 2004 | FALSE | FALSE
490PRR | LaaR Annual Testing Description. This revision changes LaaR seasonal testing to an annual test consisting of a telemetry check and includes a biennial test of the under frequency relay for LaaRs providing Responsive Reserve Service. | 6.10.2 | 4/20/04 Approved | 2004-05-01 | 2004 | FALSE | FALSE
492PRR | Plan to Alleviate Chronic Local Congestion. The PRR requires ERCOT and the associated TDSP to identify and implement feasible alternatives to local transmission once certain dollar thresholds are met. | 7.4.5 [new] | 4/20/04 Approved | Upon system implementation and filling ERCOT staffing requirements | 2004 | FALSE | FALSE
496PRR | Block Bidding and Deployment of LaaRs providing Responsive Reserve Service and Non-Spinning Reserve Service. Include provisions for LaaRs to have the option to bid Responsive Reserve Service and Non-Spinning Reserve Service as a block. | 4.4.11, 6.6.3.1, 6.7.3, 6.7.4 | 5/18/04 Approved | Upon system implementation | 2004 | FALSE | FALSE
497PRR | Unavailable Units and RMR Agreements. Restores the evaluation and notice requirement until alternate Protocol language can be developed. The language included in this PRR is identical to the language in PRR452 approved by the Board in October 2003. The March 31, 2004 expiration date of the PRR452 language was intended to allow time for a new PRR that enhances the process in the PRR452 language. Good progress has been made on a new PRR. The RMR Task Force has almost finalized a draft for PRS consideration. Failure to reinstate the language from PRR452 that expires on March 31 could adversely impact ERCOT’s ability to prevent critical generation units from exiting the system. | 8.1.3.2 | 4/20/04 Approved | 2004-04-21 | 2004 | FALSE | FALSE
499PRR | Eliminate Fuel Shortage Notice. Eliminates the requirement for ERCOT to issue an Emergency Notice for fuel shortage. | 5.6.3, 5.6.4, 5.6.6 | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE
501PRR | A/S Revision to Down Balancing Requirement. Revise the Down Balancing Requirement to account for Regulation Down obligations. | 4.5.2, 6.5.2 | 7/20/04 Approved | Upon updating documentation | 2004 | FALSE | FALSE
502PRR | Aggregation of Combined Cycle Units Providing RRS. Allows RRS obligations awarded to combined cycle plants to be aggregated for all units in a block for consideration of compliance. | 6.10.5.4 | 6/15/04 Approved | Upon System Implementation and Operator Training | 2004 | FALSE | FALSE
504PRR | Resource Derating Clarification. Provides an explanation of what constitutes a Resource deration. | 8.6.3 | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE
507PRR | RMR Process enhancements. The proposed revisions to Sections 2, 6.5.9.1, 6.8.3.1, 8.1.3.2 and 22(I) streamline and clarify the RMR initiation process timeline and add incentives for Resource Owners to negotiate RMR agreements. | 6.5.9.1, 6.8.3.1, 8.1.3.2, 22(I) | 6/15/04 Approved | Upon Staffing | 2004 | FALSE | FALSE
509PRR | Initiation, Procedure, and Settlement of Disputes through ADR. The changes describe the process for initiating the ADR process, deadlines for prosecuting ADRs, and implementing ADR resolutions in the Settlement process. | 20.1; [new] 20.1.1; [new] 20.1.2; 20.2; [new] 20.6; [new] 20.6.1; [new] 20.6.2; [new] 20.7; [new] 20.8; [new] 20.8.1; [new] 20.8.2; [new] 20.8.3 | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE
510PRR | Remove PIP134 and PIP158 Boxed Language. This PRR removes changes due to PIP134 and PIP158, which will not be supported. PIP134 required ERCOT System and Zonal Load forecasts to be distributed through the Message System and PIP158 added information contained in Dispatch Instructions. | 5.4.2.2; 6.4.2 | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE
512PRR | OOMC and OOME of LaaRs. This PRR clarifies that LaaRs will not be given OOMC and will be limited to a capped amount of verifiable cost recovery. | 6.1.10, 6.5.10, 6.8.2.1, 6.8.2.2, 6.8.2.3, 6.10.8 | 6/15/04 Approved | 2004-07-01 | 2004 | FALSE | FALSE
513PRR | Verification of Operational Model after Recurring Local Congestion Event. This PRR makes it mandatory for ERCOT to verify the transmission model after Local Congestion occurs repeatedly. | 7.4.1 | 6/15/04 Approved | Upon System Implementation | 2004 | FALSE | FALSE
514PRR | Twelve Month Window for Non-IDR Scaling. Change the window used in data aggregation for estimating non-IDR meter reads when data for a trade day is not present in ERCOT systems. | 11.3.2 | 7/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE
515PRR | Disclosure of Local Congestion. This PRR provides for the disclosure of information on each unit receiving OOMC/OOME, the intervals and amount of OOMC/OOME provided as well as the transmission studies that lead to OOMC/OOME/RMR deployments. This PRR also provides for disclosure of the contingency and/or overloaded element(s) causing the Local Congestion deployments ASAP. | 1.3.1.1, 1.3.1.2, 6.5.10, 6.7.8 | 7/20/04 Approved | Upon system implementation | 2004 | FALSE | FALSE
517PRR | Reduce the Number of Annual TCRs Sold to 40% from 60% This PRR wants to reduce the number of annual TCRs being sold from 60% to 40%. | 7.5.3.1 | 8/17/04 Approved | 2004-09-01 | 2004 | FALSE | FALSE
518PRR | Clarification of Requirements Relating to Retail Transactions. Improve retail market transaction processing by clarifying requirements and timelines. | 2, 15 | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE
519PRR | ERCOT and TDSP Acceptance of Customer Cancellation of Switch Request. Revise current Protocol language to clarify that ERCOT and the TDSP will accept cancellations (814_08s) until five (5) Business Days preceding the effectuating meter read date. | 15.1.1.4 | 6/15/04 Approved | 2004-08-01 | 2004 | FALSE | FALSE
520PRR | Resource Plan Performance Metrics. Establishes Resource Plan performance metrics which are needed for ERCOT to accurately monitor compliance with the Protocols. This revision also defines acronyms for High/Low Operating Limit and High/Low Sustainable Limit. | 2.1, 2.2, 4.4.15, 4.10 [new] | 8/17/04 Approved | 2004-09-01 | 2004 | FALSE | FALSE
521PRR | Add Fleet/Zonal OOME instruction to SCE Calculation. For Release 4, ERCOT is planning on partially implementing PRR 422. It is not within the scope of Release 4 to include Fleet/Zonal OOME instructions in market clearing, thus an addition to the SCE equation is necessary to aid a QSE who receives a fleet deployment in following its SCE. | 6.10.4.4, 6.7.7.1 | 8/17/04 Approved | Upon system implementation | 2004 | FALSE | FALSE
522PRR | Collateral Requirements and Credit Changes. Changes are proposed to strengthen ERCOT’s ability to enforce collateral and offset appropriately in bankruptcy situations. Changes also will adjust collateral requirements for known or estimated potential liability, Other “clean up” language is also incorporated. | 2.1, 9.4.1, 9.4.2, 9.4.3, 9.4.4, 9.4.5, 16.1, 16.2 | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE
523PRR | Revisions to Protocol Section 21. This PRR modifies the process for revising the Protocols, including: establishing timelines for ERCOT to complete Impact Analyses for all PRRs submitted, standardizing certain provisions, correcting grammatical errors; and formalizing the process for submitting and approving System Change Requests. | 21 | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE
526PRR | OOMC Verifiable Cost Documentation. Section 6.8.2.2 requires that for recovery of actual cost associated with OOMC instructions specific documentation standards be outlined in the protocols. This new section 6.8.2.2(iv) defines the documentation standards required when ERCOT cancels or delays unit’s planned & approved maintenance outage via an OOMC instruction, with insufficient time to avoid additional costs. | 6.8.2.2 | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE
527PRR | Clarify OOM Definition. Current interpretation is that OOM only includes operator manual entry of unit specific deployment. | 2.1 | 11/16/04 Approved | 2004-12-01 | 2004 | FALSE | FALSE
528PRR | Deadline for Filing ADR Claims. Amends the deadline for filing an Alternative Dispute Resolution (ADR) claim for denied settlement and billing disputes from thirty (30) to forty-five (45) days. | 9.5.4 | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE
529PRR | Calculating Final REC Purchasing Requirements. Revises Section 14 to reflect REC Program software changes that (1) allow for recalculation of previous year’s Final REC Requirements for all Competitive Retailers and (2) change the way the Final REC Requirements are calculated. | 14 | 8/17/04 Approved | 2004-08-18 | 2004 | FALSE | FALSE
531PRR | Load Clarification. Make modifications necessary to clarify the registration and treatment of loads associated with Block Load Transfers. Clarifies BLT load points of delivery are wholesale loads that are not subject to Texas retail choice and that should be treated similar to NOIE loads. | 2.1, 5.7, 5.7.2, 16.3 | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE
532PRR | Implementation of Non-Transmission Alternatives to RMR and OOM Services. Revisions to allow ERCOT to implement non-transmission alternatives to Reliability Must-Run (“RMR”) and Out-Of-Merit (“OOM”) Services to reduce uneconomic uplift. | 2.1, 6.1.9, 6.3.1, 6.5.9.2, 6.7.8, 6.8.3, 6.9.4.2, 7.4.5 | 10/19/04 Remanded to TAC; 11/16/04 Approved; 1/21/05 Amended | 12/1/04; 2/1/05 | 2004 | FALSE | FALSE
534PRR | Temporary Modifications to the Annual Load Profile ID Assignment and Validation Process. Inserts language in Protocols to allow temporary modifications applicable to the process for annual Load Profile ID Assignment and Validation to be established and approved by the ERCOT Board. | 18.4.3 | 9/21/04 Approved | 2004-09-22 | 2004 | FALSE | FALSE
535PRR | Reactive Testing. This PRR is to clarify this section and to minimize the possibility of misinterpretation of the time period between testing of a generator’s reactive capability. | 6.10.3.5 | 10/19/04 Approved | 2004-11-01 | 2004 | FALSE | FALSE
536PRR | Mandatory IDR Threshold Reduction. Lower the mandatory threshold for IDR mandatory installation to 700 kW (or kVA) and be complete by January 30, 2006. | 18.6.1; 18.6.6 | 12/14/04 Approved | 2005-01-01 | 2005 | FALSE | FALSE
537PRR | Increased Congestion Management Flexibility. This PRR provides ERCOT with additional options to use in the management of congestion both in day-ahead and real-time operations. | 1.3.1.1; 6.5.10 | 9/21/04 Approved | 2004-10-01 | 2004 | FALSE | FALSE
538PRR | OOMC Generic Cost for Coal. Establish generic cost for coal plants for use when they receive OOMC Instructions. This same logic would apply to Nuclear & Hydro units. | 6.8.2.1 | 12/14/04 Approved | 2005-01-01 | 2005 | FALSE | FALSE
542PRR | Clarifying the LaaR Three Hour Limit. Clarify that QSEs are allowed to replace LaaR Responsive Reserve with Responsive Reserve from a Generating Resource or other uncommitted LaaR following a deployment of Responsive Reserve Service. | 6.10.5.4 | 1/21/05 Approved | 2005-02-01
544PRR | Twelve Month Window for Scaling NIDR to IDR ESI IDs. Modifies the window for Non-Weather Sensitive Proxy Day selection from 6 months to 12 months. | 11.3.3.3 | 1/21/05 Approved | Upon system implementation
545PRR | Retail Market Extracts. Include in Section 11 a new 11.3 that addresses ESI ID-level extract information provided to LSEs | 11.3 [new] | 1/21/05 Approved | 2005-02-01
546PRR | PCR Treatment for Federal Hydropower Resources. Tex-La and Rayburn propose to revise Protocols Section 7.5.6 to provide that long-term power purchase agreements for federal hydropower are eligible for PCR treatment if a long-term allocation was in place prior to September 1, 1999. | 7.5.6 | 11/16/04 Approve | 2004-11-17 | 2004
547PRR | Trading Hubs. This PRR creates a new section that establishes a definition of a trading hub and specifically identifies the transmission buses that make up each trading hub. | 7.9 | 2/16/05 Approved | 2005-03-01
548PRR | Settlement for Mismatched Inter-QSE Energy Schedules. This PRR proposes to reduce the quantities of energy “scheduled” by ERCOT into or from the Balancing Energy market during intervals in which Inter-QSE trades do not match. This will reduce ERCOT and Market Participants’ credit exposure to entities which submit mismatched inter-QSE trades. | 4.7.2, 6.9.8 | 2/16/05 Approved | Upon system implementation
550PRR | Pace of Short Pay Uplift to LSEs This revision sets a rate at which money due from QSEs representing load is collected. | 9.4.4 | 12/14/04 Approved | 2005-01-01 | 2005 | FALSE | FALSE
551PRR | Secrity Interest This PRR adds additional language to the Protocols to greater protect ERCOT Market Participants in the event of a bankruptcy. | 16.2.5.1.2 16.8.1.5.3 | 2/16/05 Approved | 2005-03-01
562PRR | Permanent Elimination of Market Solution for Local Congestion. Section 7.4.3 regarding the prohibition of the use of a Market Solution for Local Congestion payment is scheduled to expire Feb. 1, 2005. This revision would eliminate the date of such expiration. | 7.4.3 | 1/21/05 Approved | 2005-02-01
566PRR | Implementation of IDR Optional Removal Threshold Allow the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold. The language to allow a customer to request removal of an IDR meter under certain conditions was approved in PRR479. However, the language was boxed until the report required by Section 18.6.2 was modified to indicate whether a customer was eligible to request removal of the IDR meter. Based on discussions between Market Participants, OPUC, the PUCT and ERCOT staff, the PRR 479 language changes were not intended to require changes to the report specified in 18.6.2. This PRR modifies the language in 18.6.2 so that the report does not need to be modified and the language allowing the customer to request removal of the IDR meter can be unboxed. This PRR modifies the reporting requirement in Section 18.6.2 and unboxes the language that allows the customer to request removal of an IDR meter under such circumstances. | 18.6.2, 18.6.7 | 2/16/05 Approved | 2005-03-01
573PRR | Mothballed Generation Resource Definition and Time to Service Updates. This defines mothballed units and requires the responsible Generation Entity to report to ERCOT, twice annually, the lead time required to reliably return the unit to service. The Generation Entity would be required to document its claim to ERCOT’s satisfaction. Time to service updates and supporting documentation would be considered Protected Information. | 1.3.1.1, 2.1, 6.5.9.3 | 3/15/05 Approved | 2005-04-01
BOARD CONSIDERATION IN APRIL 2005
525PRR | SCE Performance and Monitoring. Frequency control has been an on-going issue and concern with Market Participants and ERCOT. PRR 356 (SCE Performance Requirement) and PRR 358 (Negative Impact Schedule Control Error) were submitted, respectively, in August and September of 2002 with the intent of providing incentives to QSEs to more closely follow SCE, thereby resulting in improved frequency control and reliability. These two PRRs have been languishing for nearly two years, with no resolution expected. | 6.10.4, 6.10.4.1, 6.10.5, 6.10.5.1, 6.10.5.3, 6.10.5.6, 6.10.6 | 2005-04-19 | Upon System Implementation
540PRR | OOM Cost Recovery Process Clarification. Clarify the process ERCOT is to use when making payments for cost recovery request associated with OOMC & OOME instructions. Clarify payments for cost categories approved in an executive session of the Board are to occur on a Resettlement Statement rather than waiting for the True Up Statement. | 6.8.2.2; 6.8.2.3 | 2005-04-19 | Upon Board approval
557PRR | Late Fees and Late Fee Recovery. Clarifies how late fees are calculated and distributed. | 9.4.4, 9.4.6 | 2005-04-19 | 2005-05-01
558PRR | Market Notice of LaaR Proration. Allow market participants to be notified when LaaRs awards for Responsive Reserve are prorated by ERCOT. | 4.4.13, 6.6.3.1 | 2005-04-19 | Upon System Implementation
559PRR | Regulation E10 Update and SCPS1/SCPS2 References. Change E10 to the current value being used. Add references to call measures SCPS1 and SCPS2 as they are commonly referred to. | 6.10.5.3 | 2005-04-19 | 2005-05-01
560PRR | QSE Qualification Using LaaRs. Add Protocol Language what describes how a QSE can qualify to provide Ancillary Services by using only LaaR Resources | 6.10.3, 6.10.3.2, 6.10.3.3, 6.10.3.4 | 2005-04-19 | 2005-05-01
561PRR | Remove Nuclear and Hydroelectric Generators from Automatic Deployment Software. This revision directs ERCOT to remove Nuclear and Hydro Electric generation from any software driven automatic solution to resolve congestion. ERCOT retains the right to provide verbal dispatch instructions during an ERCOT emergency when it is deemed that the Hydro or Nuclear unit in question is uniquely qualified to resolve the problem. | 4.4.20, 6.7.1.2 | 2005-04-19 | 2005-05-01
563PRR | Standard Form Black Start Agreement – Payment. With PRR487 (Black Start Resources) approval, Black Start resources, within close proximity of another power pool, which are capable of starting from such power pool via a firm standby power supply contract, are available if the resources and the transmission line(s) connecting the Black Start resource and the external power pool are both in service. | Section 22 Attachment A Section 9 B. (1) | 2005-04-19 | 2005-05-01
579PRR | Trading Hubs Language Correction. Modifies language in Section 7.9.2.1 for the calculation of the North 345 kV Trading Hub to be consistent with the calculation of the other three regional trading hubs by removing the 90% / 10% language that was originally applied to the North 345 kV Trading Hub only; Replaces the specific minimum scheduling increments by hub specified in Section 7.9.3.4 (2) with a Trading Hub to 2005 Congestion Zone conversion matrix. | 7.9.2.1, 7.9.3.4 | 2005-04-19 | TBD
BOARD CONSIDERATION IN MAY
565PRR | Calculation of Losses for Settlement. Modify the way distribution losses are calculated to be based on actual rather than forecasted ERCOT load. | 13.1.1, 13.1.2, 13.3.1, 13.3.1.1, 13.3.1.2. | 2005-05-17 | Upon System Implementation
569PRR | Revision to Balancing Energy Payments from a Specific Resource. Revision modifies the payment for Resource-specific deployments to use the fuel index for the current Operating Day. | 7.4.3.1, 7.4.3.2 | 2005-05-17 | Upon System Implementation
570PRR | Clarification of Settlements of Local Congestion Costs. Clarify wording to specify that resources deployed by the Balancing Market will be paid the difference between MCPE and the Up/Down Premium Bid. | 7.4.3.1, 7.4.3.2 | 2005-05-17 | 2005-06-01
571PRR | Balancing Energy Bid Cap. Revises the definition of Balancing Energy Bid Cap by clarifying that Balancing Energy Service bids shall be between -$1,000 per MWh and $1,000 per MWh, inclusive, for all Resources. | 6.5.2 | 2005-05-17 | 2005-06-01
PENDING
356PRR | SCE Performance Requirement. To cause QSEs to make better efforts to follow their Resource schedule so that ERCOT can accurately procure Balancing Energy, and to change the allocation of Ancillary Service capacity costs from pure load ratio share to a me | 6.10.5.1, 6.10.5.2, 6.10.5.3, 6.10.5.4, 6.10.5.5, 6.10.5.6 |  | Upon Board Approval and System Implementation
358PRR | Negative Impact SCE. Replaces the Uninstructed Deviation settlement scheme with a new methodology, called Negative Impact Schedule Control Error Charges (NISCE) that penalizes QSEs that fail to adhere to their schedules, which cause additional Schedule C | 2.1, 2.2, 6.8.1.15, 6.8.1.15.1-8 |  | Upon Board Approval and System Implementation
462PRR | Market Solution Definition. Revises the definition of Market Solution to allow for submittal of bids in circumstances including reliability needs other than local Congestion. | 2.1 |  | Upon Board Approval and System Implementation
472PRR | ERCOT Meter Read Transaction Validation Reinstatement. Ensures that meter read transactions received by ERCOT from the TDSP or any 3rd party service provider have been completely validated for technical, business and data set points prior to ERCOT's subm | 10.12.1, 15.3 |  | Upon Board Approval and System Implementation
476PRR | Ramp Rate Adherence During Local Congestion. Currently, the ramp rates on individual resources are ignored during Local Congestion. This leads to Dispatch Instructions that are impossible to adhere to, especially when every unit running for a QSE is get | 6.7.1.2, 6.10.7 |  | Upon Board Approval and System Implementation
539PRR | OOMC Claw Back Correction. Prevents payments for OOMC service from being negative (a charge) | 6.8.2.2 |  | Upon Board Approval and System Implementation
541PRR | Regulation Deployment Ramp Rate. Eliminates “implied” ramp rate limitation on Regulation Service deployments and clarify that the limitations outlined for performance purposes are not intended to limit ERCOT’s ability to fully deploy regulation at any time. | 6.7.2; 6.10.5.3 | Remanded to WMS | Upon Board Approval and System Implementation
543PRR | Schedules and Emergency Assistance Over CFE-ERCOT DC Ties. Incorporates the use of DC ties with CFE for commercial and emergency services. | 4.4.18.1, 5.6.6.1, 5.6.7, 5.6.8, 5.8, 6.8.2.1 |  | Upon Board Approval and System Implementation
549PRR | Regulation Control During Abnormal Frequency Events This PRR revises Sections 6.5.3, 6.8.1.15.1, and 6.10.6 to establish an ERCOT frequency deadband of +/- 0.03Hz to aid in regulation control during abnormal frequency events. When ERCOT frequency is outside the deadband, any Qualified Scheduling Entity (QSE) that has a System Control Error (SCE) that is acting to return frequency to a level that is within the deadband will continue to send Dispatch signals to their Resources until the ERCOT frequency returns to a level that is within the deadband. However, in the case when ERCOT frequency is outside the deadband and, any QSE has an SCE error that is acting to move frequency further outside the deadband, that QSE will temporarily suspend sending signals to its Resources until ERCOT frequency returns to a level that is within the deadband. | 6.5.3, 6.8.1.15, 6.10.6 | 11/19/04 Remanded to ROS/PDCWG | Upon Board Approval and System Implementation
552PRR | Clarification of Relaxed Balanced Schedules. Clarifies section 4.3.2 Schedule Components to ensure that QSEs may schedule Load or generation, even though they may not physically represent Load or generation. | 4.3.2 | 2/16/05 Remanded to TAC; 4/7/05 TAC Remanded to PRS | Upon Board approval
553PRR | Scheduling Trading Hubs. Modify ERCOT’s scheduling requirements to accommodate transactions involving ERCOT Trading Hubs. | 4.2, 4.3.1, 4.4.8, 4.7.2, 4.9.4.1 | 1/6/05, Remanded to PRS | Upon Board Approval and System Implementation
555PRR | Modify Number of Sub-QSEs a Single Entity Can Partition. Revise the Protocols to increase the maximum number of Sub-QSEs an Entity can implement from three to twenty. | 16.2.1 | 2005-06-21 | Upon Board approval
564PRR | Clarification of OOME Definition. While the protocols implicitly indicate that an SPS actuation as an OOME dispatch they do not explicitly include an SPS in its definition in section 6. | 6.1.11 | 2005-06-21 | Upon updating documentation and staff training
567PRR | Block Bidding of Ancillary Services. Revision would allow QSEs to link ancillary service bids across consecutive hours and establish minimum block values that must be selected to clear the bid. | 4.4.11 | 2005-06-21 | Upon Board Approval and System Implementation
568PRR | Change Initial Settlement from 17 days to 10 days. Change Initial Settlement from 17 days to 10 days. | 9.2.3 | 2005-06-21 | TBD
572PRR | Weather Sensitivity Classification. Includes language regarding procedures to determine weather sensitivity classifications when an ESI ID is inactive or de-energized. | 11.4.3.1 | 2005-06-21 | TBD
575PRR | Mandatory Down Balancing Ramp Rate. Proposes new subsection (4.5.2(3)) that would clarify that the Mandatory Down Balancing Bid amount should be deployable within one interval. | 4.5.2 | 2005-06-21 | TBD
576PRR | Disclosure of OOME, OOMC, and RMR Service. This changes Protocol Sections which require that ERCOT post on the MIS Resource-specific information for OOMC, OOME and RMR Services. Also, a definition for “Off-line” has been added for consistency. | 6.5.10, 6.7.8, 2.1 | 2005-06-21 | 7/1/2005 if approved
577PRR | Availability of Aggregated Load Data by TDSP. Receive aggregated TDSP Load data from ERCOT for the purposes of accurately identifying TDSP system peaks required for FERC filings. | 11.5.1.1 | 2005-07-19 | TBD
578PRR | Emergency Fuel Supply Resource Service. This PRR adds Emergency Fuel Supply Resource Service as an Ancillary Service that can be provided by Generating Resources or Load Resources. | 1.3.1.2, 2.1, 4.5.11, 4.5.11.1, 4.5.11.2, 5.6.1, 5.6.7, 6.2.1, 6.3.1, 6.4.2, 6.6.2, 6.9.4, 12.4.4 | 2005-07-19 | TBD
580PRR | Modify RMR Evaluation. Removes “localized” restriction on transmission constraints for consideration of RMR Units. | 6.1.9 | 2005-07-19 | TBD
581PRR | Update RMR Language Due to PUC Rule 25.502. Changes the RMR language to be consistent with PUC Substantive Rule 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas, which became effective Jan. 9, 2005. | 6.5.9.1(7) & (8) | 2005-07-19 | TBD
582PRR | Initiate RMR Negotiations. A new section that allows ERCOT to re-activate RMR negotiations with Generation Resource that has Mothball status and for which ERCOT has previously indicated no need for RMR Service | 6.5.9.4 (New) | 2005-07-19 | TBD
583PRR | Responsive Reserve Deployment. Revise Section 6.7.3 to distinguish Responsive Reserve deployments for frequency restoration from conditions that require EECP to be declared. | 6.7.3 | 2005-07-19 | TBD
584PRR | Extending Black Start Service Bid Timeline. Change Black Start Service Bids to a two year process | 6.5.8 | 2005-07-19 | TBD
585PRR | Settlement Obligation Formula for Balancing Energy Service. Adds the sum function in the Imbalance Ratio Share (IRSiq) settlement equation. | 6.9.5.1 | 2005-07-19 | TBD
586PRR | SCE Performance and Regulation Cost Re-allocation. Replaces monitoring of QSEs’ adherence to their base power schedules, Balancing Energy Dispatch Instructions, and Ancillary Service Dispatch Instructions with a single metric that motivates QSEs to stay on schedule and perform their obligations. | 6.10.5, 9.6.1 | 2005-08-16 | TBD
587PRR | Midyear Modification of CSC or CRE definitions. Allow ERCOT staff the authority to modify CSC and CRE definitions midyear | 7.2.2 (New) | 2005-08-16 | TBD
588PRR | Testing of Quick Start Units in the Balancing Energy Market. This PRR establishes a test by which a quick start unit can demonstrate its ability to perform in the BES market. | 6.10.3.4 | 2005-08-16 | TBD
589PRR | CSC and Zone Determination. This PRR is intended to strengthen ERCOT staff’s role in the CSC and zone determination process. | 7.2 | 2005-08-16 | TBD
590PRR | Update Unit Telemetry Requirement. This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all online units in their portfolio. | 6.5.1.1 | 2005-08-16 | TBD
591PRR | Switchable Unit Declaration. This PRR defines switchable units and requires the responsible Generation Resource to report to ERCOT whether the unit is committed to another grid outside of ERCOT that would make it unavailable for capacity in the ERCOT market during the summer months. Unit availability reporting is considered Protected Information | 1.3.1.1., 2.1, 6.3.2 | 2005-08-16 | TBD
592PRR | Modify Shift Factor Calculation to Exclude Fixed Output Generators. Modifies the calculation of the monthly zonal Shift Factors used to manage and settle zonal congestion. | 7.1, 7.2.1.2, 7.2.1.4, 7.3.4.1 | 2005-08-16 | TBD