| PRR Number | 586 | PRR Title | SCE Performance and Regulation Cost Re-allocation |
| --- | --- | --- | --- |
| Date |  | 04 / 20 / 05 |  |
| Submitter’s Information |  |  |  |
| Name |  | Tom Houle |  |
| E-mail Address |  | thoule@cielowind.com |  |
| Company |  | Cielo Wind Power Corp. |  |
| Company Address |  | 823 Congress, Fifth Floor Austin, TX 78701 |  |
| Phone Number |  | 512 – 440-0305 |  |
| Fax Number |  | 512 – 440 – 0277 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Unknown | unknown | unknown |
| MARKET SEGMENT |  |  |  |
| Consumer | Unknown | unknown | Unlikely to provide stated benefit of reducing required Ancillary Services. Merely shifts costs. |
| LSE: General, Including NOIE | Unknown | unknown | Unlikely to provide stated benefit of reducing required Ancillary Services. Merely shifts costs. |
| LSE: CR & REP | Unknown | unknown | Unlikely to provide stated benefit of reducing required Ancillary Services. Merely shifts costs. |
| QSE | Possibly subject to double penalization for single SCE event. | unknown | none |
| Resource | Subjects Uncontrollable Renewable Resources to financial penalties not contemplated in existing Protocols. | unknown | none |
| TDSP | Unknown | unknown | unknown |

Comments

Cielo Wind Power does not support PRR 586.  This PRR does not seem to have taken into account the existing Protocols and the unique issues associated with Uncontrollable Renewable Resources.

The PRR does not recognize existing Protocol language addressing the output variability of Uncontrollable Renewable Resources. see Protocols Sec. 6.8.1.15.1(3)

While PRR 586 recognizes the impact of ERCOT instructions on a QSEs SCE, it fails to consider other factors, such as unit trips.

The penalties in PRR 586 (allocation of regulation costs) need to be fully explored to prevent penalizing URR generators.

Revised Proposed Protocol Language