## Slide 1: Tx SET Meter Estimation Review
TxSET (subgroup) met on 8-31-04 to review the existing Meter Estimation issues as requested by RMS
TDSP’s agreed to compile data for July 2004 to help group determine scope and estimation issues.
TDSP’s consolidated internal estimation codes from field readers, ranging from 15 to 35 unique codes by TDSP.
The single month review does not distinguish between single and consecutive months estimated.

## Slide 2: TDSP Sample July 2004 Meter data from AEP, CNP, TNMP and TXU ED only. Total sample includes single and consecutive meter estimates
Total Meters in Sample 5,872,255.
  Total Meters Estimated 70,055.
  Overall Percentage Estimated 01.18932%
Meters Inaccessible 27,264 38.90%
Meters estimated due to 3-day 21,358 30.6% Protocol requirement
Equipment Problems / Missing Meters 12,804 18.4%
Weather / Illness / Safety / Misc. 6,537 0 9.2%
Meters requiring MVO from CR 2,092 03.0%
(70,055) (100%)

## Slide 3: Meter Estimations

## Slide 4: TxSET Recommendations
Scope of Meter estimations does not warrant additional Market Reporting or the addition of Protocol requirements.
Better utilize existing communication methods between TDSP’s and CR’s that can reduce estimates, i.e.,
    Meters removed, requiring MVO from CR
    Meter Obstructed/ Locked/ Inaccessible
Recommend communication between CR and TDSP remain flexible vs. establishing Protocol requirements.
    Allows flexibility for CR to communicate with Customer, determine timeframes for meter accessibility.
    Allows CR to determine if on-going meter estimation is acceptable, and if not, to contact the TDSP to discuss installation of AMR, phone lines, ITRON, etc to secure actual readings.