| PRR Number | 582 | PRR Title | Initiate RMR Negotiations |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Action |  | Rejected |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | New Section 6.5.9.4 Continued RMR Negotiations for Mothballed Generation |  |  |
| Proposed Effective Date |  | N/A |  |  |
| Priority and Rank Assigned |  | N/A |  |  |
| Revision Description |  | The new section would allow ERCOT to re-activate RMR negotiations with Generation Resource that has Mothball status and for which ERCOT has previously indicated no need for RMR Service |  |  |
| Procedural History |  | - ERCOT posted this PRR on 3/8/05. - PRS denied the request for urgency through an email vote on 3/10/05. - Sempra (3/23/05) and ERCOT staff (4/12/05) submitted comments. - PRS considered this PRR on 4/21/05. |  |  |
| PRS Action (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 4/21/05, PRS rejected PRR582 with 22 votes in favor of rejection, four votes opposing rejection (IOU, IPM, and two from the Consumer segment), and one abstention from the MOU segment. |  |  |
| Summary of PRS discussion |  | Constellation argued that the PRR imposes OOMC and OOME rights on a mothballed unit. LCRA stated that the intent is not to apply OOM; that this is a different process than the normal outage notification. TXU Energy questioned whether a mothballed unit would ever have the option to say “no”. Sempra opined that the PRR was not adding more units but shifting them out of the market and into RMR. OPUC opposed the PRR because it would add more units into a regulated scheme. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Unknown | Unknown | Improve system reliability |
| MARKET SEGMENT | Unknown | Unknown | Improve system reliability |
| Consumer | Unknown | Unknown | Improve system reliability |
| LSE: General, Including NOIE | Unknown | Unknown | Improve system reliability |
| LSE: CR & REP | Unknown | Unknown | Improve system reliability |
| QSE | Unknown | Unknown | Improve system reliability |
| Resource | Unknown | Unknown | Improve system reliability |
| TDSP | Unknown | Unknown | Improve system reliability |

| Original Sponsor |  |
| --- | --- |
| Name | Manny Munoz |
| Company | CenterPoint Energy |
| Segment | Investor Owned Utility |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| Sempra 032305 | Opposes original language. Revised language. |
| ERCOT 041205 | Supports PRR. Revised language. |

Proposed Protocol Language Revision

Add new Section 6.5.9.4:

6.5.9.4 Initiation of RMR Negotiations

If, after having notified a Mothballed Generation Resource that the Resource does not require an RMR Agreement, ERCOT discovers that the Resource is needed for reliability reasons, ERCOT may initiate RMR negotiations with the Mothballed Generation Resource by providing Notice to the Resource and following the market Notification and negotiation steps described in sections 6.5.9.1 (2) through (10).