| PRR Number | 583 | PRR Title | Responsive Reserve Deployment |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Recommended Action |  | Approve |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 6.7.3 Deployment of Responsive Reserve Service |  |  |
| Proposed Effective Date |  | August 1, 2005 |  |  |
| Priority and Rank Assigned |  | N/A |  |  |
| Revision Description |  | Revise Section 6.7.3 to distinguish Responsive Reserve deployments for frequency restoration from conditions that require EECP to be declared. Allows all Responsive Reserve to be used for frequency restoration. |  |  |
| Overall Market Benefit |  | Expedited recovery from a low frequency event. |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | Yes. ERCOT credit staff and the CWG have reviewed PRR583 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - ERCOT posted this PRR and Impact Analysis on 3/11/05. - Comments from Occidental were posted on 4/17/05. - PRS considered this PRR on 4/21/05. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | On 4/21/05, PRS voted to recommend approval of the PRR as amended by PRS with 20 votes in favor and two abstentions from the IOU and Independent REP segments. All Market Segments were present for the vote. |  |  |
| Summary of PRS discussion |  | PRS discussed the option to deploy some LaaRs instead of all of them. A revision was suggested that would allow the flexibility of partial deployment, but not require it. ERCOT would still have the option of deploying all LaaRs. ERCOT agreed to the revision. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Frequency restoration following a disturbance within NERC requirements. |
| MARKET SEGMENT | None | None | Enhanced ability to meet NERC criteria ensures Contingency Reserve Obligations are not increased following non-compliance of the Disturbance Control Standard. |
| Consumer | None | None | Enhanced ability to meet NERC criteria ensures Contingency Reserve Obligations are not increased following non-compliance of the Disturbance Control Standard. |
| LSE: General, Including NOIE | None | None | Enhanced ability to meet NERC criteria ensures Contingency Reserve Obligations are not increased following non-compliance of the Disturbance Control Standard. |
| LSE: CR & REP | None | None | Enhanced ability to meet NERC criteria ensures Contingency Reserve Obligations are not increased following non-compliance of the Disturbance Control Standard. |
| QSE | None | None | Frequency restoration following a disturbance within NERC requirements. |
| Resource | None | None | Frequency restoration following a disturbance within NERC requirements. |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | Steve Myers |
| Company | ERCOT |
| Segment | N/A |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| Occidental 041705 | Revised language. |

Proposed Protocol Language Revision

6.7.3	Deployment of Responsive Reserve Service

(1)	Responsive Reserve energy shall be deployed as necessary to meet NERC requirements.  This shall be accomplished by:

(a)	Automatic generation action as a result of a significant frequency deviation;

(b)	Through use of an automatic signal and a Dispatch Instruction to deploy Responsive Reserve energy from Generation Resources; and/or

(c)	By Dispatch Instructions for deployment of Responsive Reserve energy from Load acting as a Resource via an electronic Messaging System to providers.

(2)	Deployment of energy as a result of automatic governor action will not be considered as an Uninstructed Deviation.

[PRR307: Revise Section 6.7.3(1) & (2) as follows when system change implemented.] 6.7.3 Deployment of Responsive Reserve Service (1) Responsive Reserve energy shall be deployed as necessary to meet NERC requirements. This shall be accomplished by: (a) Automatic Resource control/governor system action as a result of a significant frequency deviation; (b) Through use of an automatic signal and a Dispatch Instruction to deploy Responsive Reserve energy from Resources; and/or (c) By Dispatch Instructions for deployment of Responsive Reserve energy from Interruptible Load acting as a Resource via an electronic Messaging System to providers. (2) Deployment of energy as a result of automatic Resource control/governor system action will not be considered as an Uninstructed Deviation.

(3)	ERCOT will deploy Responsive Reserve Service in response to disturbance control assistance requirements as specified in the Operating Guides or after all the bids in the Balancing Energy Services Up Bid Stack have been depleted.  Energy from Responsive Reserve Resources will be deployed by ERCOT in accordance with Section 5.6, Emergency and Short Supply Operations.

(4)	ERCOT deployment of Responsive Reserve Service Resources will be proportioned first between suppliers who provide RRS using Generation Resources until thirty-three percent (33%) of the total amount procured by ERCOT is deployed.  If deployment of more than thirty-three percent (33%) is required,  ERCOT shall:

(a)	For frequency restoration caused by an event other than capacity insufficiency, issue an Emergency Notice for frequency restoration and deploy all or a portion of remaining RRS being provided by hydro Resources and by LaaR.

(b)	For frequency restoration related to capacity insufficiency, declare the EECP in effect and follow emergency provisions in Section 5, Dispatch.

(5)	ERCOT will deploy Balancing Energy Service and Non-Spinning Service as soon as practicable to minimize the use of Responsive Reserve energy.

(6)	All providers of Responsive Reserve Resources will be required to provide feedback to ERCOT of their availability and level of deployment in Real Time.  Except in those instances where a significant frequency deviation has occurred and temporary deployment is necessary to meet NERC requirements, ERCOT shall deploy Responsive Reserve Services according to Section 5.6, Emergency and Short Supply Operations.

(7)	Once Responsive Reserve Service is deployed, the Obligation to deliver energy shall remain until specifically instructed by ERCOT to stop providing energy from RRS, but not longer than the period of the service is scheduled.

(8)	The QSEs providing Responsive Reserve Service shall meet the deployment performance requirements specified in Section 6.10.4, Ancillary Services Deployment Performance Measures.

[PRR496: Add (9) to Section 6.7.3 as follows when system change implemented.] (9) Responsive Reserve Service procured from a Load Acting as a Resource Block Bid shall be deployed as a block.