## Slide 1: Discussion Items
MCPE calculation in zero BES deployment zones
High MCPE event on April 11th

## Slide 2: MCPE calculation in zero BES deployment zones
Identified on March 17th, 2005 (IE 0315 and 0330).
North to West OC1 active.
No UBES bids in West zone.
West zone price created from other four zones marginal prices.
Interval price administered on OC1 violation

## Slide 3: MCPE calculation in zero BES deployment zones
Process identified in Market Bulletin #5 and Market Bulletin #20.
Does not take price administration for average price to be created.
Will only make an impact if price administration occurs with binding OC1, because zonal MCPEs are set to zonal Marginal prices. Therefore, average price gets published and used in settlement.

## Slide 4: High MCPE event on April 11th
IE 1400 on April 11th, 2005.
Binding North to Houston OC1.
MCPE’s:
  Houston - $75167.72
  North - $53.91
  North East - $875.50
  South - $49041.18
  West - $5045.07
Original Shadow Price - $205397.34

## Slide 5: High MCPE event on April 11th
Interval did not price administration.
High MCPE’s caused by a ramp-rate slack variable coming into the basis. The slack variable for one MP was a very small number (9.38 e-9).
Because number was so small, it did not trigger price administration.
However, its price ($75,000) will contaminate the MCPE’s.

## Slide 6: High MCPE event on April 11th
ERCOT believes the price administration software should have identified this solution result and administered the interval. But it did not.
In following with the precedent set last August when we saw another $75,000 MCPE, ERCOT manually initiated price administration and adjusted the zonal MCPE’s to the marginal prices for each zone, and manually calculated the shadow price.

## Slide 7: High MCPE event on April 11th
Continue investigation
Working with AREVA to make the tolerance setting editable by ERCOT.