DSWG Meeting Minutes

January 21, 2005

ERCOT METCENTER

Attendees:

| Name | Company |
| --- | --- |
| Billy G. Berny | American Electric Power |
| Steve Saenz | Austin Energy |
| Eliezer Maldonado | Dow |
| John Armstrong | El Paso Electric |
| Malcolm Smith | Energy Data Source |
| Kent Saathof (Phone) | ERCOT |
| Mark Patterson | ERCOT |
| Nieves Lopez | ERCOT |
| Steve Krein | ERCOT |
| Mike Walker | Exxon Mobil Production |
| Jay Zarnikau | Frontier Associates |
| Michelle D’Antuono | Occidental |
| Floyd Trefney (Phone) | Reliant |
| MaryAnne Brelinsky (Phone) | Reliant |
| Rick Keetch | Reliant |
| Keith Emery | Tenaska |
| Terry Bates | TXU Electric Delivery |
| Ed Echols (Chair) | TXU Energy |
| Dan Delurey | US Demand Response Coordinating Committee |
| Jeff Bowen | American Energy Solutions |
| David Koliba | Garland Power and Light |
| Alison Silverstein | Independent Consultant |
| Tülin Koray | Louisiana Public Service Commision |
| Tom Payton | Occidental |
| Phil Davis | RETX |
| Malcolm Verdict | Texas A&M, Energy Systems Lab |
| Angie Beehler | Wal-Mart |

Meeting Minutes:

- Antitrust Admonition

  - Ed Echols reminded everybody at the meeting of their responsibilities for participating in the DSWG.

- Review/Approve December 3rd meeting minutes

  - Steve Krein clarified that additional material had been added to the Open Discussion Notes, item no 7b. The notes were added to provide additional background material on the DSM alternatives to RMR and chronic OOM situations and will be so noted on the final version that is posted to the ERCOT website.

  - A motion was made by Billy Berny to approve the minutes and seconded by Michelle D’Antuono. Minutes were approved by voice vote of the DSWG members.

- Election of New DSWG Leadership

  - Ed Echols from TXU Energy was nominated and elected Chair of the DSWG.

  - MaryAnn Brelinsky from Reliant was nominated and elected as Vice Chair.

  - There was some discussion regarding a desire by WMS to have an ERCOT staff member be assigned responsibility to provide support for administration of the group and to insure that regular reports are made to WMS on DSWG activities.

  - Mark Patterson was asked to serve as ex-Officio Vice Chair and be responsible for regular reports and liaison to WMS.

  - The DSWG members gave their unanimous approval to the new leadership team.

- DSWG Charter

  - Mark Patterson and Ed Echols presented the revised charter to the group.

  - There was a short discussion on lead times for presenting new materials or issues to the group. The consensus of the group is that draft agendas need to be sent out early, but that if critical items come up at the last minute they would be added to the agenda as discussion items. Then if any definitive actions need to be taken on these last minute additions, they will be done via email or held till the next meeting.

  - Members were asked to submit any other comments within the week following the meeting to the DSWG exploder list and that the Group Charter would be presented to WMS at their next meeting.

- Discussion of Relay Timing for UFR response

  - Rick Keetch from Reliant led a discussion on a draft OGRR to clarify the response required for the combined operating time of the UFR and disconnecting device. Revised language was presented to the group that would make it consistent with the firm load settings. Some concern was expressed that the 30 cycle interruption time may lead to some testing or verification requirement. Rick said that it was not the intent to require testing to verify this requirement. Rick will send the draft OGRR to the exploder list with a response due date of 1/27. Intent is that the DSWG would submit as an OGRR to the WMS.

- Discussion of Governor Control Update in ROS/ PDCWG

  - Jay Zarnikau from Frontier Associates led a discussion on a proposal that has been presented for a new Ancillary Service that would be called Automatic Governor Response. The group questioned what function/purpose this service was meant to serve. The group feels that Loads acting as Resource should be included in this category. Someone made the comment that with a very narrow definition load would need to act like a governor for it to participate. That means that the load would have to go up as well as down and have an automatic control system that would control and respond to frequency deviations.

  - Consensus was that the DSWG needs to continue monitoring this activity. Documents are posted on the ERCOT website. Mark Patterson was asked to take our concerns that this effort may adversely impact load participation in the market.

- Discussion on New ERCOT Operating Bulletin 144

  - Frequency control procedures have been modified by ERCOT Operations (see Operating Bulletin 144 @ http://www.ercot.com/Participants/MarketBulletins.htm ). These new procedures were put into effect to respond to events similar to the underfrequency event that took place on 8/18/2004. This operating change is part of an overall response by ERCOT to NERC to identify changes in procedures and processes that will prevent a similar occurrence as the 8/18 event. The new operating procedure will result in a manual deployment of LaaR’s if the system frequency was not restored to normal levels after a 10 minute period of time. (At that point, 33% of the generation portion of Responsive Reserve and all reserves from Hydro would have been deployed.)

  - During the meeting there were concerns about how the LaaR’s would be selected or whether all LaaR’s would be selected and deployed. Since the meeting, Mark Patterson has confirmed from the ERCOT Operations Group that all LaaR’s would be deployed as a single block.

  - The group was told by Mark Patterson that ERCOT is initiating a PRR to clarify this change in operating procedures. The DSWG members would like to see the PRR issued as an emergency PRR. Steve Myers at ERCOT is taking the lead in drafting the PRR.

- Next DSWG Meeting

  - Ed Echols suggested that the next DSWG meeting be held in late Feb or March.

  - Ed will send out an announcement and draft agenda well before the meeting time.

- The DSWG Meeting was adjourned.

  - At this point, most members of the DSWG stayed to participate in a Demand Response Workshop that was led by Billy Berny from AEP and Dan Delurey from the US Demand Response Coordinating Committee. As those presentations become available they will be posted to the DSWG meeting announcement on the ERCOT website.

Those shown below the double line attended only the Demand Response Workshop portion of the meeting.