| PRR Number | 596 | PRR Title | Mothballed Generation Resource Estimated Return to Service Dates |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Urgent | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 6.5.9.3, Mothballed Generation Resource Time to Service Update |  |  |
| Proposed Effective Date |  | June 1, 2005 |  |  |
| Priority and Rank Assigned |  | N/A |  |  |
| Revision Description |  | This revision requires owners of Mothballed Generation Resources to provide annually to ERCOT projections of the MW of generation capacity of currently Mothballed Generation Resources that will return to service over the next five years. |  |  |
| Overall Market Benefit |  | Greater reliability |  |  |
| Overall Market Impact |  | Annual preparation of reports for Resources and QSEs representing Resources |  |  |
| Consumer Impact |  | Greater reliability |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | No. |  |  |
| Procedural History |  | - PRR596 was posted on 4/19/05. - On 4/21/05, PRS waived notice for this PRR; approved the urgency status request for this PRR; and considered the language of this PRR. - ERCOT posted the Impact Analysis on 4/27/05. - On 5/5/05, TAC considered this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | PRS voted to recommend approval of PRR596 as revised by Sempra Energy and Austin Energy. The motion passed with six opposing votes (two Muni, two Consumer, two Independent Power Marketer) and one abstention (Independent REP). All segments were present for the vote. |  |  |
| Summary of PRS discussion |  | The PRR Sponsor explained that the PRR was the consensus from the GATF to resolve the mothball issue and the nature of the PRR. There was some discussion about the confidential nature of the data presented in the TAC approved transmission planning study procedures. Participants also discussed that Resources could provide probabilities to ERCOT instead of MWs and allow ERCOT to calculate the estimate. |  |  |
| TAC Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | TAC voted on three motions in reference to this PRR. The first motion failed and would have remanded this PRR to PRS. The second motion also failed and would have recommended approval of this PRR as submitted by PRS and as amended by TXU and TAC. The third and successful motion was to recommend approval of this PRR as submitted by PRS. There were 20 yeas, 8 nays (one from the Municipal, one from the IOU, and 6 from the Consumer segment). |  |  |
| Summary of TAC discussion |  | The discussion covered the three motions outlined above. These topics included the reliability of self-reported data, the impact of this type of reporting on transmission planning, the need for multiple data points for a single unit, the desirability, the desirability of having an officer of the company sign the form, and the need for confidentiality. |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Improve input information into reserve margin calculations. |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Greater reliability |
| LSE: General, Including NOIE | None | None | Greater reliability |
| LSE: CR & REP | None | None | Greater reliability |
| QSE | Annual preparation of and submission of reports. | None | Greater reliability |
| Resource | Annual preparation of and submission of reports. | None | Greater reliability |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | Mark Dreyfus (on behalf of GATF) |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| TXU | The need for transparency on items that impact the development of the transmission system. |

Proposed Protocol Language Revision

6.5.9.3	Mothballed Generation Resource Time to Service Updates

By [insert effective date plus thirty days] and thereafter by April 1st of each year and when material changes occur, every Generation Entity that owns or controls a Mothballed Generation Resource or an RMR Unit with an approved exit strategy shall report to ERCOT, on a unit specific basis, the estimated lead time required for each Resource to be capable of returning to service and, in percentage terms, report probable generation capacity from each Resource that the Generation Entity expects to return to service in each Season of each of the next five (5) years.