DRAFT

MINUTES OF THE ERCOT RELIABILITY AND OPERATIONS SUBCOMMITTEE (R0S) MEETING

Austin Airport Marriott South

4415 South I-35

Austin, Texas 78744

- April 14, 2005; 9:30AM – 4:00PM

- Chair Rick Keetch called the meeting to order on April 14, 2005 at 9:34AM.

- Attendance:

| Kunkel, Dennis | AEP | Member |
| --- | --- | --- |
| Armke, James | Austin Energy | Member |
| Ryno, Randy | Brazos Electric | Member |
| McCann, James | Brownsville PUB | Member |
| Jones, Randy | Calpine | Member |
| Rocha, Paul | CenterPoint Energy | Member |
| Greer, Clayton | Constellation Energy | Member Representative (for I. Melendez) |
| Darnell, David | CPS | Member |
| Wheeler, Ron | Dynegy Power | Member |
| Schmuck, John | Equistar Chemicals | Member |
| Adams, John | ERCOT | Staff |
| Boren, Ann S. | ERCOT | Staff |
| Chai, Ricson | ERCOT | Staff |
| Garza, Beth | ERCOT | Staff |
| Gilbertson, Jeff | ERCOT | Staff |
| Lopez, Nieves | ERCOT | Staff |
| Myers, Steve | ERCOT | Staff |
| Potts, Robert | ERCOT | Staff |
| Tartibi, Michael | Exelon | Member |
| Ward, Jerry | Extyr (for TXU Energy) | Guest |
| Knower, Bridget | Flint Hills Resources | Member |
| Bruce, Mark | FPL Energy | Guest |
| Breitzman, Paul | Garland Power & Light | ROS Vice Chair |
| Thormahlen, Jack | LCRA | Member Representative (for S. Nelson)/OWG Chair |
| Wardle, Scott | Occidental Energy | Member |
| Ogelman, Kenan | OPUC | Member Representative (for L. Pappas) |
| Hausman, Sean | PSEG Texgen I | Member |
| Grasso, Tony | PUCT | Guest |
| Marciano, Tony | PUCT | Guest |
| Keetch, Rick | Reliant Resources, Inc. | ROS Chair |
| Wood, Henry | STEC | Member |
| Helyer, Scott | Tenaska Power Services Co. | Member |
| Niemeyer, Sydney | Texas Genco | PDCWG Chair |
| McDaniel, Rex | TNMP | Member |
| Sweeney, Jason | Tractebel Energy | Member |
| Bowen, Roy | TXU Electric Delivery | DWG Chair |
| Rankin, Ellis | TXU Electric Delivery | Member |
| Westbrook, Lee | TXU Electric Delivery | Guest |
| Caraway, Shannon | TXU Energy | Guest |

The following Alternate Representatives were present:

Jack Thormahlen for Stuart Nelson

Kenan Ogelman for Laurie Pappas

Clayton Greer for Israel Melendez

1.  Antitrust Admonition

Rick Keetch noted the need to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

2.  Approval of Draft March 10, 2005 Meeting Minutes (see attachments)

The draft March 10, 2005 Meeting Minutes were distributed to the ROS prior to the meeting.  Changes were received on pages 7 and 8.  A motion was made by Paul Breitzman and seconded by Randy Jones to approve the draft March 10, 2005 ROS Meeting Minutes with changes.  The motion was approved by a unanimous voice vote.

3. March TAC Meeting Update

Rick Keetch reported on the activities of the TAC.  The TAC met on April 7, 2005.   The following OGRRs were approved:

- OGRR 156 – Reactive Considerations due to PRR 409

- OGRR 162 – Revisions to Disturbance Monitoring

These OGRRs will be effective May 1, 2005 after notification to the Board.  Keetch reported that TAC was noticed regarding the rejection of OGRR 161  - Responsive Reserve MW Limit.  The OGRR was withdrawn by the submitter after it was rejected by ROS.  The OGRR process allows withdrawal of an OGRR at anytime unlike the PRR process, which does not allow withdrawal after subcommittee action has been taken on the PRR.  The OGRR process will be modified to reflect the PRR Process.  OGRR 161 was resubmitted as OGRR 164 – Responsive Reserve MW Limit in response to the Potomac recommendations.  OGRR 164 will be discussed at the May ROS meeting.  Keetch stated that TAC was notified regarding the revision of ERCOT emergency procedures in response to a TAC assignment on reliable fuel operations.  OGRR 163 will be discussed at the next OWG meeting in response to the TAC assignment on the State Estimator observability.

4. ERCOT Compliance Report (see attachments)

Robert Potts gave the ROS an ERCOT Compliance update.  Potts discussed reactive capability testing stating that new reactive testing requirements have been put into the Operating Guides and Compliance would like to see units resume testing.  Percentages for testing have been down over the last 2 years – only 25% have submitted leading tests and 8% have submitted lagging tests.  Compliance will be requesting schedules from all units who are not up to date.  John Adams stated that ERCOT Operations needs the reactive test results to justify reactive studies in different areas. Potts emphasized that there needs to be an accurate accounting of units for both lead and lag and submittals to ERCOT are currently behind on this.  .

Potts discussed the August 18th DCS Event.  As a follow up to this event, PRR 583 – Responsive Reserve Deployment regarding EECP declaration and RRS deployment was drafted and is posted for comment.  Potts discussed the February 13th low frequency issue in response to an ROS request for follow up.  Compliance sent out a separate report for this issue prior to the ROS meeting.  Potts reviewed the event sequence and discussed the causes of the initial frequency decline and following actions taken.  Bridget Knower complimented ERCOT Compliance on the detail of the 2/13 Event Report.  She asked how the updated procedures mentioned in the Report are communicated to operators in ERCOT.  Potts stated that the updated ERCOT procedures are immediately implemented into the operating procedures and ERCOT operators are formally trained on the changes.  All new operating procedures are posted on the ERCOT website. Compliance feels that they have fully covered this event and that appropriate actions have been taken.  Potts asked that this event be closed out if ROS had no further questions.

Potts discussed the March 21st events.  The first event involved the loss of several transmission lines and autotransformers.  The second event involved the tripping of a generator, a 345kV transmission line and a 138 kV transmission line.  Both events have been investigated by the transmission companies and changes have been made accordingly.  Potts stated that Compliance did not feel that the system was in jeopardy due to these events and ERCOT as a whole was not significantly affected.  David Darnell asked that SPWG investigate further as to what happened during the March 21st events.    ROS directed SPWG to investigate the March 21st events and report their findings at the May ROS meeting.

Questions were raised regarding the disturbance event on March 4th.  An email was sent out from ERCOT stating that one of the contributors to this event was that a QSE was using a backup site causing ERCOT to lose visibility on several stations.  Paul Breitzman asked if ERCOT can verify that they can routinely switch communications to and from backup sites.  Potts stated that Compliance was working with Operations on this and they will be investigating the March 4th event.  They have asked that QSE backup plans be sent to Operations to see if they meet the minimum qualifications.  Breitzman stated that the issue was that entities can not routinely test switching API, RTU, and ICCP data exchange with ERCOT to their backup sites.  ERCOT is not able to communicate to the backup center if they are communicating with the main center.  John Adams stated the ERCOT Operations would look into procedures for testing and communicating with backup centers.  ROS requested ERCOT Operations to investigate communications with backup centers and to determine if ERCOT can communicate with the primary center and backup center concurrently.  Steve Myers agreed to ask that this be reviewed, but stated that he doubts that the ability exists to communicate with two sites at the same time.

5.  ERCOT Systems Operations Report (see attachments)

The  ERCOT Systems Operations report was distributed to the ROS prior to the meeting.  John Adams took questions regarding the report.  Breitzman pointed out that there were more and more cases of small  MW generator outages being associated with large frequency changes.  Adams stated that relative to the same time period last year, the severity of the swings has decreased.   Adams stated that he would bring graphs and additional information for the 3/7 events to the May ROS meeting.  Scott Helyer asked that Loads be included in the Disturbance Data chart for the May ROS meeting.   Ron Wheeler raised an issue regarding posted CSC and CRE information.  He stated that for 3/11 and 3/16, the information was posted incorrectly.  He emphasized that it was important that they have correct information since this data is reviewed daily. Adams stated that he would relay the concerns to the appropriate party.

- PRR 583 – Responsive Reserve Deployment Presentation

Steve Myers gave a presentation on “PRR 583 – Allowing ERCOT to deploy over 33% of Responsive Reserve”.  Myers stated that the existing Protocol language allows ERCOT to deploy up to 33% of the total responsive reserve.  This deployment is to be on generating units.  If ERCOT needs to deploy additional reserve, the Protocols require ERCOT  to declare EECP.  However, another portion of following paragraphs seem to infer an exception for significant frequency problems).  PRR 583 is attempting to clarify that RRS may be deployed in excess of 33% to restore system frequency deviations caused by other than capacity insufficiencies.  Myers showed the changes that would be made by PRR 583 to Section 6.7.3 (4) of the Protocols.  There was concern that PRR 583 would require ERCOT to deploy all remaining RRS being provided by LaaR.  This would take a significant load off of the system.  It was suggested that instead of deploying it all, that  ERCOT have the ability to proportionally respond.  PRR 583 is currently posted for comment.  Myers suggested that such comments should be submitted in the PRR comments process.

- Definition of Misoperation of SPS Presentation (see attachments)

John Adams presented “SPS Mis-operation – DRAFT Proposal for ERCOT Procedures – Comments Received”.  Adams reviewed comments received on the presentation given at the March ROS meeting.  The changes to the ERCOT document were reviewed.  David Darnell stated that the point of his issue was to ensure that the decision to declare misoperation was not market driven and was, instead, reliability driven.  The updated presentation will be sent out to the ROS and posted on the website.

6.  ERCOT Black Start Presentation 2005 (see attachments)

Ricson Chai presented the “Black Start Plan”.  Chai stated that Black Start capable units are able to self-start without support from outside power.  The Black Start selection criteria was reviewed.  Chai concluded by going over the 2006 Test Criteria and RFP and new features of the Black Start plan.  He stated that in the previous years, a next-start unit did not have to be named; however, for the upcoming year, a next-start unit is required for testing purposes.  There was some concern regarding this since a physical test of next-start units would require dropping customer load.  Henry Wood pointed out that the Protocols allowed for simulation when testing next-start units.  It was asked if a bid would be discounted for simulated tests.  John Adams stated that the bid process does not discount simulation.  Questions were raised regarding the Blackstart communication requirements.  These have not been drafted yet.

7.  ROS Working Group Reports (see attachments)

- Dynamics Working Group (DWG) Report

DWG distributed a report to the ROS prior to the meeting.  The next DWG meeting is scheduled for April 27 – 28.

- Operations Working Group (OWG) Report

OWG distributed a report to the ROS prior to the meeting.    The next OWG meeting is scheduled for April 20th.

- Network Data Support Working Group (NDSWG) Report

The NDSWG distributed a report to the ROS prior to the meeting.  The last NDWWG meeting was held on April 13, 2005.

- Steady State Working Group (SSWG) Report

The SSWG has not met since the March ROS meeting.

- Performance Disturbance Compliance Working Group (PDCWG) Report

Sidney Niemeyer reviewed the ERCOT CPS1 March scores.  He presented PRR 525 CPS1 and CPS2 data stating that a vast majority of QSEs were performing well under PRR 525 – CPS1.  PRR 525 - CPS2 scores did not show as good of performance.  Frequency and SCE trends were reviewed.  Niemeyer summarized frequency control following recent unit trips stating that overshoot/high frequency has improved, but recall of responsive reserve ramp rate appears to be contributing to secondary low frequency event and slow recovery.  Niemeyer stated that ERCOT Frequency Desk operators appear to have reduced the frequency of which adjustment of the “requested ACE Percentage Feedback” parameter is made.  ERCOT was asked to comment on Niemeyer’s summary, however, they did not have an answer at that time.  ERCOT Operations will come back to the May ROS meeting with a response.

- System Protection Working Group (SPWG) Report

SPWG distributed a report to the ROS prior to the meeting.  The next SPWG meeting is scheduled for July 21-22.

Jerry Ward stated that the CMWG would like to have a brainstorming session with transmission providers to talk about outage coordination.  The purpose of the brainstorming session will be to talk about concerns and develop ideas on outage coordination.  A notice will be sent out to ROS and WMS regarding the meeting.

8.  Reliable Fuel Operations – ROS Action Items

Rick Keetch stated that ROS had one remaining action item from TAC.  ROS is to look into sensitivity analyses and planning for a detailed examination of reliable fuel operations.  Keetch stated that WMS is looking at reliable fuel operations in relation to loads.

9.  ERCOT Reserve Margin/Generation Adequacy Task Force Update (see attachments)

Rick Keetch reported that a presentation regarding Generation Adequacy was given at the April TAC meeting by the joint ROS/WMS GATF taskforce.  He stated that the consensus items (Load, Installed Capacity, New Installed Capacity, Wind Generation, and “Switchable” Units) were agreed on and approved by TAC however, no agreement was reached on the non-consensus items (Mothballed Units and DC Ties).  The consensus items and non-consensus items will be taken to the Board for further direction on how to proceed.  ROS agreed that the GATF recommendations will not affect the activities of the SSWG unless specifically directed.

10. ERCOT’s Handling of Double Circuit Outages as Contingencies (see attachments)

Lee Westbrook updated the ROS on the activities of the Double Circuit Outage Contingency Taskforce.    Westbrook summarized the comments that were received after the March ROS meeting on the DCOCTF strawmen.  He stated that most comments received were on load interruption.  Westbrook clarified that when developing the strawmen, the group was looking to save as much money as possible while satisfying the notions of the majority of what was acceptable from a reliability viewpoint.  It is obvious from the comments received that going to firm-load shed is not acceptable in terms of reliability.  Jerry Ward summarized TXU’s comments stating that basically enough generation capacity needs to be committed day-ahead so that if a double circuit line trips, ERCOT can manage post-contingency conditions.  If there are special circumstances in real time (bad weather, voltage limits, limiting ramp rates, fire danger, etc.), energy should be deployed pre-contingency to honor limits represented by loss of a double circuit; otherwise, energy should be deployed pre-contingency only for a single circuit contingency.  Ward stated that he would draft an OGRR to be discussed by the ROS at the May meeting.  There was some discussion regarding the definition of cascading.  Myers stated that this was currently being debated at NERC.  There are assumptions that can be made and agreed on, however there is no simple way to address cascading.  David Darnell made a motion that DWG investigate and express their opinion on the definition of cascading.  Henry wood seconded the motion.  Westbrook suggested that ERCOT write a description of their best definition of cascading and allow DWG to comment on it.  Darnell withdrew his motion and suggested that ERCOT bring a write-up on the criteria, assumptions, and definition of cascading to the May ROS meeting for discussion.  ROS and ERCOT agreed to this.

11.  Other Business

Steve Myers distributed a list of meeting managers,  SMEs, and market rules representatives for ROS Working Groups and Task Forces.  Myers informed the ROS that Transmission Services will not be attending future ROS meetings unless there are specific questions they need to address.  A report will be sent out to the ROS prior to meetings for review.  There was some concern regarding this.  It was stressed that the reports from Transmission Services needed to be sent to the ROS well in advance of the meetings.  It was pointed out that no Transmission Services report was furnished for today’s ROS meeting.

12.  Future ROS Meetings

The next ROS Meeting is scheduled for May 12, 2005 from 9:30 a.m. to 4:00 p.m. to be held at the Austin ERCOT Met Center - Austin.  Additional ROS Meetings are scheduled for and June 16th and July 14th.

- There being no further business, Rick Keetch adjourned the ROS Meeting 2:47 PM on April 14, 2005.