| OGRR Number | 166 | OGRR Title | Double Circuit Contingencies |
| --- | --- | --- | --- |
| ###### Date |  | May 13, 2005 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Lee Westbrook |  |
| E-mail Address |  | lwestbrook@TXUED.com |  |
| Company |  | TXU Electric Delivery |  |
| Company Address |  | 2233-B Mountain Creek Pkwy, Dallas TX 75211-6716 |  |
| Phone Number |  | 214-743-6823 |  |
| Fax Number |  | 972-263-6710 |  |

Comments

TXU Electric Delivery supports this OGRR as originally submitted.  While the magnitude of congestion savings that may result from this change is not quantifiable at present, the change will provide the opportunity for some additional savings with no significant compromise in reliability.  The change does not diminish ERCOT’s ability to deploy energy to ensure that a double-circuit outage will not result in cascading or uncontrolled outages, or voltage collapse, whenever study evidence shows such would occur absent that deployment.  However, it does strengthen the standard for such evidence beyond mere assumption, and it opens up the possibility of ERCOT considering energy deployment ramp rate as an additional tool in the design of an acceptable Remedial Action Plan or Special Protection System.

This seems a reasonable treatment of double-circuit outages, especially considering the fact that events of comparable probability (e.g., bus outages and two-generating-unit outages) are not systematically examined at all at present.

There is no doubt that continued development of analytical operations tools will someday make the language in this section obsolete, but the approach proposed in this OGRR is a reasonable one in the interim.

Revised Proposed Operating Guide Language