## Slide 1
Compliance Requirements for QSE and Resources
Kara Whillock
Tenaska Power Services, Co.

## Slide 2
Introduction
Definition of Compliance
Governing Rules Mandating Compliance
ERCOT Market Compliance Monitors
Active ERCOT Compliance Templates
Compliance Templates under development

## Slide 3
Objectives
At the completion of this course of instruction you will:
Recognize what it takes to ensure the reliability of the ERCOT electric system
Understand the criteria used to measure a QSE’s, PGC’s or TO’s performance
Understand the consequences associated with Non Compliance

## Slide 4
Compliance
Compliance - Performing according to certain accepted standards
ERCOT Protocols and ERCOT Operating Guides
ERCOT Compliance Monitors include the ERCOT Operation’s Group, ERCOT Compliance group, and the PUCT’s Market Oversight Division

## Slide 5
#1 - 24/7 Staffing Requirements
Description – QSEs must provide qualified personnel in a 24/7 facility that has the authority to make decisions and follow instructions from ERCOT System operations
Measurement – Training documentation
Measuring Process – Site visit, audit of training documentation, or incident report

## Slide 6
#2 – Backup Control Plan
Description – QSEs that provide Ancillary Services shall provide ERCOT with a written backup control plan
Measurement – Submit an updated backup plan annually
Measuring Process – Ability to operate when primary control site is out of service without placing undue burden on the ERCOT System

## Slide 7
Description – Procedures that insure the reliable restoration of the ERCOT System in the event of a partial or complete black out
Measurement – TOs submit individual black start plans annually
Measuring Process – ERCOT compiles a single Black Start Plan incorporating all TO plans
Exceptions – Transmission corridors taken out of service
#3 – Black Start Procedures

## Slide 8: #4 – Net Dependable Testing of Generators
Description – Generation resources that operate more than 168 hours in a Season as a provider of energy and/or Ancillary Services.
Measurement – Test every Season
Measuring Process – Maintain maximum generation for 1 full clock hour
Exceptions – Units that are less than 10 mw in capability or do not operate 168 hours, and do not provide Ancillary Services

## Slide 9
6.2.2 Seasonal Unit Net Real
Power Capability Verification
General Information
Unit Code (16 character): _________ Location (County):__________
Unit Name: ____________ Date of test: ____________
Generator’s QSE: _________ Resource Entity: ___________
Test Results
Start Time: _________ Start MW: _____________________
MW 10 Minutes after Start Time: ____________
Time to Reach Maximum Generation: _________________
Temperature at Plant (F):_________MW at Maximum Generation: __________
MWH Net during the First Full Clock Hour after Maximum Generation is reached:
Limiting Factors: _________________________
Submittal
Resource Entity Representative: _____________________
QSE Representative: ______________________________
Date submitted to ERCOT Control Area Authority Rep.: _________________

## Slide 10: #5 – Biennial Reactive Testing
Description – Provides ERCOT the ability to recognize the reactive resources available to maintain steady and reliable voltages
Measurement – Test every 2 years or at ERCOT’s request
Measuring Process – Maintain reactive power for at least 15 minutes
Exceptions – Units that produce less than 20 MVA and units that are mutually agreed upon by QSE, Generation Entity and ERCOT

## Slide 11
6.2.3 Biennial Unit Reactive Limits (Lead and Lag) Verification
General Unit Information
Tested Reactive Capability
  Maximum lagging tests should be performed during high load conditions
  Leading reactive tests should be performed during light load conditions
Test Conditions
Factors that Limited Reactive Capability During Test

## Slide 12: #6 – Dispatch Instructions
Description – TDSPs and QSEs should adhere to valid Dispatch Instructions in order to alleviate system problems
Measurement – ERCOT issues verbal and system generated Dispatch Instructions
Measuring Process – TDSPs and QSEs are held accountable for non-compliance
Exceptions – Threat to safety, risk of bodily harm, damage to equipment, or not in compliance with the Protocols

## Slide 13: Contents of Valid Verbal Dispatch Instructions
(Protocols 5.4.2.1)
(1) Identification of the responsible Entity and instructing authority (to include ERCOT operator’s and receiving operator’s names);
(2) Specific Resources or TDSP Facilities that are the subject of the Dispatch Instruction;
(3) Specific action required;
(4) Current operating level or state of the Resources or TDSP Facilities that are the subject of the Dispatch Instruction;
(5) Operating level or state to which such Resources or Facilities will be dispatched;
(6) Time of notification of the Dispatch Instruction;
(7) Time at which the QSE or TDSP is required to initiate the Dispatch Instruction;
(8) Time within which the QSE or TDSP is required to complete the Dispatch Instruction; and
(9) Other information relevant to the specific Dispatch Instruction.)

## Slide 14: VDI is typically issued:
If the OOM tool has failed
To direct Generation that is on line, but not in the Resource Plan
To direct switching operations to Transmission Operators
To issue instructions to entities which are not following market deployments

## Slide 15: #7 – Regulation Services
Description – Ensures QSEs are maintaining performance standards when providing Regulation Ancillary Services
Measurement – Portfolio Based
Measuring Process – SCPS1 is a 1 minute average. SCPS2 is a 10 minute average
Exceptions – VDIs and Unit Trips

## Slide 17: #8 – QSE Real-Time Data
Description – Data enables ERCOT to monitor the real-time reliability of the system
Measurement – Applies to QSEs with a Resource Portfolio
Measuring Process – ERCOT compliance works jointly with EMS Production and Operations to validate data
Exceptions – Units less than 10 MW which are not providing Ancillary Services

## Slide 18: 6 Required Signals

## Slide 19: #9 – Operator Training
Description – 40 hours of emergency training for TOs, QSEs and ERCOT System Operators
Measurement – Each Entity shall maintain training documentation and training records. Participation in Severe Weather Drills, ERCOT Black Start Training, and the 22nd Annual ERCOT Operations Training Seminar
Measuring Process – Site visit, audit of training documentation, or incident report

## Slide 20: #10 – Vegetation Management
Description – Prevents transmission line contact with vegetation
Measurement – Transmission Owners will develop an inspection process, trimming clearances, and an annual work plan
Measuring Process – Transmission providers with 345 KV lines will submit reports by the 20th of each month. ERCOT may conduct spot checks.

## Slide 21: #11 – Resource Plan Performance
Description – ERCOT measures the performance of a QSE’s Resource Plan to ensure Resource Plans are kept as accurate as possible at all times
Measurement – Scores for each QSE are calculated monthly
Measuring Process – Calculations by hour and/or interval for 6 different measures

## Slide 22: Levels of Non-Compliance
Level 1 – ERCOT generates letter and phone call. The non-compliance event is posted on the ERCOT Compliance Web Site after (x) business days
Level 2 – ERCOT generates letter and phone call. MOD is notified
Level 3 – ERCOT Compliance files a complaint with the PUCT. Privileges to provide ancillary services may be revoked

## Slide 23: #3 – Black Start Procedures
  Levels of Non-Compliance
    Level 1 - ERCOT generates letter and phone call. The non-compliance event is be posted on the ERCOT Web Site after 10 business days
    Level 2 – ERCOT generates letter and phone call. MOD is notified and the event is posted
    Level 3 – ERCOT Compliance files a complaint with the PUCT

## Slide 24: #6 – Dispatch Instructions
  Levels of Non-Compliance
    Level 1 – Doesn’t exist
    Level 2 – ERCOT generates letter and phone call. MOD is notified and the event is posted
    Level 3 – ERCOT Compliance files a complaint with the PUCT

## Slide 25: #9 – Operator Training
  Levels of Non-Compliance
    Level 1 – ERCOT generates letter and phone call. The non-compliance event is posted on the ERCOT Web Site after 3 days
      QSEs are reported to the Director of the MOD
      ERCOT Operators and TOs are reported to NERC

## Slide 26: #10 – Vegetation Management
  Levels of Non-Compliance
    Level 1 – ERCOT generates letter and phone call. The non-compliance event is posted on the ERCOT Web Site after 3 days.

## Slide 27: #11 – Resource Plan Performance
  Levels of Non-Compliance
    Level 1 – ERCOT generates letter and phone call
    Level 2 – ERCOT generates letter and phone call. MOD is notified and the event is posted
    Level 3 – ERCOT generates letter and phone call. MOD is notified and the event is posted

## Slide 28: Summary
11 Active Compliance Templates
17 Compliance Templates under development
www.ERCOT.com / Market Participants and Stakeholders / Compliance

## Slide 29
Compliance Requirements for QSE and Resources
1. QSEs must provide personnel in a _____ facility that has the authority to make decisions and follow instructions from ERCOT System operations.
a. five days a week
b. Monday Wednesday and Friday’s
c. Tuesday Thursday and Saturday’s
d. twenty-four hour, seven days a week

## Slide 30
Compliance Requirements for QSE and Resources
2. TO’s submit individual Black-start plans _____.
a. annually
b. biweekly
c. semiannually
d. every six months

## Slide 31
Compliance Requirements for QSE and Resources
3. Which of the following generating units requires a seasonal test?
a. units that are less than 10mw
b. units that do not operate 168 hours
in a season
c. units that do not provide Ancillary
Services
d. units that are more than 10mw or
provide Ancillary Services

## Slide 32
Compliance Requirements for QSE and Resources
4. Biennial Reactive testing in ERCOT is measured by a test every two years or at _____ request.
a. PUCT’s
b. ERCOT’s
c. DOE’s
d. FERC’s

## Slide 33
Compliance Requirements for QSE and Resources
5. Each of the following statements are good reasons to not adhere to dispatch instructions except?
a. Instruction could cause damage to
equipment
b. Instruction could be an economic
hardship
c. Instruction is not in compliance with
the ERCOT Protocols
d. Instruction is a threat to safety

## Slide 34
Compliance Requirements for QSE and Resources
6. _____ should adhere to dispatch instructions in order to alleviate system problems.
a. only QSE’s
b. only TDSP’s
c. PGC’s and TDSP’s
d. QSE’s and TDSP’s

## Slide 35
Compliance Requirements for QSE and Resources
7. CPS1 is calculated on a _____.
a. 10 hour average
b. 1 hour average
c. 10 minute average
d. 1 minute average

## Slide 36
Compliance Requirements for QSE and Resources
8. CPS 2 is calculated on a _____.
a. 1 minute average
b. 10 minute average
c. 1 hour average
d. 10 hour average

## Slide 37
Compliance Requirements for QSE and Resources
9. QSE telemeter data enables ERCOT to monitor the real-time reliability of the system.
True/False

## Slide 38
Compliance Requirements for QSE and Resources
10. QSEs that provide Ancillary Services shall provide ERCOT with a written backup control plan.
True/False

## Slide 39
Questions
?
?