## Slide 1
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
2005
ERCOT Operations Seminar

## Slide 2: Charles Proteus Steinmetz
Notes: US electrical engineer, professor, educator, friend of the poor, citizen. Hunchback, fled political persecution in Bismarck’s Germany in late 1800’s. Worked for GE (shown in picture with Thomas Edison. 200+ patents, 3 profound inventions:
Hysteresis of magnetic circuits
Complex number calculations used by engineers for ac circuits (i + j)
Transient studies, leading to his lightning arrester development (the man who tamed lightning)
"In the early years of this century, Steinmetz was brought to General Electric's facilities in Schenectady, New York. GE had encountered a performance problem with one of their huge electrical generators and had been absolutely unable to correct it. Steinmetz, a genius in his understanding of electromagnetic phenomena, was brought in as a consultant - not a very common occurrence in those days, as it would be now. Steinmetz also found the problem difficult to diagnose, but for some days he closeted himself with the generator, its engineering drawings, paper and pencil. At the end of this period, he emerged, confident that he knew how to correct the problem. After he departed, GE's engineers found a large "X" marked with chalk on the side of the generator casing. There also was a note instructing them to cut the casing open at that location and remove so many turns of wire from the stator. The generator would then function properly. And indeed it did. Steinmetz was asked what his fee would be. Having no idea in the world what was appropriate, he replied with the absolutely unheard of answer that his fee was $1000. Stunned, the GE bureaucracy then required him to submit a formally itemized invoice. They soon received it. It included two items: 1. Marking chalk "X" on side of generator: $1. 2. Knowing where to mark chalk "X": $999."
Calculations - 60 KW machine, 80K HP – each HP is work of 22 ½ men, in three shifts ….. This generator supplies equivalent work of nearly 5 million men, which exceeded the entire slave population in the South before the civil war.
In ERCOT, you are working with over 60 thousand KW, which is more or less the capability of every man, woman and child in the entire world.

## Slide 3
Objectives
At the completion of this course, you will:
Identify the purpose of ERCOT’s Compliance Assessment Program.
Identify the standards that require ERCOT’s Compliance Assessment Program.
Identify the entities assessed through ERCOT’s compliance program.
Describe methods used during assessments under ERCOT’s compliance program.
Identify the location of information available concerning ERCOT’s Assessment Program.

## Slide 4
What is the purpose of the Compliance program?

## Slide 6: Why (do we need a Compliance Program)?
Voluntary compliance with industry reliability rules is not adequate!
  Traditional vertically integrated utility is going away.
  Entities are now competitors, not “cooperators”.
  Old incentives to comply may not apply.
  Marked increase in the number and severity of voluntary reliability rules “violations”.
  Currently, little or no effective recourse exists under the voluntary model to correct such behavior.
Notes: NERC’s Self explanatory. I would NOT use the California situation as an example.
The traditional “vertically integrated utility” is going away, and, as a result, so is the “utility package” that once neatly held all the integrated functions, programs, services, and reporting.

## Slide 7
Summary
Click to add text

## Slide 8: Blackout Corrective Actions
FirstEnergy
  Voltage criteria and reactive resources
  Operational preparedness and action plan
  Emergency response capabilities and preparedness
  Control center and operator training
MISO
  Reliability tools
  Visualization tools
  Operator training
  Communications protocols and procedures
  Operating agreements
PJM
  Communications protocols and procedures

## Slide 9: Key Findings after Northeast Blackout
Compliance with reliability rules requires objective measurements and firm actions to resolve violations
NERC policies need to be more specific regarding reliability coordinator and control area functions, responsibilities, authorities, tools
Problems from prior wide-area blackouts are being repeated: trees, operator tools, training

## Slide 10: What It Is …….
An effort within the electric power industry
of the US and Canada …..
Aiming to improve the reliability
of the “bulk electric grid” …..
Through enforcing a limited set of performance and readiness criteria, in both the operating and planning arenas …..
With sanctions proportional to the violations.
Notes: Program statement

## Slide 11: What It Is Not …
Market monitoring and enforcement – the PUCT does that in Texas. Sometimes these do overlap.
Distribution system and customer connection assessment – this is largely outside NERC’s role, covered by PUCT
A money making scheme for ERCOT – compliance
team and programs do not depend on sanctions.
An imposed program from New Jersey or
Washington - ERCOT and its member
companies are active participants in NERC
Notes: AUTHORITY – from PUCT/Protocols 1.2, 5.2.1, 5.4, 5.6, 6.10

## Slide 12: NERC Program So Far
Four “pilot” phases – finished III in 2002
Decision made to overhaul and combine standards into “Organizational Standards”, accelerated by the Northeast Blackout
Federal Legislation never passed both Houses
Contract-based enforcement (“Plan B”) approved by ERCOT Board and 9 of 10 Regions
Compliance function also includes NERC’s organization & operator certification program

## Slide 13: ERCOT Compliance Program
ERCOT program follows measures of the NERC program
New NERC requirements are incorporated into the Operating Guides, or sometimes Protocols or Working Group procedures
Additional measures, mostly QSE and PGC issues, for subjects not covered by NERC’s program.
ERCOT Compliance is separate from ERCOT Operations
  Reports directly to CEO
  Assesses ERCOT as well as Market Participants

## Slide 14: Standards – Old and New

## Slide 15: NERC Operating Policies
P1 - Generation | P2 -Transmission | P3 - Interchange
P4 - Coordination | P5 - Emergency Operations | P6 - Operations Planning
P7 - Telecomm | P8 - Personnel | P9 - Security Coordinators
Notes: WHERE DID IT COME FROM AT NERC – which is reflected in the ERCOT OPERATING GUIDES

## Slide 16: NERC Planning Standards
I - System Adequacy and Security | II –Modeling Data
III – System Protection and Control | IV - System Restoration
Notes: AGAIN, reflected in ERCOT OG and procedural doc’s

## Slide 17: Existing ERCOT “Standards”
Protocols, especially 4,5,6,8 and 12
Operating Guides
Stakeholder posting and review process
ERCOT Compliance templates are developed for items selected for enforcement and not addressed by NERC measures

## Slide 18: Standards Transition Objectives
Translate policies, standards, compliance templates into ‘Version 0’ reliability standards
  Minimize content changes
  Identify functions
  Identify business practices
  Make passive/indeterminant requirements active
ANSI-approved process
Complete initial function registrations
Retire existing policies, standards, templates
Streamline standards process

## Slide 19: New NERC Standards
SAR
and
Plan
Ballot
Posting
of Final
Draft
Field
Tests
Posting
of
Drafts
NERC
Board
Adoption

## Slide 20: Items Available on NERC’s Web Site
Standards Authorization Committee Information
  http://www.nerc.com/committees/sac.html
Proposed SARs
  http://www.nerc.com/~filez/sar-proposed.html
SARs posted for review
  http://www.nerc.com/~filez/sar-approved.html
Standards under review
  http://www.nerc.com/~filez/standards-ud.html
Mailing list for notification when SARs or standards are posted
  http://www.nerc.com/standards/maillist.html
Register Ballot Body Information
  https://www.nerc.net/standards/ballotbody/

## Slide 21
Who is assessed?

## Slide 22: Who (must Comply)? Generally…
Any entity responsible for any part of bulk electric system reliability.
Historically, those entities were defined as “Control Areas”.
Control Areas or others may perform more than one function.
In the present world, there are many new market participants, each with some responsibility for reliability.
Notes: This is one of the issues we found in the 2000 program. Some are not aware that they are to follow the NERC rules.

## Slide 23: NERC Needs the Functional Model
Control Area is no longer the only operating organization responsible for reliability
NERC Operating Policies do not reflect the new organizations or merchant functions that are forming
Need to define the basic functions and “roll up” into organizations
  ITPs
  RTOs
  ISOs
  Reliability
  Balancing
  Interchange
  Transmission
Notes: Few years back – CAs mostly alike.
Policies written as if CA was a set of functions.
Did not recognize that inside the CA Organization, separate operating desks representing different sets of reliability functions:
Generation dispatch
Transaction scheduling
Security assessment
Wholesale purchases/sales
Policies were OK as long CAs were alike.
With FERC Orders requiring functional separation and formation of new reliability organizations.
Lost common basis for Policies.

## Slide 24: Guiding Principles
Model defines functions as sets of tasks
Organizations register as responsible entities
Organizations must be certified to perform certain functions
  Operating Reliability, Balancing, Transmission Operations, Interchange
May delegate tasks but not responsibilities
Some tasks will not result in standards
Notes: Functions comprise tasks.
Tasks are what must be done, not how.
An organization who registers with NERC as performing a function is considered a responsible entity and must ensure that all tasks are performed.
Organizations that perform certain functions must be certified as being capable of performing those functions.
An organization may delegate a task to another organization, but may not delegate its responsibility for ensuring that the task is accomplished.
Some tasks in the Functional Model may not result in a reliability standard.

## Slide 25
Standards
Development
Compliance
Monitoring
Standards
Functions
NERC Functional
Model
Version 2
Generator
Operations
Generator
Ownership
Transmission
Ownership
Load-Serving
Purchasing-
Selling
Transmission
Operations
Distribution
Planning
and
Operating
Functions
Resource
Planning
Transmission
Planning
Balancing
Interchange
Transmission
Service
Operating
Reliability
Reliability
Service
Functions
Planning
Reliability
Market
Operations

## Slide 26: Considerations
The Model accommodates the industry’s changes – does not cause or recommend change
    Designed to accommodate traditional, vertically integrated control areas
    …and RTOs
    …and ISOs
Framework for NERC reliability standards
Does not depend on market structure or even whether a market exists

## Slide 27: Reliability Service Functions Summary
  Operating Reliability
  Planning Reliability
  Interchange
  Balancing
  Transmission Service
  Market Operations
Notes: This is a summary of the “reliability service functions” definitions from the Functional Model.

## Slide 28: Planning and Operating Functions Summary
  Transmission Ownership
  Generator Operator
  Transmission Operations
  Generator Ownership
  Load-Serving
  Purchasing-Selling
  Distribution
  Transmission Planning
  Resource Planning
Notes: This is a summary of the “planning and operating functions” definitions from the Functional Model.

## Slide 29: Reliability Authority
Balancing Authority
Transmission Operator
Global Tasks
Local Tasks
GENERATION
LOAD
(Who delegates to who?)

## Slide 30: ERCOT ISSUES WITH THE MODEL
  One entity type is responsible for each function. Which entity will that be for each function?
  Many entities may be involved in completing tasks – how is their responsibility going to be recognized (and monitored)?
  Where does personnel certification – as differentiated from entity certification – fit in?
Notes: NERC’s Self explanatory. I would NOT use the California situation as an example.
The traditional “vertically integrated utility” is going away, and, as a result, so is the “utility package” that once neatly held all the integrated functions, programs, services, and reporting.

## Slide 31: Putting it all Together
Functional
Model
Defines Tasks
NERC Standards
Process
Defines Performance
Establishes
Requirements
Sets Certification
Requirements
Regional
Reliability Plan
Identifies Organizations
Reliability Coordinators
Reliability Authorities
Balancing Authorities
Registration
Registers Organizations
ORG

## Slide 32: Who must comply?
TDSP’s
And
TO’s
ERCOT, Inc.
PGC’s/
Resources
The
ERCOT
Region
QSE’s

## Slide 33: ERCOT as a Region
Stakeholder working groups who produce Regional procedures, Operating Guides and Protocol changes covering:
Planning study procedures - load flow and dynamic stability data requirements and studies
System protection requirements – disturbance monitoring, misoperation analysis, generator transient withstand, protective relay maintenance programs, special protection systems (SPS), etc.

## Slide 34: ERCOT, Inc.
Regional planning study cases, assessments, and data submittals for the Region. Generator interconnect procedure, for example.
Control area functions – frequency control (CPS and DCS), transmission security, DC-tie schedule approval/curtailment, operator issues
Emergency planning - blackstart plan
Reliability coordinator (RC) functions – daily limit studies, energy emergency handling
Operators (NERC certification, authority & training)
Cyber security

## Slide 35: Transmission Co’s.
Company planning study cases, assessments, grid models and annual load forecast data
Transmission control functions – outage coordination, real-time data to ERCOT, operator training and authority
Emergency planning – load shed, blackstart, loss of control center
System protection data collection, analysis and maintenance (including protective relays and special protection systems)
Facility interconnection studies and procedures

## Slide 36: QSE’s
Real-time and other operational data to ERCOT from resources
Emergency planning/implementation for capacity emergencies– from Operating Condition Notice’s to Emergency Energy Curtailment
Ancillary services performance from Protocols 6
Resource plan measurements
Plans for loss of primary control center
7x24 staffing and operator training
NOTE: QSEs handle tasks for their Resources!

## Slide 37: PGC’s and Resources
Unit testing – net dependable, reactive capability, and AVR tests of units in portfolio
Outage coordination with ERCOT
Emergency planning and blackstart unit testing
System protection coordination, data collection, analysis and maintenance (including protective relays and special protection schemes)
Modeling data for system planning
Operational performance – AVR/PSS and governors in service, voltage profiles met, transformer taps set per TDSP requirements

## Slide 38
How is compliance assessed?

## Slide 39: Assessment Processes
Periodic Data Collection and Monitoring
Self Certification & Audits – Most Common, Eventually will Combine into Certification Activity
Investigations Triggered by Events – ERCOT’s investigation process

## Slide 40: Compliance Templates
Who, what, why of measurement
References
Measurement intervals
Types of measurements
Actions for non-compliance
  Letters
  Posting
  Possible Ancillary Svc Disqualification
  Escalation to PUCT

## Slide 41: Proposed Penalty Matrix
Occurrence Within A Rolling 12 – Month Period
Level Non-Compliance
1st
2nd
3rd
4th and Greater
1
(1) Letter to Mgr
(1)
$1,000 or
$1/MW
$2,000 or
$2/MW
2
(1)
$1,000 or
$1/MW
$2,000 or
$2/MW
$4,000 or
$4/MW
3
$1,000 or
$1/MW
$2,000 or
$2/MW
$4,000 or
$4/MW
$6,000 or
$6/MW
4
$2,000 or
$2/MW
$4,000 or
$4/MW
$6,000 or
$6/MW
$10000 or
$10/MW

## Slide 42
ERCOT posts the names of companies found non-compliant with Protocol and Operating Guide measure
NERC posts the names of companies who are non-compliant with NERC Reliability Standards
…. After entities have the opportunity to appeals ERCOT’s initial findings.
Disclosure/Posting

## Slide 43
Corrective actions need to be taken – or explanation of circumstances provided – for non-compliance
Mitigation plans are tracked to completion
Failure to complete mitigation plans will result in further posting and escalation
Late delivery of data or other information will be escalated in steps, finally resulting in non-compliance
Lateness and Mitigation Plans

## Slide 44
Where can more information be found?

## Slide 45: “Hot Topics” at NERC
    Separate funding of compliance efforts
    Federal Legislation – the Energy Bill
    Role of Federal Energy Regulatory Commission
    Organizational Certification Processes
    Cyber Security Standards
    Northeast Blackout Recommendations
    New “Revision 1” Standards
Notes: This is a summary of the “reliability service functions” definitions from the Functional Model.

## Slide 46: ERCOT’s Compliance Homepage
Complete links to NERC &
ERCOT Templates
Compliance Processes
Notices and Reports
Links to NERC items
“www.ercot.com/nerccompliance/compliance.htm”

## Slide 47: More Information
ERCOT Website – www.ercot.com
  ERCOT Protocols// Protocol Revisions
  ERCOT Operating Guides // Operating Guides Revisions
  Reliability and Operations Subcommittee
  Meetings (see calendar and meeting minutes)
NERC website – www.nerc.com
  “Compliance and Certification”
    Annual programs
    Reports
    Certification
    Other NERC Region’s programs
  “Reliability Standards”

## Slide 48
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
1. What is NOT a reason for the ERCOT Compliance Assessment Program?
a. Entities are now competitors
b. Old incentives to comply may not apply
c. Traditional vertically integrated utility is going away
d. NERC recertification

## Slide 49
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
2. Which was NOT a key finding after the Northeast Blackout?
a. Voluntary compliance with NERC standards is adequate
b. Problems from prior wide-area blackouts are being repeated: trees, operator tools, training
c. NERC policies need to be more specific regarding reliability coordinator and control area functions, responsibilities, authorities, tools
d. Compliance with reliability rules requires objective measurements and firm actions to resolve violations

## Slide 50
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
3. Identify the entities assessed through ERCOT’s compliance program.
a. Only QSEs
b. Only TDSPs
c. Only market participants
d. Any entity responsible for any part of bulk electric system reliability

## Slide 51
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
4. Periodic data collection and monitoring as well as self certification and audits are ways of assessing what?
a. Frequency control
b. Market participation
c. Compliance
d. The average number of daily outages

## Slide 52
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
5. What is NOT an action for non-compliance?
a. Posting by ERCOT and/or NERC
b. Operators losing NERC certification
c. Possible ancillary service disqualification
d. Letters to management

## Slide 53
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
6. What is ERCOT’s compliance homepage?
a. www.ercot.com/nercompliance/compliance.htm
b. www.nerc.com/compliance
c. www.compliance.com/ercot
d. www.nerccompliance.com/ercot

## Slide 54
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
7. What is one of the purposes of the compliance program?
a. Continuously audit market participants
b. To cross train all operators in the control areas
c. To emphasize the differences in the interconnections
d. To enforce a limited set of performance and readiness criteria

## Slide 55
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
8. What is NOT a purpose of the compliance program?
a. To improve reliability of the bulk electric grid
b. An effort combining the power industry in both US and Canada
c. A money making scheme for ERCOT
d. To impose sanctions proportional to violations

## Slide 56
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
9. The NERC functional model does not depend on market structure or even whether a market exists.
a. True
b. False

## Slide 57
ERCOT’S COMPLIANCE ASSESSMENT PROGRAM
REVIEW QUESTIONS
10. Which of the following is NOT a guiding principle of the functional model?
a. Some tasks will not result in standards
b. NERC recertification
c. Model defines functions as sets of tasks
d. Organizations register as responsible entities

## Slide 58: “No man really becomes a fool until he stops asking questions.” -Steinmetz

## Slide 59
Questions
?
?