## Slide 1: Processing of Protocol Revisions, System Change Requests, and Guide Revisions
Cheryl Moseley
Market Rules Manager
April 2005

## Slide 2: Protocol Revision Requests, Operating Guide Revision Requests or System Change Request?
PRRs are for issues that require a change to the Protocols, but may or may not require a change to ERCOT computer systems
OGRRs are for issues that require a change to the Operating Guides, but may or may not require a change to ERCOT computer systems
SCRs are for issues that do not require a change to the Protocols or the Operating Guides; but do require a change to ERCOT computer systems
If an SCR is submitted that will require a change to the Protocols or the Operating Guides, ERCOT will reject the SCR and request that the submitter prepare a PRR or OGRR, as appropriate
Notes: <number>
<footer>
<header>
<date/time>
ERCOT will promptly notify QSE of changes to its EAL or TEL and allow a reasonable time to provide additional security if necessary to maintain compliance with financial security requirements

## Slide 3: Protocol Revision Requests (PRR)
Can be initiated by:
  Market Participant
  PUCT Staff
  ERCOT Member
  ERCOT Staff
  Other Entities
Revision process utilizes due process
Must utilize process in Protocol Section 21 before going to PUCT, except for good cause
PRRs and Comments are submitted electronically to ERCOT (ProtRevReq@ercot.com)
Notes: <number>
<footer>
<header>
<date/time>
DES initially provided by QSE in its Service Filing
BEF = 10% for QSEs scheduling only Load or Generation; 5% for QSEs scheduling both
AEP = $75.00

## Slide 4: PRRs (cont.)
ERCOT reviews for format and completeness; assigns number; posts and distributes
After applicable Comment period, PRS Initial Consideration and Recommendation
Preparation of Impact Analysis by ERCOT
PRS Review of Impact Analysis and modification of PRS Recommendation Report, if required
After applicable Comment period, TAC makes a recommendation to Board of Directors
Board considers TAC Recommendation and takes action
Board Action Report is posted on website
Board Action can be appealed to PUCT

## Slide 5: System Change Requests (SCR)
Can be initiated by interested parties
SCRs and Comments are submitted electronically to ERCOT (ProtRevReq@ercot.com)
ERCOT reviews for format and completeness; assigns number; sends to appropriate subcommittee (RMS, WMS, ROS), posts and distributes
Subcommittee considers and makes a recommendation to TAC
TAC considers; if approved PRS assigns priority
Board considers TAC Recommendation and takes action
Board Action Report is posted on website
Notes: <number>
<footer>
<header>
<date/time>
DES initially provided by QSE in its Service Filing
BEF = 10% for QSEs scheduling only Load or Generation; 5% for QSEs scheduling both
AEP = $75.00

## Slide 6: Section 21, Revisions to Protocols
X
X
X
X
X
21 Day Comment
Period
ERCOT Posts
PRR
August 26
PRS
Consideration
1st Consideration
Dec 1
July 23
21 Day Comment
Period
October 7
TAC
Consideration
ERCOT Posts
PRS Rec
ERCOT Posts
TAC Rec
ERCOT Posts
BOD Decision
25-Day IA
Period
September 25
PRS
Consideration
2nd Consideration
X
ERCOT Updates
PRS Rec
X
November 16
BOD
Consideration
30-Day IA
Period
Similar process applies to System Change Requests

## Slide 7: ERCOT Home Page

## Slide 8: Protocol Web Page
Notes: <number>
<footer>
<header>
<date/time>
ERCOT will promptly notify QSE of changes to its EAL or TEL and allow a reasonable time to provide additional security if necessary to maintain compliance with financial security requirements

## Slide 9: Submission of PRRs and SCRs
Notes: <number>
<footer>
<header>
<date/time>
ERCOT will promptly notify QSE of changes to its EAL or TEL and allow a reasonable time to provide additional security if necessary to maintain compliance with financial security requirements

## Slide 10: Operating Guide Revision Requests (OGRR)
Can be initiated by:
  Market Participants (Trans Owner, Gen Owner, LSE, PM, QSE)
  ERCOT Subcommittees, Task Forces, Working Groups
  ERCOT Staff
  PUCT Staff
OGRRs and Comments are submitted electronically to ERCOT (OGRevReq@ercot.com)
Notes: <number>
<footer>
<header>
<date/time>
DES initially provided by QSE in its Service Filing
BEF = 10% for QSEs scheduling only Load or Generation; 5% for QSEs scheduling both
AEP = $75.00

## Slide 11: OGRRs (cont.)
ERCOT reviews for format and completeness; assigns number; posts and distributes
After applicable Comment period, Operating Guide Revision Task Force and Operations Working Group consider and make recommendation to ROS
After applicable Comment period, ROS considers and makes recommendation
OGRR sent to PRS for review
If PRS determines the OGRR is consistent with the Protocols, ROS sends OGRR Recommendation Report to TAC
TAC considers ROS Recommendation and takes action
TAC Chair reports action to Board of Directors

## Slide 12: Submission of OGRRs
Notes: <number>
<footer>
<header>
<date/time>
ERCOT will promptly notify QSE of changes to its EAL or TEL and allow a reasonable time to provide additional security if necessary to maintain compliance with financial security requirements

## Slide 13: PRR 359, Resource Plan Improvements
Added definitions for High Operating and Sustainable Limit; and Low Operating and Sustainable Limit
Requires QSEs to update Resource Plans to reflect Resource status changes
Added a lead-time status code to the indication of availability of a Resource unit

## Slide 14: PRR409, Voltage Support Service from Generating Resource
Operate with unit AVR in voltage control mode unless directed to operate in manual mode, when coming on-line or going off-line
Notify ERCOT if mode changes, other than under ERCOT direction
Notify ERCOT if unit is not operating at a power factor level as specified in Oper. Gde.
Uncompensated Reactive Support-at rated capability & power factor of 0.95 leading or lagging
Compensated Reactive Support-when ERCOT instructs to exceed 0.95 power factor at rated MW output

## Slide 15: PRR468, Frequency Response Requirements and Monitoring
When on-line, turbine governor in service and allowed to respond to changes in system frequency
Need ERCOT consent to reduce governor response during abnormal conditions unless equipment damage is imminent
Short-term inability to supply governor response must be reported to ERCOT
Change of status must be reported to ERCOT if unit trips off-line due to governor response problems

## Slide 16: PRR473, Reactive Standards
Sufficient static Reactive Power capability must be installed in substations and on the distribution voltage system (0.97 lagging pf)
DSP substations w/annual peak load > 10MW must have Watt/VAR metering
ERCOT will review DSP power factors, and require manual power factor measurement
ERCOT may demonstrate need for add. Static and/or dynamic Reactive Power capability

## Slide 17: PRR473, Reactive Standards
Units with gross generating unit rating > 20 MVA or connected to trans. bus > 20 MVA must provide Voltage Support Service
Must maintain a Voltage Profile est. by ERCOT
Resource may submit request for substitute URL req.
Must maintain a URL w/over-excited (lagging) pf capability of 0.95 or less, & under-excited (leading) pf capability of 0.95 or less
With ERCOT approval, multiple units connected to the same trans. bus may be treated as a single unit
OGGR 145, Reactive Standards

## Slide 18: PRR535, Reactive Testing
Reactive capability testing will be performed at least every 2 years
Max. lagging pf reactive operating limit during peak load season must be at or above 95% of the tested net dependable MW capability
Max. leading pf reactive operating limit during light load conditions w/unit at its typical output for that condition maintained for at least 15 minutes
OGRR 153 – Reactive Capability Testing

## Slide 19: PRR499, Eliminate Fuel Shortage Notice
Deleted anticipated fuel curtailments based on information provided by Market Participants as a reason for an OCN
ERCOT should issue an Emergency Notice if minimum reliability standards cannot be maintained during an Operating Period (for reasons including fuel shortage)
OGRR147, System Fuel Availability

## Slide 20: PRR502, Aggregation of Combined Cycle Unit providing RRS
Aggregated Units from Combined Cycle Resources may be included in bids for Responsive Reserve Service
To determine if the Aggregated Unit is capable of performing its RRS Obligation, all of the Resource units on-line in the Aggregated Unit will be measured on an aggregate capacity basis and calculated from the lower of the High Sustainable Limit in the Resource Plan, through telemetry or the seasonal tested Net Dependable Capability
OGRR 149, Types of Responsive Reserve

## Slide 21: PRR504, Resource Derating Clarification
Material deratings of units expected to last more than 48 hours must be entered into the Outage Scheduler
A material derating is a reduction of the unit’s capability by the greater of 10% or 10 MW due to the loss of auxiliary equipment or other known conditions
Capability is based on seasonal net capability test or registered capability

## Slide 22: PRR 527, Revision to Ancillary Service Performance Conditions
ERCOT may issue unit-specific OOME or Balancing Energy instructions that cause a QSE to be unable to supply its AS Obligation
ERCOT shall issue a verbal Dispatch Instruction to relieve the QSE from providing the specific AS for specific intervals, or retracts the unit-specific instructions so the QSE can come back into compliance
Intervals of QSE non-compliance due to the above are not included in performance monitoring

## Slide 23: PRR537, Increased Congestion Management Flexibility
ERCOT may use OOMC to manage Local Congestion if dispatched units have a shift factor <= 5% on the congested element, or unit-specific deployments do not exceed 1,000 MW
Evaluation of need to use unit-specific deployments during real-time is based on exclusion of forced outage of any double circuit trans. line as a credible single cont.; unless the line meets the criteria of High Outage Probability or High Outage Consequence

## Slide 24: OGRR151, Operator Emergency Training
System Operator Training Program applies to all Control Area Authority and Transmission Operators responsible for real-time operation or reliability monitoring of the bulk electric system and QSE Operators responsible for providing base power schedules or Ancillary Services
At least 40 hours of training per year in system emergencies including severe weather drills, black start and operations

## Slide 25: Additional Protocol Changes
PRR349, UBES-DBES Ramp Rates
PRR404, Energy Procured from ERCOT
PRR425, Section 8 Outage Coordination
PRR428, RMR Scheduling Clarification
PRR436, Enhance LaaR/BUL Ability to Participate in BES Up, NSRS, RPRS, RRS
PRR489, Ancillary Service Deployment Performance Conditions
PRR490, LaaRs Annual Testing Description
PRR491, Clarification to PRR413 RPRS Market

## Slide 26: Additional Protocol Changes and Operating Guide Change
PRR493, Induction Generator Exemption
PRR496, Block Bidding and Deployment of LaaRs Providing RRS & NSRS
PRR501, AS Revision to Down Balancing Requirement
PRR520, Resource Plan Performance Metrics
PRR521, Add Fleet/Zonal OOME Instruction to SCE Calculation
PRR542, Clarifying LaaR 3-Hour Limit
OGRR144, Tripping Generators for Low Frequency Events

## Slide 27: Questions?