## Slide 1
Current Industry Events Including Common Sense Security
Sam Jones
ERCOT Chief Operating Officer

## Slide 2
Introduction
Today, there is a significant amount of change occurring in the North American electric utility industry. This presentation is intended to acquaint the seminar attendees with an overview of these activities. These activities are largely a result of:
  Evolving competitive energy markets
  The aftermath of 9/11
  The Northeast blackout of August, 2003
  Regulatory activities

## Slide 3
Definitions
NAESB – North American Energy Standards Board – formed in 2003 as an outgrowth of the Gas Industry Standards Board to be the entity that develops business standards for the gas and electric utility industry
NERC – North American Electric Reliability Council – formed in 1968, following the first Northeast blackout, as the industry organization to oversee reliability in North America – is now the organization charged with developing the bulk electric industry reliability standards
RRO – Regional Reliability Organization – the Regional Reliability Councils within NERC – ERCOT is an RRO

## Slide 4
Definitions
JIC – Joint Interface Committee – the committee that decides what is a reliability issue, what is a business issue and what is an ISO market issue
IRC – the ISO/RTO Council – an organization of ISOs and RTOs – ERCOT is a member

## Slide 5
NERC – NAESB- IRC
The legacy NERC operating policies contained both reliability and business rules
These policies are now being divided into reliability, business and market issues to be addressed by the appropriate forum
The JIC is charged with assigning the issues to the proper, responsible entity
The ISOs and RTOs have a sector in NERC but not in NAESB, but participate actively on the JIC

## Slide 6
NAESB Activities
NAESB is beginning to develop business standards and file them with FERC
  Coordinate interchange
  Standard electric trading day – trying to merge with the standard gas trading day
  Transmission loading relief business practices
  OASIS 2
Very few of these are applicable to ERCOT due to our current market model, but we have to participate to see that we do not get incorrectly “included” in the standards
These standards are being filed with FERC and it would be hard for ERCOT to revise its protocols if they are captured in this process and filed as FERC approved standards

## Slide 7
NERC Is Also Developing Standards
About three years ago the industry believed that federal legislation was about to be passed making compliance with reliability rules mandatory and enforceable
  NERC realized that its operating policies in affect at the time were not sufficient to support mandatory enforcement
  An ANSI approved process was established to provide for development of industry accepted reliability standards
    Standard Authorizations Requests – SARs can be submitted by anyone
    Standard drafting teams then draft standards based on the approved SARs
    Many important standards are now under development
It is important for all of industry to participate - www. nerc.com – click on the standards development process and join the ballot body

## Slide 8
Example Of Mandatory Compliance
NERC DCS requires a Control Area to recover ACE following a credible contingency within 15 minutes
  August 18, 2004, ERCOT experienced a credible contingency generation loss
  The frequency/ICE was not recovered within 15 minutes
    Later, it was determined that the protocols do not address DCS
    An operational fix was put in place to address future DCS response
  The NERC compliance enforcement program assesses a penalty for failing to meet DCS requirements – increased operating reserves
  Despite ERCOT’s appeal that the event was not a result of insufficient operating reserves, the penalty was invoked by NERC – potentially a > $ 4 Million dollar penalty
  Fortunately, ERCOT was already in compliance with the requirement due to its long standing reserve requirement

## Slide 9
NERC Version 0 Standards
The NERC standard development process is slow
Following the investigation of the “03 Northeast blackout, FERC observed that the existing NERC Operating Policies were insufficient for reliability enforcement
  NERC conducted a one time, mass transition of the operating policies to the new standard format and labeled them as the Version 0, or baseline standards. The ANSI process was used
  The ballot body approved the draft standards
  The NERC Board approved the Version 0 Standards at their February meeting and they are in effect.
The ERCOT Compliance Group will use them for future compliance determination

## Slide 10
Functional Model
Evolving competitive markets and the formation of ISOs and RTOs are changing the traditional NERC Control Area model in North America
  NERC has developed a Functional Model to better describe and assign the responsibilities in the evolving world – it is based on the required functions
  It includes the Regional Reliability Organization, Reliability Coordinator, Balancing Authority, Interchange Authority, Transmission Operator, Planning Authority, Transmission Planner and may go down to the Distribution Provider at some point
It is a work in progress – still problems with the authorities

## Slide 11
NERC Entity Registration
NERC is now registering entities to comply with the Version 0 Standards and the Functional Model
  Currently, registration is required for the RRO, RC, BA, TO, PA and TP
  ERCOT registered as the RRO, RC, BA, TO and PA
  ERCOT registered the transmission providers as TPs
Certification and compliance audits of these entities will be required
  ERCOT registered as the TO to centralize certification and compliance audit requirements
  NERC is now debating who has to be certified and audited
RROs should be responsible for their footprint

## Slide 12
NERC Operator Training Study and Program
NERC is currently conducting a study of:
  Operator training practices in other industries
  Best practices in training
  Electric industry operator training needs
  FERC expectations of operator training programs – FERC has established its own internal reliability group
This is a huge undertaking and a training program standard will evolve from this activity that will affect market participants at, as yet, undetermined levels
Discussion is underway regarding which operators, industry wide, will fall under the future training requirements and which have to be certified

## Slide 13
ERCOT Issues
TNT
Generation reserve margin levels
Backup or dual fuel concerns
Blackout recommendations follow up
?

## Slide 14
Security – Common Sense and Evolving Standards
Common sense – follow the guidelines and rules
  Information release – verbal and printed
  Web site postings
  Facility access and design
  Etc, etc, etc – you know the drill
  NERC CIPC is publishing guidelines for many of these issues
Standards
  NERC currently has interim cyber security standard 1200
  NERC is developing new security standard 1300 – participate
ERCOT has procedures in place for reporting security incidents and for compliance with DHS alert levels

## Slide 15
Summary
These activities affect most, if not all, of the market participants in ERCOT
  Directly, through future NERC certification and compliance audit activities
  Indirectly, as stricter stakeholder operating requirements are adopted in ERCOT if needed to achieve compliance with future NERC standards
All relevant sectors are participating in the NERC and NAESB activities
EPSA APPA
NRECA EEI
NARUC Consumer Organizations
Participate!!

## Slide 16
Questions
?
?