| PRR Number | 567 | PRR Title | Block Bidding of Ancillary Services |
| --- | --- | --- | --- |
| Date |  | February 10, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@txu.com |  |
| Company |  | TXU Energy |  |
| Company Address |  | 1717 Main Street, Dallas TX 75201 |  |
| Phone Number |  | 214-875-9285 |  |
| Fax Number |  | 214-875-9067 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

TXU Energy strongly supports this PRR because it will create a more efficient Ancillary Services auction process.  However, TXU Energy believes that the 100 MW maximum bid block size limit is too small and fails to take into consideration actual generating unit ramp rates.  For example, with a 100 MW maximum bid block size, a generating resource could only bid a unit with a 10 MW per minute ramp rate (i.e., 10 MW per minute multiplied by the 10 minute ramp period = 100 MW).  Many units in ERCOT have ramp rates in excess of 10 MW per minute.  The maximum bid block size should reflect the ramp rate of the fastest ramp rate resource in ERCOT multiplied by the 10 minute ramp period used by ERCOT.  Otherwise, the auction for Ancillary Services would not capture all of the efficiency available from the market.

Specifically, TXU Energy would recommend that the 100 MW maximum bid block size be increased to 400 MW, which equates to a resource that has a maximum ramp rate of 40 MW per minute multiplied by the 10 minute ramp period used by ERCOT.  If there are resources in ERCOT that have a ramp rate greater than 40 MW per minute, then that ramp rate (multiplied by a factor of 10) should be used as the maximum bid block size for Ancillary Services bidding.

Revised Proposed Protocol Language

4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE.

All Ancillary Service bids shall not exceed one thousand ($1,000) dollars per MW for all Resources.

[PRR414: Upon implementation of required system changes, the following provisions will be added to 4.4.11, Ancillary Services Bid Submittal:] Any Ancillary Service bids in excess of one thousand ($1,000) dollars per MW will be rejected by ERCOT.

For Ancillary Service bid, a QSE must provide:

(1)	The market for which the bid is being supplied;

(2)	The period of time for which the bid is submitted;

(3)	A dollars per megawatt price for the capacity bid;

(4)	The quantity of capacity for which the bid price is effective;

(5)	Any ties to other bids in other ERCOT Day Ahead Ancillary Service markets that may require those bids to be removed from those markets if a bid is selected by ERCOT in an earlier clearing market; and

(6)	Expiration time of the bid.

[PRR496: Add item (7) to Section 4.4.11 upon system implementation:] (7) For a Load Acting as a Resource bids for Responsive Reserve Service and Non-Spinning Reserve Service shall have the option to choose the bid to be awarded only as a complete block at the bid quantity. Bids requested in this fashion shall be defined as Block Bids. Block size will be limited to one hundred fifty (150) MWs for both RRS and NSRS.

- For Generation Resources, bids for Regulation Up, Regulation Down, Responsive Reserves and Non-Spinning Reserves shall have the option to choose the bid to be awarded at a minimum capacity and/or a consecutive number of operational hours.  The minimum capacity specified in any single bid may not exceed four hundred (400) MW.

[PRR342: Revise Section 4.4.11, Ancillary Serviced Bid Submittal, as follows upon system implementation and Notice to the Market.] QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period. Submitted bids remain active for any period until: (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE. [The following text should be added at the end of 4.4.11 after the numbered list.] A Responsive Reserve capacity bid tied to a Regulation Up capacity bid may only exceed the Regulation Up capacity bid by X%, as approved by the ERCOT Board. A Non-Spinning Reserve capacity bid may only exceed Responsive Reserve capacity bid by X%, as approved by the ERCOT Board.