| PRR Number | 567 | PRR Title | Block Bidding of Ancillary Services |
| --- | --- | --- | --- |
| Action taken |  | Remanded to taskforce/working group. |  |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 4.4.11 Ancillary Services Bid Submittal |  |
| Proposed Effective Date |  | TBD |  |
| Revision Description |  | Revision would allow QSEs to link ancillary service bids across consecutive hours and establish minimum block values that must be selected to clear the bid. The current methodology requires QSEs with capacity planned off line the next day the ability to rationally bid that capacity in the ancillary services market. The current method requires the QSE to collect all start and running costs in the minimum interval potentially selected (1 hour), thus requiring the QSE to bid significantly high for each hour to prevent a loss. |  |
| Overall Market Benefit |  | Greater participation in Ancillary Services (AS) markets. |  |
| Overall Market Impact |  | Potentially requires redesign of bid submittal interface with ERCOT’s system. The proposal may also require more complex bidding strategy. |  |
| Consumer Impact |  | Potentially lower AS prices. |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  |  |  |
| Procedural History |  | - PRR 567 was posted 1/19/05. - PRS considered this PRR at its 2/17/05 meeting and tabled the proposal pending further review. - On 3/17/05, PRS reconsidered PRR 567 and decided to refer the matter to a taskforce for further review and development. |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | No vote was taken. |  |
| Summary of PRS discussion |  | Constellation, the sponsor of PRR 567, gave a presentation on the merits of the proposal. ERCOT Staff explained that ERCOT has the software license, but the software is not configured for simultaneous selection. PRS discussed that the best approach for this PRR was to allow ERCOT, Constellation and TXU to convene a taskforce to work through the issues. PRS identified several issues for them to address: allocation of uplift, how block bids would be structured and managed, the appropriate scope of the PRR, compliance with the PUCT order, and ERCOT implementation concerns. Constellation agreed to lead a task force to review the outstanding issues, revise the PRR and bring resolution to PRS. |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Not known | The proposed Ancillary Services (AS) market would require an even more complex market clearing engine than the one currently under development as part of EMMS Release 4. Although a portion of EMMS Release 4 efforts would carry over, there would be significant redesign, additional modifications and coding efforts required. Additionally, all interfaces with the AS engine would have to be tested and validated. | Not known |
| MARKET SEGMENT |  |  |  |
| Consumer | No impact | No impact | Potential for reduced AS costs with multi-hour optimization |
| LSE: General, Including NOIE | No impact | No impact | Potential for reduced AS costs with multi-hour optimization. |
| LSE: CR & REP | No impact | No impact | Potential for reduced AS costs with multi-hour optimization. |
| QSE | Would require more complex bidding strategy | Potentially requires redesign of bid submittal interface with ERCOT’s system. | Not known |
| Resource | Would require more complex bidding strategy | Potentially requires redesign of bid submittal interface with ERCOT’s system. | Not known |
| TDSP | No impact | No impact | No impact |

| Original Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@constellation.com |
| Company | Constellation Energy Commodities Group |
| Segment | Independent Power Producer |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| TXU Energy 021005 | Supports the concept proposed in this PRR. |
| ERCOT 021005 | Addresses the viability of this PRR. |
| TXU Energy 021105 | Corrects its previous comments regarding the desired outcome resulting from this PRR. |
| LCRA 02105 | Notes the ERCOT comments and states such a project is not necessary at this time and that the proposal may result in unstable AS pricing. |
| ERCOT 031005 | Addresses the viability of the proposal. |
| Constellation 031605 | Documentation of presentation on the merits of the proposal. |

Proposed Protocol Language Revision

The intent of this language is to allow the QSE to submit bids that specify a minimum award and minimum block of hours to run.  This allows the QSE who may need to start a unit to supply these services, the ability to spread the start costs across a larger number of MW.  It also prevents the potential of a unit being struck in odd hours for the service.

For instance, a QSE needs $10,000 to justify starting a unit.  That QSE in the current market must be able to recover that full amount in the minimum strike for the minimum period allowed by the market.  Since the market can strike a 1 MW minimum for 1 hour, the minimum bid the QSE can submit to guarantee break-even is $10,000/MW.  (This ignores any additional losses the QSE may suffer by supplying excess energy at minimum at a potentially damaging MCPE).  Thus the entity is precluded from bidding into the market without risk of loss.

If, however, that QSE is allowed to submit a bid that requires a 100 MW minimum strike for a minimum of 5 hours, the QSE is now able to bid $10,000/100/5 or $20/MW.  This PRR should therefore allow additional capacity to participate in the A/S markets especially in the off-peak periods when more capacity is scheduled to be off-line.  Greater, rational participation should yield more competitive ancillary service prices.

The 100 MW maximum block limit is to mitigate any market power an entity may have in a specific ancillary service market.  The size of this limit can be discussed in the PRS meeting.

Proposed Protocol Language Revision

4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE.

All Ancillary Service bids shall not exceed one thousand ($1,000) dollars per MW for all Resources.

[PRR414: Upon implementation of required system changes, the following provisions will be added to 4.4.11, Ancillary Services Bid Submittal:] Any Ancillary Service bids in excess of one thousand ($1,000) dollars per MW will be rejected by ERCOT.

For Ancillary Service bid, a QSE must provide:

(1)	The market for which the bid is being supplied;

(2)	The period of time for which the bid is submitted;

(3)	A dollars per megawatt price for the capacity bid;

(4)	The quantity of capacity for which the bid price is effective;

(5)	Any ties to other bids in other ERCOT Day Ahead Ancillary Service markets that may require those bids to be removed from those markets if a bid is selected by ERCOT in an earlier clearing market; and

(6)	Expiration time of the bid.

[PRR496: Add item (7) to Section 4.4.11 upon system implementation:] (7) For a Load Acting as a Resource bids for Responsive Reserve Service and Non-Spinning Reserve Service shall have the option to choose the bid to be awarded only as a complete block at the bid quantity. Bids requested in this fashion shall be defined as Block Bids. Block size will be limited to one hundred fifty (150) MWs for both RRS and NSRS.

- For Generation Resources, bids for Regulation Up, Regulation Down, Responsive Reserves and Non-Spinning Reserves shall have the option to choose the bid to be awarded at a minimum capacity and/or a consecutive number of operational hours.  The minimum capacity specified in any single bid may not exceed one hundred (100) MW.

[PRR342: Revise Section 4.4.11, Ancillary Serviced Bid Submittal, as follows upon system implementation and Notice to the Market.] QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period. Submitted bids remain active for any period until: (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE. [The following text should be added at the end of 4.4.11 after the numbered list.] A Responsive Reserve capacity bid tied to a Regulation Up capacity bid may only exceed the Regulation Up capacity bid by X%, as approved by the ERCOT Board. A Non-Spinning Reserve capacity bid may only exceed Responsive Reserve capacity bid by X%, as approved by the ERCOT Board.