| Congestion Management Working Group |  |  |
| --- | --- | --- |
| Event Description: Congestion Management Working Group joint meeting with Transmission Owners | Date: 5/13/05 | Completed by: A. Deller |
| Attendees: See list below |  |  |
| Summary of Event: |  |  |
| Agenda: - Introductions - Task for the CMWG is to brainstorm ideas for improvements for outage coordination and TCRs. - Presentation by Beth Garza on Transmission Outges - ERCOT not including Generator outages in study case for TCRs due to confidentiality of information - Three items that ERCOT believes affect the quantity of TCRS, in order, are; - Generation Dispatch - Transmission topology - Load Distribution - Dynamic ratings are not used in the seasonal planning case which are used in determining the TCR quantities - Outages are not included in the annual auction - Suggestion that ERCOT might be able to order outages based on each outages’ impact on each CSC - Ralph Posten detailed the outage request process - The difference between a Forced Extension vs.a Planned Extension is that the Planned Extension has a 3 day advance notice. - A cost evaluation is conducted on Transmission outages that are deemed as high impact and are entered in advance - Jeff Healy described the daily CSC limit determination process - Jerry Ward reviewed the outage and TCR study process. - Seasonal Planning Case - TCR Study (currently adjusted from Seasonal Planning Case by adding line outages of 5 days or more) The following items were determined to have an impact on the study; - Line Outages & Construction - Load distribution - Generation outages (and treatment of Mothballed units) - Ratings (Dynamic and seasonal) - Real-Time vs. MUST process comparison - IDEF submittals vs. Service Request submittals - 40% annual TCR Limit - Accuracy of 45 day outage list - Notice to MPs to update outage data prior to TCR study - 3 Days - Outage Request - Is it possible to calculate CSC Limits 3 days ahead - 1 Day - CSC Limit - Real Time – do the best you can - John Moseley demonstrated the location of monthly study files on the ERCOT website and explained the file contents. It was requested that ERCOT post both the complete list of outages queried by planning as well as the outage Gantt chart used to determine the highest impact combination of outages. - There was a question and discussion about how and when system topology changes are entered into the network model and available to MPs. - There appears to be a delay from the time changes are submitted to the outage scheduler and when those changes are available on the public website. ERCOT will investigate. |  |  |
| Action Items / Next Steps: |  |  |
| - ERCOT will report on TCR revenue adequacy - ERCOT to look for a better way to identify significant line outages - ERCOT will review and determine possible improvements to the following items as they relate to the TCR study; - Line Outages & Construction - Load distribution - Generation outages (and treatment of Mothballed units) - Ratings (Dynamic and seasonal) - Real-Time vs. MUST process comparison - IDEF submittals vs. Service Request submittals - 40% annual TCR Limit - Accuracy of 45 day outage list - Notice to MPs to update outage data prior to TCR study - ERCOT to post Gantt chart, if possible - ERCOT will investigate the possibility of a delay from the time changes are submitted to the outage scheduler and when those changes are available on the public website. |  |  |
| Next Meeting: |  |  |
| Date: June 24, 2005. Location: ERCOT Austin, 168 |  |  |

Attendees:

Jerry Ward  		EXTYR			214-316-7036

Triey Vo		CPS Energy		210-353-2127

Dennis Kunkel		AEP			361-289-4003

Doug Skinner		Entergy			713-304-0450

Ellis Rankin		TXU Electric Delivery	214-743-6825

James Armke		Austin Energy		512-322-6705

Tony Kroskey		Brazos Electric		254-750-6357

Dwight Beckman	Brazos Electric		254-750-6367

Tip Tipton		Brazos Electric		254-750-6267

Kevin Brown		Austin Energy		512-322-6665

Darrell Clifton		CPS Energy		210-353-4386

David Gibbens		CPS Energy		210-353-2915

William Woosley	CPS Energy		210-353-3403

Gerald Ripps		CPS Energy		210-353-2470

Glenn Pressler		CPS Energy		210-353-2212

Clayton Greer		Constellation		512-921-9013

Ralph Posten		ERCOT			512-248-3129

Beth Garza		ERCOT			512-248-6361

Michael Bailey		CenterPoint  Energy	713-207-2278

Jeff Healy		ERCOT			512-248-3079

Phung Nguyen		ERCOT			512-248-3039

Brian  Gedrich		Reliant Energy		713-497-8084

Resmi Sorendran	ERCOT			512-248-3033

John Moseley		ERCOT			512-248-6362

Manny Munoz		CenterPoint Energy	713-207-5398

Howard Daniels		CenterPoint Energy	713-207-2027

Bill Hatfield		LCRA			512-482-6258

David  L. Teeter		LCRA			512-356-6082

Dennis A Caufield	CenterPoint Energy	713-207-2462

Bobby D Reeves	CenterPoint Energy	713-207-2196

John Kobensky		CenterPoint Energy	713-945-6416

Art Deller		ERCOT			512-248-6505

Reid Lettie		TXU Energy		214-875-9349