ROS Summary Report to TAC for April 7, 2005

# OGRR Recommended for TAC Approval:

#### OGRR 156 – Reactive Considerations due to PRR 409  - Verify Operating Guide Language Supports PRR 409 Voltage Support Service – Adds appropriate language to ensure the timely response of Generation Resources to ERCOT instructions for Voltage Support Service.

#### OGRR 162 – Revisions to Disturbance Monitoring - Incorporates NERC Board recommendation following Northeast blackout to facilitate analysis of major events; location clarification and reporting requirements requested by SPWG members. Makes GPS time synchronization a requirement, and clarifies location requirements to exclude 69kV lines, but include generator owned transmission above 100kV.

## OGRR Recommended for TAC Rejection:

OGRR 161 – Responsive Reserve MW Limit - Changes the limit of RRS on an individual Generation Resource from 20% of Net Generation Capability to 20% of Net Generation Capability or 50MW, whichever is greater. ROS rejected this OGRR based on reliability concerns expressed by ERCOT comments. Submitter subsequently withdrew this OGRR. Since this OGRR was based on a Dr. Patton recommendation, a reiteration of OGRR 161 has been posted as OGRR 164 to allow TAC to discuss the issue in the next few months.

## Status of TAC Assignments to ROS

Reliable Fuel Operations ERCOT Procedural Changes – Language has been developed to provide lead-time for dual fuel facilities to prepare for anticipated extreme cold weather.   Procedures allow for ERCOT Supervision to assess weather trends and forecasting and make timely notice to Market Participants by issuing an Advisory in the event of an anticipated severe cold weather event that may require advance preparation for dual fuel capabilities. This would complete the TAC assignment to ROS to review current emergency practices to determine how best to give the market advance notice of the need for dual fuel capable units.

State Estimator Observability and Redundancy Requirements Document – posted as OGRR 163. This OGRR includes sections 5 and 6 from the “State Estimator Observability and Redundancy Requirements” document, placed in the appropriate Operating Guide section as determined by OGRTF, outlining ERCOT’s requirements and exception process.  The sections have been added as new Operating Guide sections 8.1.6.2.1 and 8.1.6.2.2 as a starting point for further comments.