## Slide 1: Wholesale Market Subcommittee
Report to TAC
May 5, 2005

## Slide 2: WMS Meeting April 22, 2005 Working Group Efforts
Patton recommendations
Demand Side Product for the GATF
Double Circuit contingency operation
Ancillary Service Market Re-Opens
Bid Stack Depletion Study
Raising the bar on Resource Plan Metrics
Notes: In previous meetings we have broken the 14 Patton recommendations into groups. These were then given to ERCOT, and the CM and QSE working groups of WMS to come up with PRRs to vet the ideas through the full subcommittee process. We heard reports on the progress of these efforts at our last meeting and gave more direction to the QSEWG.
There is heightened awareness of the value of a demand side resource for GATF purposes and that is being worked on and progress is expected out of their May meeting.
The CMWG has worked with ROS regarding Double Ckt Planning and is passing on their recommendation to ROS for a vote in May
Several participant issues associated with the reopened Ancillary Service Market in January. The QSEWG is with ERCOT to extend the time between open and close and proposing a PRR that lets bids be refreshed.
In depth look at bid stack depletion is underway. Prevailing understanding may be wrong.
A PRR is being drafted that will raise the bar on RP metrics – support from QPMWG, ERCOT Compliance, and the PUC for the change

## Slide 3: ERCOT Zonal Congestion
ERCOT staff seeking input from WMS
  Shift Factor Average
  Shadow Price Cap
Notes: ERCOT has looked at at least two methods to control inefficient deployments around CSCs. There has been a focus on the Shift Factor Average that has now shifted to a Shadow Price Cap. A couple cap levels have been looked at and their effects reported to the WMS. This issue is tied to Price Administration, which is not well documented in protocols and procedure for change is not totally clear. Expectation now is that ERCOT staff will make some changes in their current practice and that WMS will write a PRR that documents the Price Administration practices of ERCOT. WMS will probably endorse the ERCOT activity but does not have an approval role.

## Slide 4: PRR 586 – Discussion
SCE Performance and Regulation Cost Re-allocation
  Impact assessment from ERCOT
  Concern over who is impacted
  Perception of inactivity on SCE control
Notes: Lively discussion of this PRR based in part on a perceived inactivity on SCE control.

## Slide 5: To Be Done in May
Congestion Management WG
  Outage Scheduling and TCRs
  CSC and Zone selection for 2006
QSE WG
  Bid Stack Depletion
  Raising the Bar on Resource Plan Metrics
Demand Side WG
  Capacity Adequacy Product
Notes: The CMWG will be taking up transmission outage scheduling and how it impacts TCR values and will start on the CSC and zone selection process next month (elevated ERCOT effort per PRR 589.