## Slide 1: January 2005 CPS1 133.93

## Slide 2: February 2005 CPS1 123.19

## Slide 3: March 2005 CPS1 135.99

## Slide 4: April 2005 CPS1 127.26

## Slide 5: April 2005 CPS1 by Day

## Slide 6: EROT CPS1 12 Month Rolling Average

## Slide 7: Percent of Time on TEC

## Slide 8: PRR 525 SCPS1

## Slide 9: PRR 525 SCPS2

## Slide 10: PDCWG Meeting April 28 & 29
Speed Droop Testing/forms and graph of expected performance for DWG and OG
Reviewed 1str qtr Disturbances (7 events).
  QSE performance reviewed
    Governor Sustained response
    Governor Adequate response
    Governor Dead bands
    QSE Bias Setting
    Data latency
    AGC Performance

## Slide 11: Droop Characteristic

## Slide 12: PDCWG Meeting, cont.
Post disturbance Frequency Control
  Secondary frequency oscillation following system disturbances.
    Identified Responsive Reserve recall ramp rate contributing to control problem.
    Requested recall ramp rate to be reduced by one half.
      ERCOT unable to adjust without impacting deployment ramp rate
      Requested a SIR be submitted to allow adjustment of the recall ramp rate without impacting the deployment.

## Slide 13: NERC
Eastern Interconnect concerned about recent frequency control.
Western Interconnect developing a white paper on Frequency Response
PJM investigating Frequency Response product.

## Slide 14: Interconnection Frequency Comparison
ERCOT Frequency – 2 second data May 18, 2004
Southern Control Area: 6 second data April 22, 2005 at 07:20:24 AM CDT