## Slide 1: Down Regulation in Depleted Intervals
9 May, 2005
QSE Project Managers WG
Brandon Whittle
ERCOT Market Operations Support

## Slide 2: Why is Net Regulation Deployed not equal to Zero?
Unexpected change in QSE SCE
Dynamic Schedule Deviation
Load Forecast Error
SPD modified Energy Schedules
Manual Dispatch (OOME, VDI, etc)
DC Tie Schedule Deviation
Private Network Load (Gen)

## Slide 3: Regulation Usage in Depleted Intervals

## Slide 4: Load Forecast Error
SPD deploys Balancing Energy based on more than Load Forecast
If No Load Forecast Error, 271 of the 396 intervals would have net down regulation deployed (Difference of 4 intervals)

## Slide 5: Summary
Many Reasons for net Down Regulation during depleted intervals, mostly based on Deviations from Expectations
Load Forecast Error does not seem to be the primary reason
ERCOT Operations Support is devoting resources to study Load Forecast