## Slide 1: Depletion of the Balancing Bid Stack Summary
9 May, 2005
QSE Project Managers WG
Brandon Whittle
ERCOT Market Operations Support

## Slide 2: Background
January & February WMS Meeting
  ERCOT voiced concern over lack of Balancing Available
  QSE Project Managers asked to review the issue
March QSE Meeting
  ERCOT Presented slides showing that the amount of Balancing Energy Up has decreased over time
  Group was asked to determine possible reasons for decrease
April QSE Meeting
  ERCOT Presented additional information requested by the group
May QSE Meeting
  Present a summary of the findings of the study

## Slide 3: Effect of OOMC
UBES bid and Cleared are Monthly Averages for Hours 16-18

## Slide 4: UBES Bid Stack Over Time
UBES bid and Cleared are Monthly Averages for Hours 16-18

## Slide 5: Scheduled Online Capacity

## Slide 6: Summary of Results
Why has UBES Bid Stack Decreased?
  Decline in OOMC
  Increase in Scheduled Capacity
Why do we see more UBES depletions?
  UBES Bid Stack has Decreased
  Ramp Rate Recall Constraint (Release 3)
  OOME as Instructed Deviation
  More Intervals may have been Depleted before Release 3 due to local congestion in Step 2, but we cannot readily determine

## Slide 7: Actions to Ensure System Reliability
ERCOT can procure additional capacity through RPRS Market
Non-Spin can be procured when spinning reserve less than 4600 MW
Manual Unit Dispatch Tools
  OOMC
  OOME
  Fleet OOME