| PRR Number | 587 | PRR Title | Intrayear Modification of CRE |
| --- | --- | --- | --- |
| Impact Analysis Date |  | June 8, 2005 |  |
| Credit Impacts |  | YES _______ NO __X___ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project is necessary. See Comments section below. |  |
| ERCOT Staffing Impacts (across all areas) |  | None. See Comments section below. |  |
| ERCOT Computer System Impacts |  | None |  |
| ERCOT Business Function Impacts |  | None |  |
| Grid Operations & Practices Impacts |  | ERCOT Operations will have added flexibility to temporarily modify the Closely Related Elements (CRE) list due to topology changes. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

This PRR addresses Potomac Recommendation No. 4 by granting ERCOT the authority to modify CRE definitions as deemed necessary by ERCOT Operations in the event the topology changes during the year. If modification of the CRE list is deemed necessary by ERCOT Operations, current ERCOT staff will perform the same business functions; specifically, managing zonal congestion via adjustments to OC1 limits. This change will afford ERCOT more flexibility in monitoring the transmission elements to determine the OC1 limits. In conjunction, a Market Bulletin describing the scenario will be sent to Market Participants and made publicly available on the ERCOT website.