# PROFILING WORKING GROUP

# Draft Meeting Minutes May 25, 2005

# Meeting Attendees

# In-Person					Via Phone

# Ernie Podraza (facilitator), Reliant		Allen Jones, CenterPoint

# Ed Echols, TXU Energy			Lloyd Young, AEP

# Bill Boswell, ERCOT				Theresa Debose, CenterPoint

# David Gonzales, ERCOT			Eloise Flores, NEC

# Sonja Mingo, ERCOT				Mansukh Vaghela, CenterPoint

# Zachary Collard, CenterPoint

# Theresa Werkheiser, ERCOT

# Ron Hernandez, ERCOT

# Diana Ott, ERCOT

# Carl Raish, ERCOT

# Brad Boles, CIRRO Energy

# John Taylor, Entergy Solutions

# Sam Davis, Direct Energy

# Terry Bates, TXU Electric Delivery

# Malcolm Smith, Energy Data Sources

# Vance Hall, Ohmbre Solutions

# Eddie Johnson, Brazos Electric

- Antitrust Admonition (Chair).

- Approval of April 27 meeting minutes (Chair).

- Brief report on prior RMS meeting and today’s agenda review (Chair).

- Priorities of 2006 ERCOT Projects.

- Discussion on value of lagged dynamic profiles (ERCOT Staff).

- Discussion of “Profile ID Issues -- New ESI IDs -- 20040927 draft.doc” (Adrian).

- Review and prioritization of long term Annual Validation Improvements (Ernie).

- Profile ID assignment responsibility changes process flow. (ERCOT Staff/CNP).

- Market Rules recommendations for the Load Profiling Guide (ERCOT Staff).

- Follow up of Annual Validation 2005 testing (ERCOT Staff/TDSPs).

- Follow up of “Impact of Profile Code Changes on Settlement Runs” (Ernie)

- Follow up of IDR Weather Sensitive Analysis requirements (ERCOT staff).

- Follow up of possibility of a Metered Lighting Profile. (ERCOT Staff/AEP)

- Discuss of PRR536, 700 Kw lower IDR Mandatory Threshold, implementation.

- Brief Update reports;

  - Load Research Project (ERCOT working on internal system control reports).

  - ERCOT Residential Survey Form ERCOT (TAC 5/5 approved).

  - PRR565 Calculation of Losses for Settlement (BOD 5/17)

  - PRR572 Weather sensitivity classification (TAC 5/5)

  - Profile Change Request for Oil and Gas Properties (sample installed).

  - Approved and Pending Retail Market Guide Procedures by RMS;

    - PRR536 lower IDR Mandatory Installation Threshold.

  - Approved and pending 2005 software implementation in ERCOT systems;

    - PRR488 Weather Responsiveness Determination,

    - PRR514 Twelve Month Window for Non-IDR Scaling,

    - PRR544 12-Month Window for Scaling NIDR to IDR.

- PWG Open Issues Master List Discussion.

- Any new issues from ERCOT or Market Participants.

- Review assignments of action items before adjourning.

- Confirm future meeting schedule.

Next PWG meetings are on the 4th Wednesday Feb-Oct 2005 (6/25).

Next RMS meetings are 6/15 and 7/13.

Next COPS meeting is 5/24.

Next UFE Task Force meeting is TBD.

See these links for other meeting times.

  - http://www.ercot.com/calendar/Cal.cfm

  - http://www.puc.state.tx.us/calendar/calendar.cfm

  - http://www.puc.state.tx.us/openmeet/index.cfm

# Meeting Minutes

- Antitrust Admonition (Chair).

  - Ernie read Antitrust Admonition and indicated that Brittany Albracht had copies of the Antitrust Admonition at her desk for anyone that needed a copy.

- Approval of April 27 meeting minutes (Chair).

  - PWG reviewed Draft Minutes.  April 27 minutes were approved with request to highlight “Action Items”.

- Brief report on prior RMS meeting and today’s agenda review (Chair).

Significant items from RMS:

  - Tommy Weathersbee stated at RMS that TAC had approved the Residential Survey for Annual Validation.

  - Kathy Scott presented at RMS an Issue Request Form for tracking of RMS assignments to Working Groups and Task Forces.

  - IDR Removal Task Force – Kathy Scott and Angela Williams are co-chairs.  The task force had its first meeting on May 9th.  The task force discussed the need to develop a process for the IDR mandatory Installation Threshold to be included in the Retail Market Guide.

- Priorities of 2006 ERCOT Projects.

  - Began discussion on “Project per PWG 052505” spreadsheet previously sent out on 5/23/05 by Ernie.

  - Ernie added Column P (PWG Comments) and Q (PWG Priority) to the “Project per PWG 052505”.

  - There was discussion on PRR106 and PRR385.  Per discussion, PRR106 will be removed since PRR 385 supersedes it.  Ernie moved to item PRR 385 and asked if there was discussion.  Ed said this was consistent with what was discussed a year ago.

  - There was discussion on PRR478 Use of lagged Dynamic samples for New Load Profiles.  Per discussion, PRR 478 is approved and in Protocols but is unfunded.  A question was raised as to whether we keep PRR 478 unfunded until there is a new profile.  LRS process will have to provide some hard facts in order to determine if we need funding for PRR 478.  Per discussion, if we don’t try to push this for 2006 it will have to be pushed out to 2007 and our data will become stagnate.  Ernie stated that we need to put in here that this line item is unfunded until an approved project for Lagged Dynamic comes forth from the PWG.  A suggestion was made to enter in column P “keep unfunded until market interest.  Per additional discussion, a suggestion was made to submit a document stating we have agreement on some items but do not have consensus on other items.

  - Began discussion on item 241:  Ernie got the impression that this issue was possibly going to be moved to a 3.3 on the priority list.  There was discussion on giving item 241 a ranking of “No Comment” or “Remove”.  Per discussion, this item will be discussed further at RMS meeting.

  - Began discussion on SCR737:  Estimated Meter Read – There was discussion on the PWG opinion on this issue and whether we are currently working in accordance to the Protocols.  Per discussion, PWG is okay with PWG Comments of “Estimated meter reads can add to UFE” and a PWG Priority of 2.1.

  - PRR 565 – Per discussion, PWG Comments will be sent to RMS “BOD approved 5/17.  Projects are available to perform work on smaller efforts.  Requirements will be reviewed to determine the amount of work.

- Discussion on value of lagged dynamic profiles (ERCOT Staff).

  - PWG started review of the Lagged Dynamic VS Adjusted Static Models document that had been sent to the PWG.  Carl reviewed the document with the PWG.  There was discussion on the advantages and disadvantages of the two models.

  - Ernie indicated that the two profiling methods would result in different answers.

- Profile ID assignment responsibility changes process flow.  (ERCOT Staff/CNP)

  - Zach reviewed PowerPoint presentation.  Per discussion on Slide titled “Options to be considered”, Option 1 would be clear and Option 2 would be clear but would require a system change.  Zach stated that they are not trying to make PWG choose an option but wanted to discuss this issue at PWG.  Ernie asked which option ERCOT would favor.  Carl indicated that he would favor Option 2.  It would be easier to design your samples for calibrating your profiles per Ernie.  Neal asked if in the future the Usage would need to be requested from ERCOT or the TDSP.  Neal said that he is not in favor of a PRR at this point.  Brad stated that there is somewhat of a responsibility change from TDSP to ERCOT.  Carl said we are limited right now by what the TDSPs are providing VS the amount of data ERCOT can provide.  Profile Assignment accuracy is a critical point in building profile models.  A request was made to have a sub-group put together to review the pros and cons for the responsibility shift.  A cost benefit analysis needs to be done to help in making a decision.  Questions were asked as to where the sub-group should come from as to whether it should come from PWG or RMS.  Ernie stated that the leadership for the subgroup should come from the PWG.  A comment was made that ERCOT needs to devote more time to the Load Research project and calibrate the existing models.  This may be a cost but it may offset some of the costs in the future.  We need to have some sort of “rough order of magnitude” to see how this would impact our companies.  We could shoot for a special meeting for PWG to discuss this issue either before or after our regular meeting.  We could announce this meeting at RMS.  One of the goals of this workshop should be to see if we could come to a consensus.  There was discussion on developing survey questions that would be answered by our individual IT departments to get a feel for their cost.  This would allow us to spread the word and get back answers in a consistent format.

  - Action Item: PWG will announce at RMS that we will have a meeting on this subject on the June 23rd.  Educate them on the issue and how we hope to get there.

  - Action Item - Additional Action Item is for Zach to put together conference calls to discuss these issues.  Zach and Ernie can co-chair the conference call.

  - Agenda Items – Education Now – Hopeful Processes, Can Consensus be Reachable, Survey Question, ERCOT Architecture Changes and Costs

- Review and prioritization of long term Annual Validation Improvements (Ernie).

- Profile ID assignment responsibility changes process flow. (ERCOT Staff/CNP).

- Market Rules recommendations for the Load Profiling Guide (ERCOT Staff).

- Follow up of Annual Validation 2005 testing (ERCOT Staff/TDSPs).  We still have one TDSP working on this.

- Follow up of “Impact of Profile Code Changes on Settlement Runs” (Ernie) Falls from our list

- Follow up of IDR Weather Sensitive Analysis requirements (ERCOT staff).

- Follow up of possibility of a Metered Lighting Profile. (ERCOT Staff/AEP)

- Discuss of PRR536, 700 Kw lower IDR Mandatory Threshold, and implementation.

- Brief Update reports;

- Load Research Project (ERCOT working on internal system control reports).

- ERCOT Residential Survey Form ERCOT (TAC 5/5 approved).

- PRR565 Calculation of Losses for Settlement (BOD 5/17)

- PRR572 Weather sensitivity classification (TAC 5/5)

- Profile Change Request for Oil and Gas Properties (sample installed).

- Approved and Pending Retail Market Guide Procedures by RMS;

- PRR536 lower IDR Mandatory Installation Threshold.

- Approved and pending 2005 software implementation in ERCOT systems;

  - PRR488 Weather Responsiveness Determination,

  - PRR514 Twelve Month Window for Non-IDR Scaling,

  - PRR544 12-Month Window for Scaling NIDR to IDR.

- PWG Open Issues Master List Discussion.

- Any new issues from ERCOT or Market Participants.

- Review assignments of action items before adjourning.

- Confirm future meeting schedule.

Next PWG meetings are on the 4th Wednesday Feb-Oct 2005 (6/25).

Next RMS meetings are 6/15 and 7/13.

Next COPS meeting is 5/24.

Next UFE Task Force meeting is TBD.

See these links for other meeting times.

- http://www.ercot.com/calendar/Cal.cfm

- http://www.puc.state.tx.us/calendar/calendar.cfm

- http://www.puc.state.tx.us/openmeet/index.cfm

# PWG 2005 Goals

- Evaluate Profile ID assignment responsibilities – June

- Annual Validation 2005 – make changes and complete – December

- AV 2005 – review of 2005 changes per long term – Business (June), cut point (Dec.)

- Evaluate Lagged Dynamics – Dec.

- Bring LPGuides current – Dec.

- Processing new requests – Oil & Gas, Convenience Store – Dec.

- Collaboration with UFE TF – Dec.

- Writing PRR’s as required – Dec.

- LRS sample selection round two – Dec.

- IDR Analysis – 2 issues left – Dec.

- Agreement between decision tree language and LPGuides – Dec.

Parked items for future meeting:

- Load Profiling Guides Revisions.

- Should PWG report to RMS or COPS?

- Discussion on value of lagged dynamic profiles.

  - Presentation by ERCOT Staff.

  - Review conclusions in New Frontiers for Load Research paper found at http://www.aeic.org/load_research/papers.html

  - Review RRI analysis of CNP 98-99 Sample data to ERCOT Profiles.

  - Initial Requirements to justify methodology change;

    - ERCOT analysis requirements for Load Research Study to compare current Static Models to installed sample data with affects on UFE.

    - Define data requirements market participants would expect from ERCOT.

    - Identify impact to all QSE’s in scheduling, forecasting and settlement systems.

    - Expected Cost for Systems at ERCOT (initial brief review).

    - ERCOT Cost/Benefit Analysis (initial brief review).

# Profiling Working Group 2004 Open Issues Master List

| ITEM | Status/assigned | Description |
| --- | --- | --- |
| 1 | John | Expand on the estimation process for gaps in over and under reads, review 867’s issues (are meter type and profile type consistent). |
| 2 | Closed not PWG issue. | Issue when no CR of Record and meter stays energized. |
| 3 | Ernie | Review past meeting minutes for old business issues that are overlooked. |
| 4 | Pending | From 07/09/2002 RMS minutes “The RMS discussed the difficulty in distinguishing initial validation transactions from normal business transactions. Tracking the status is therefore difficult. The LPWG was asked to develop a proposed resolution and send to Texas SET for review. “ Texas SET shall implement in v2.1, probably in spring 2005. Texas Set Change Control 2003-578 Code to indicate the annual Load Profile changes. To be completed in Dec. 2005 per the Chair of TX_Set. |
| 5 | Brad | At the RMS meeting July 8, 2002, Bender asked that the resolution of the interpretation of assignment of profile ID on customer level versus premise level should be included in the RMS Operating Guides. Review the RMS Guides to see this issue is included. |
| 6 | Betty/Carl | Betty Day will draft a section to add to the LPG addressing how profiles will be maintained and the types of changes that may be made by the PWG (action item from July 24, 2002 PWG meeting). |
| 7 | Closed not PWG issue | Photovoltaic generation, meter runs backwards so unaccountable generation is added to the grid. |
| 8 | ERCOT | Protocols 18.6.5, Future Requirement for IDRs Impact Analysis |
| 9 | ERCOT | Protocols 18.7.2.3, Post Market Evaluation (nothing pending). |
| 10 | ERCOT | PWG minutes on the ERCOT Web prior to 2003. Send to Diana. |
| 11 | Closed not PWG issue | PR-30022 UFE Analysis Metering / Protocols 11.5. |
| 12 | Terry | TDSPs are to find out how they plan on tracking LRS expenses internally (reference PWG 2/26/04 minutes). |
| 13 | Lloyd | Lloyd and AEP will review Protocols Section 9.5. (May 25, 2004 minutes). |
| 14 | Agenda | Possibility of a Metered Lighting Profile. |
| 15 | ERCOT | Possibility of a very high load factor profile. |
| 16 | ERCOT | Review if the count of ESIIDs settled on default profile is continuing to reduce in number post SCR 725 new reports. |

| Section | Status/assigned | Load Profiling Guides Revisions Description |
| --- | --- | --- |
| 8 | John, Carl, ERCOT | Item 1: Annual Profile Model Evaluation. a. Review gray boxes in LPG in sections; 8.7, 8.7.1 |
| 9 & 11 | Ernie, Lloyd, Terry, ERCOT | Item 2: LPG Section 11.3 Validation of Changes in Load Profile ID Assignments (gray box). Item 11: LPG Section 11.2 Review. Is additional NOIE language needed? |
| 15 & 16 | John, Shawnee, Terry, Bruce, ERCOT | Item 3: Update LPG per PUCT ruling in Project No. 25516 in sections but not limited to; 15.2.2, 15.2.4, 16.5, 16.5.1, 16.5.2 Item 4: Update LPG section 15 per the ERCOT Load Research Project, change LPG section 16 on DLC does not repeat language in updated LPG section 15 and develop new LPG section 19 for lagged dynamic profiles in coordination with language in updated Section 15 and 16. |
| 16 | Ed | Item 5: New Time of Use Schedule Approval Process Document. Need to reference in Retail Market Guides or LPG? |
| 16 | Ed | Item 6: LPG Section 16.1.2 Establishing New TOU Schedules (gray box) after the new TOU Schedule Procedure Document is complete. |
| ALL | Terry | Item 7: Periodically Review all gray boxes in the LPG. |
| 17 | Closed | Item 8: LPG Section 17.2 IDR Requirement says, “The TDSP has until the second regularly scheduled meter read date after receipt of the CR’s request to install the IDR.” This statement maybe in conflict with PUCT current market rules. Shawnee reported this language is not in conflict. |
| new | ERCOT | Item 9: Incorporate Load Research Project Procedures into LPG. |
| 17 | LPGRR 2005-01 | Item 10: Change LPG to reference section 18.6.1 instead of 1000 kW. |
| new | ERCOT | Item 11: Incorporating Decision Tree into the LPG where applicable. |