## Slide 1
Outage Schedule Timing

## Slide 2
Switching of Outages that deviate more than 30 minutes from the approved planned start or planned end time require ERCOT notification.
Actual Start and Actual End time entries are restricted to current day by software.
Outage Switching Requirements & Rules

## Slide 3
Start time is defined as when the first device is operated that breaks the power flow and/or removes load.
Actual end time is defined as when power flow and/or load is re-established.
Actual start/end times on equipment that does not interrupt load such as a breaker in a ring bus or a line that is served by multiple breakers, the actual start/end time is defined as when the device is opened or closed.
Definitions for actual start/end times
Notes: Discussed at the May and June 2003 OWG meetings. Mailed to Chief System Operators. In June. ERCOT announced

## Slide 4: Accuracy of Actual Entries

## Slide 7
Planned Outage 138824

## Slide 8
Planned Outage 138824

## Slide 9
Planned Extension 145275

## Slide 10
Planned Extension 145275

## Slide 11
Forced Extension 148916

## Slide 12
Forced Extension 148916