# SPWG Report to ROS

#### June 16th, 2005

SPWG has not met since the last ROS meeting in April. The last meeting was held February 24th and 25th, 2005 in Fort Worth, TX.

A presentation was made at the May ROS meeting about the false-trip of a 345kV line between Bitter Creek (LCRA) and Mulberry Creek (TXU) on March 21st, 2005.

Current year short circuit case has been posted by ERCOT.

Member utilities will be submitting future year short circuit cases to ERCOT by June 3rd, 2005.

Member utilities will be submitting the Form 1 Relay Misoperations report for 138kV and 345 kV systems to ERCOT by June 1st, 2005.

Next SPWG meeting is scheduled for July 21st and 22nd, 2005 in Austin, TX.

Mehrdad Vatani

SPWG Chair