## Slide 1: ERCOT Frequency Response
Notes: Low Frequency Response during 11 out of the last 12 events at the B + 30 second performance metric has kept the rolling 6 event average below standard. The average performance at the B point is just above the minimum with the last two events in March being very low. So far this quarter, only one event has qualified as a measurable event. It occurred on May 31st at 22:28. Performance during this event has just begun.

## Slide 2: January 2005 CPS1 133.93

## Slide 3: February 2005 CPS1 123.19

## Slide 4: March 2005 CPS1 135.99

## Slide 5: April 2005 CPS1 127.26

## Slide 6: May 2005 CPS1 114.89

## Slide 7: ERCOT CPS1 by Day - May

## Slide 8: ERCOT 12 mo Rolling Avg CPS1

## Slide 9: PRR 525 SCPS1 through May

## Slide 10: PRR 525 SCPS2 through May