## Slide 1
ERCOT Presentation on Recent Trends in Ancillary Services Bidding for RRS
WMS Monthly Meeting
June 22, 2005

## Slide 2: Load Participation in AS - Background
Loads participate in Ancillary Services as LaaR’s—Loads acting as Resources
LaaR’s can participate in RRS, RPRS and NSRS
Currently most Loads participate only in RRS
LaaR’s participation in RRS is limited to 50% of total requirement
RRS currently set at 2300 MW
Currently 50% of RRS comes from Generation Resources and 50% from LaaR’s
About half of each type RRS is self arranged and half is purchased from the market

## Slide 3: Load Participation in AS - Background
1718 MW of LaaR’s currently qualified to provide RRS
Since 11/04, LaaR’s typically hit the 1150 MW cap
Result is an intermediate tied bid price at which point LaaR’s are prorated
Thru early May, tie bid price was positive or $0
In early May, QSEs representing LaaRs started bidding more aggressively (negatively) in an attempt to be procured
Bids for Generation Resources are “expected” to set the clearing price

## Slide 4: Load Participation in AS - Background

## Slide 5: Load Participation in AS - Background

## Slide 6: Load Participation in AS
Market Participants have asked “What are negative bid limits for Ancillary Services?”
ERCOT staff position is that the limits for all AS bids should be +/-$1000, the same as the limits for Balancing Energy
PUCT staff have indicated support of the +/-$1000 limit
PRR604 is currently under review to clarify bid limits for RPRS and other Ancillary Services. Additional changes have been proposed to establish a $0 lower bid limit.

## Slide 7: Load Participation in AS
WMS Discussion