# Discussion of Model Variables

The groups of variables that appear in these models are:

	Hourly and Interval Load Variables

	Calendar Variables

--	Day of the Week Variables

--	Holiday Variables

--	Weekday and Weekend Variables

--	Season Variables

--	Season/Day-Type Interaction Variables

	Weather Variables

--	Temperature Variables

--	Temperature Slopes

--	Constants and Temperature Slopes by Zone

--	Weather Based Day-Types

--	Heat Buildup Variables

--	Dew Point Temperature

--	Wind Speed Variables

--	Cloud Cover Variables

--	Temperature Gain Variables

--	Time-of-Day Temperature Variables

	Daylight Variables

--	Daylight Saving

--	Time of Sunrise and Sunset

--	Fraction of dawn and dusk hours that is dark

In what follows, each of these groups of variables is discussed separately.  Complete listings of all modeling variables and their definitions are included in Attachment A in alphabetical order, and Attachment B in calculation order.

## Hourly and Interval Load Variables

The profile data that are used as the dependent variable in the profile models are developed from load research data for individual customers.  Most of the utility data sets provided individual data at the 15-minute level.  The remaining data sets were at the hourly level.  Along with the data sets, information on the underlying customer populations and the sample designs were also provided.

To develop profile data for the ERCOT profile segments it was necessary to use the sample design parameters to perform statistical expansion using the profile segments as “domains of study.”  This is accomplished by summing over all cases in the profile segment and weighting each case by the expansion weight from its original class and stratum.  In this equation, the numerator is an estimate of the total load for this group in the population and the denominator is an estimate of the number of customers for this group in the population.  Formally, the estimate of use per customer in any interval is computed as follows:

KWp=csWgtc,sxl

where 	KWp = the estimated kW load for the profile segment p,

c = a rate class,

s = one of the strata within the rate class sample,

ip = the list of cases in rate class c and stratum s are in the profile segment p,

Wgtc,s = the expansion weight for rate stratum s in rate class c,

KWi = the load for the individual customer.

This approach uses the weights from the original sample design (which provided a sample for the rate class) to derive population estimates of average use for each profile segment.  The profile segment may include cases from multiple rate classes and multiple size strata within these rate classes.

The following charts provide an example of hourly and 15-minute interval data for summer and winter peak days for residential customers.

Figure 3-1:  Residential Interval Data – Summer Peak Day

Figure 3-2:  Residential Interval Data – Winter Peak Day

## Calendar Variables

The main calendar variables include the day of the week, indicators of season, and holiday schedules.

3.2.1  Day of the Week Variables.  The variables used in the models are:

Monday = 1 on Mondays, 0 otherwise.

TWT = 1 on Tuesdays, Wednesdays, and Thursdays, 0 otherwise.

Friday = 1 on Fridays, 0 otherwise.

Saturday = 1 on Saturdays, 0 otherwise.

Sunday = 1 on Sundays, 0 otherwise.

These variables are used in the daily energy and hourly fractional models.  The following provides a discussion of the importance of these variables.

	Saturday.  Residential loads tend to be slightly higher on Saturdays than on weekdays, reflecting the fact that most people are home from work and school.  Commercial loads tend to be lower than on weekdays, reflecting low levels of activity in office buildings and businesses that operate five days per week.

	Sunday.  Residential loads tend to be slightly higher on Sundays than on weekdays, reflecting the fact that most people are home from work and school.  Commercial loads tend to be lower than on weekdays, reflecting low levels of activity in office buildings and small retail and services businesses that are closed or that have abbreviated hours on Sunday.

	Monday.  Monday loads tend to be slightly different than days in the middle of the week.  This is especially true for manufacturing operations, where there is often no third shift on Sunday night and Monday morning.

	Tuesday, Wednesday, and Thursday (TWT).  These days in the middle of the week tend to be highly similar for both residential and business loads.

	Friday.  Friday loads tend to be slightly different than days in the middle of the week.  Many businesses ramp down earlier on Friday, and residential loads extend into later hours.

3.2.2  Holiday Variables.  In the daily energy models and the hourly fraction models, specific variables are introduced for each individual holiday.  Weekday holidays have higher residential loads than typical weekdays and lower business loads.  The exact affect on business loads depends on the holiday.  For example on Thanksgiving, most commercial operations are closed.  However on the day after Thanksgiving, office-type operations are usually closed but retail operations are open.  All major national holidays fall on fixed days of the week with the exception of Christmas, July 4th, and New Year’s day, making these three holidays the most difficult to model.  The following is a list of all specific holidays that are included in the ERCOT models.

--	NewYearsHoliday = Binary variable for New Year’s Day holiday

--	MartinLKing = Binary variable for Martin Luther King Day

--	PresidentDay = Binary variable for Presidents’ Day

--	MemorialDay = Binary variable for Memorial Day

--	July4thHol = Binary variable for Independence Day

--	LaborDay = Binary variable for Labor Day

--	Thanksgiving = Binary variable for Thanksgiving

--	FridayAfterThanks = Binary variable for the Friday after Thanksgiving

--	ChristmasHoliday = Binary variable for the Christmas Holiday

--	XMasWkB4 = Binary variable for week before Christmas Holiday

--	XMasAft = Binary variable for the week after Christmas Holiday

For NewYearsHoliday, ChristmasHoliday, and July4thHol, the holiday variables are set to 1 for the preceding Friday if the holiday date falls on a Saturday, and on the following Monday if the actual holiday date falls on a Sunday.

Major Holidays.  In addition, to the individual holidays, a binary variable is constructed for major holidays (MajorHols).  The MajorHols variable is defined as the sum of NewYearsHoliday, MemorialDay, LaborDay, Thanksgiving, FridayAfterThanks, and ChristmasHoliday.  This variable is used in the definition of the WkDay and WkEnd variables.

3.2.3  Weekday and Weekend Variables.  The WkDay variable is set to 1 on any weekdays that are not major holidays, and it is set to 0 on any Saturdays, Sundays, or days that are major holidays.  The WkEnd variable is defined to be the complement of the WkDay variable.  It is 1 on any Saturday, Sunday, or day that is a major holiday, and is 0 otherwise.  Formally,

WkDay = Monday + Tuesday + Wednesday + Thursday + Friday - MajorHols

WkEnd = 1 – WkDay

The WkDay and WkEnd variables are interacted with weather slope variables to allow weather slopes to be different on weekdays than they are on weekend days and holidays.  For example, to allow the slope on average dry bulb temperature (AveDB) to differ between weekdays and weekend days, the following specification can be used:

KWhd=a+b×AveDBd+c×AveDBd×WkEndd

where 	KWhd = the estimated kWh for day d,

a = constant term,

b = slope on average temperature on a weekday,

AveDBd = average dry bulb temperature on day d,

c = slope release for weekend days,

WkEndd = weekend day d.

In this way, the slope on average temperature is given by the value b on a weekday and by the value (b+c) on a Saturday, Sunday, or Major holiday.  If c is positive, then the weather sensitivity on weekends is larger than on weekdays.  If c is negative, then the weather sensitivity on weekends is smaller.  As a result, the coefficient c is often called a “slope release,” since it releases the weather slope to be different on specific days.

3.2.4  Season Variables.  Two season variables are defined, one for summer months and one for winter months.  Effects for remaining months are included in constant terms in the models.  The variables are defined as follows:

Summer = 1 for days in June, July, August, and September and 0 otherwise.

Winter =1 for days in December, January, and February and 0 otherwise.

3.2.5  Season/Day-Type Interactions Variables.  Several interaction variables are defined to be used in the hourly fraction models.  Each of these variables interacts a season variable with a day-type variable.  The variables are:

SummerMon = Summer  Monday

SummerTWT = Summer  TWT

SummerFri = Summer  Friday

SummerSat = Summer  Saturday

SummerSun = Summer  Sunday

WinterMon = Winter  Monday

WinterTWT = Winter  TWT

WinterFri = Winter  Friday

WinterSat = Winter  Saturday

WinterSun = Winter  Sunday

## Weather Variables

3.3.1  Hourly Weather Data.  Weather variables that are used in the Profile Models are:

--	Dry Bulb Temperature

--	Dew Point Temperature

--	Wind Speed

--	Cloud Cover

These data are available on an hourly basis for all stations listed in Table 3-1.  These data are gathered by WeatherBank each hour through a process that obtains readings during the last 15 minutes of the previous hour.  Since different weather providers use different methods to access and download data from the automated stations, the hourly values will show minor variations from one commercial weather data provider to the next.

Hourly data provided by WeatherBank are labeled Hour0 to Hour23.  Internally, these are remapped to the integers 1 to 24.  This implies that variables labeled as Hour0 in the raw data are used to represent conditions during hour 1 (the hour ending at 1 a.m.), values labeled as Hour1 are used to represent conditions during hour 2 (the hour ending 2 a.m.), and so on.  These values are maintained by WeatherBank on standard time throughout the year.

3.3.2  Weather Zones.  As part of the profile data analysis, an analysis of weather data was conducted.  This included analysis of 32 years of daily weather data for 359 stations in Texas, research on the list of stations that have hourly data, correlation analysis using the daily data for pairs of stations, and a cluster analysis to determine which stations should be grouped based on weather similarities.  The results were provided to the Profile Working Group (PWG) along with a recommendation for Weather Zone definitions.  Adopting some modifications suggested by the PWG, the resulting eight weather zones are defined as indicated in Figure 3-3. This figure also indicates the location of hourly weather stations used to represent each zone.

3.3.3  Computing Weather Zone Variables .  Weather variables are defined for each zone based on multiple stations in that zone.  The stations that are used and the weights that are applied are presented in Table 3-1.  The weights in this table are in percent, and sum to 100 for each zone.

Figure 3-3:  Weather Stations Used in ERCOT System

Table 3-1:  Weather Stations and Zone Weights

At least two weather stations are used to represent weather conditions in each zone.  The main advantage of using multiple stations is that the weather variables are less liable to reflect local conditions that are impacting a specific measurement station at a point in time but that are not impacting the larger geographical area.

The weather variables used in the model are aggregates that are calculated from the hourly data and weighted across stations within a zone.  In the calculations, the aggregate values are calculated for each station first and the results are then weighted across stations.  For example, the MornDB variable represents the minimum morning dry bulb temperature.  In defining this variable for each zone, the order of calculation is:

1.	Find the minimum morning dry bulb temperature for each station.

2.	Compute the weighted average of the minimum values for stations in the zone.

The same approach is used for the calculating the afternoon and evening maximum values.  The daily average values are also computed this way, although the order of the calculations does not matter for computing averages.

ADDENDUM ON JUNE 27, 2005:

Some of the information in the two paragraphs above is not correct.  In their place, please substitute the following:

The weather variables used in the models are calculated from weighted hourly data which were aggregated within a zone.  In the calculations, the values for each station are weighted first and then aggregated across stations.  For example, the MornDB variable represents the minimum morning dry bulb temperature.  In defining this variable for each zone, the order of calculation is:

1.	Compute the weighted average dry bulb temperature for each hour for stations in the zone.

2.	Determine the minimum morning dry bulb temperature of the aggregated values for the zone.

The same approach is used for calculating the afternoon and evening maximum values.  The daily average values are also computed this way, although the order of the calculations does not matter for computing the daily average values.

3.3.4  Temperature Variables.  Dry bulb temperature is the temperature of the air as measured by any standard thermometer.  As a result, the terms dry bulb temperature and temperature are used interchangeably.  As an example, Figure 3-4 and Figure 3-5 show hourly dry bulb temperature values for December and August of 1999 respectively.  Data are shown for three stations in the NCent zone (Dallas, Mineral Wells, and Waco).

As mentioned above, in the ERCOT models, these variables are transformed by computing aggregates and by computing weighted averages of these aggregate measures across weather stations in a zone.  The aggregate concepts are:

	AveDB.  This is the Average Dry Bulb Temperature.  It is computed as the arithmetic average of the 24 values for the day.

	MornDB.   This is the Minimum Dry Bulb Temperature in Morning Hours.  In terms of WeatherBank variables, which are labeled from 0 to 23, the minimum is computed over values labeled Hour4 to Hour8.  When the 24 values for a day are renumbered from 1 to 24, the minimum is computed over values 5 to 9.

	AftDB.   This is the Maximum Dry Bulb Temperature in Afternoon Hours.  In terms of WeatherBank variables, which are labeled from 0 to 23, the maximum is computed over values labeled Hour11 to Hour16.  When the 24 values for a day are renumbered from 1 to 24, the maximum is computed over values 12 to 17.

	EveDB.   This is the Maximum Dry Bulb Temperature in Evening Hours.  In terms of WeatherBank variables, which are labeled from 0 to 23, the maximum is computed over values labeled Hour18 to Hour21.  When the 24 values for a day are renumbered from 1 to 24, the maximum is computed over values from 19 to 22.

Figure 3-4:  Hourly Temperature for NCent Stations – Dec 1999

Figure 3-5:  Hourly Temperature for NCent Stations – Aug 1999

Once these aggregate values are computed for each station in a zone, the weighted average of the values is computed.  For example, for average temperature:

AveDBz=s∈zWgts100×AveDBs

where 	AveDBz = the Average Dry Bulb Temperature in zone z,

sz = the list of stations that are used to represent zone z,

Wgts = the weight assigned to station s in zone z,

AveDBs = the average dry bulb temperature for station s.

3.3.5  Temperature Slopes.  Figure 3-6 shows an example of the relationship between daily average temperature and daily energy use (kWh per customer) for the residential sector.  This plot shows a strong nonlinear relationship and provides motivation for the temperature variables that are used in the ERCOT models.  Specifically, the plot suggests a relatively flat relationship between 60 and 70 degrees, with cooling effects showing on the hot side of the curve (average temperatures above 70) and heating effects showing on the cold side of the curve (average temperatures below 60).  To allow further nonlinearities, a second set of cut points are introduced at 50 and 80 degrees.  Finally, to allow for “capping” effects that occur when cooling equipment reaches capacity, a final break point is introduced at 85 degrees.  The final sets of dry bulb variables included in the models are as follows:

XColdSlopez = Max(50 – AveDBz, 0)

ColdSlopez = Max(60 – AveDBz, 0)

MidSlopez = Min(Max(AveDBz – 60, 0), 10)

HotSlopez = Max(AveDBz – 70, 0)

XHotSlopez = Max(AveDBz – 80, 0)

XXHotSlopez = Max(AveDBz – 85, 0)

Figure 3-6:  Residential Daily Energy vs. Average Temperature

Weekend Slope Release Variables.  The two main weather slopes are interacted with indicators of day-type, allowing the temperature sensitivity levels to be different on weekend days than they are on weekdays.

HotSlopeWkEndz = HotSlopez  WkEnd

ColdSlopeWkEndz = ColdSlopez  WkEnd

3.3.6  Constants and Temperature Slopes by Zone.  Load responses to temperature may differ from one area to another because of differences in end-use saturation levels, end-use efficiency values, and consumer behavior.  Ideally, there would be a large and statistically balanced sample of load research data for each of the eight weather zones.  However, reflecting population concentrations and the uneven coverage of load research studies, some zones have significant amounts of data and some zones have very little data available.

Reflecting this reality, it was only possible to estimate slope releases for four general areas.  In model estimation, these areas are labeled NCent, SCent, Coast, and West.  When the models are applied for profiling in all eight weather zones, each of the weather zones is mapped to one of these areas through the definition of the following constant terms.

NCentz = 1 if WeatherZone = NCent, North, or East

SCentz = 1 if WeatherZone = SCent

Coastz = 1 if WeatherZone = Coast or South

Westz = 1 if Weather Zone = West or FWest

For the weather zones on each of the above lines, the same weather slopes are used, but the profiles are computed by applying these slopes to the actual weather for the specific zone.  This is accomplished by defining the four binary variables as indicated above.  When profiles are computed, each of these variables has a value that depends on the active weather zone.  For example, if the weather zone is East, then the NCent variable has a value of 1 and the SCent, Coast, and West variables have values of 0.  In this case, profile values are computed for the East zone using weather data for that zone applied to weather slopes for the general NCent area.

The slope releases for the three main temperature slopes (Hot, Mid, and Cold) are as follows:

HotSlopeNCentz  = HotSlopez  NCentz

HotSlopeSCentz = HotSlopez  SCentz

HotSlopeCoastz = HotSlopez  Coastz

HotSlopeWestz = HotSlopez  Westz

MidSlopeNCentz  = MidSlopez  NCentz

MidSlopeSCentz = MidSlopez  SCentz

MidSlopeCoastz = MidSlopez  Coastz

MidSlopeWestz = MidSlopez  Westz

ColdSlopeNCentz  = ColdSlopez  NCentz

ColdSlopeSCentz = ColdSlopez  SCentz

ColdSlopeCoastz = ColdSlopez  Coastz

ColdSlopeWestz = ColdSlopez  Westz

The effect of introducing these variables into the models is that one of the four constants and one of the four sets of slopes is activated for each weather zone.  The remaining three constants and three sets of slopes are not active.  Other variables in the model are constrained to have the same impact across zones.  This approach (a combined model with slope releases for the main variables) allows estimation of a much richer set of effects than could be supported by estimation of separate models for each ERCOT area using only the data from that area.

3.3.7  Weather-Based Day-Types.  In addition to the slope variables, a set of weather-based day-type variables are constructed for each weather zone z.  These variables are used as interaction variables to allow remaining weather concepts to have different effects when temperatures are warm than they do when temperatures are cold.

HotDayz = 1 if AveDBz >70

ColdDayz  = 1 if AveDBz <60

MildDayz  = 1 – HotDayz  - ColdDayz

3.3.8  Heat Buildup.  In addition to the current day temperature, temperature on preceding days impacts loads through heat buildup effects.  The buildup variable is defined as follows.

BuildUpz,d=s∈z Wgts100×0.67×AveDBz,d−1+.33×AveDBz,d−2

where	BuildUpz,d = Weighted average lagged temperature for zone z on day d,

sz = the list of stations that are used to represent zone z,

Wgts = the weight assigned to station s in zone z,

AveDBs,d-1 = the average temperature for station s on day d-1,

AveDBs,d-2 = the average temperature for station s on day d-2.

shows a scatter plot of average temperature versus the buildup variable.  In modeling loads, we expect a positive sign on the buildup variable on warm days, since heat buildup will increase cooling requirements for a given temperature level.  We expect a negative coefficient on cold days, since higher temperatures on preceding days will reduce heating requirements.  As a result, three variables are introduced to allow impact of buildup in a zone be different on hot and cold days.  In constructing these variables, the mean value of the Buildup variable across all areas (68.4 degrees) is subtracted out, giving the following:

HotBuildUpz = HotDayz   (BuildUpz – 68.4)

ColdBuildUpz = ColdDayz  (BuildUpz – 68.4)

MildBuildUpz = MildDayz   (BuildUpz – 68.4)

By converting this type of variable to deviation-from-the-mean form, it is possible to include the buildup variable interacted with temperature-based day-type variables without including constant releases for the day-type variables, which simplifies the specification.

Figure 3-7:  Temperature Buildup vs. Temperature

3.3.9  Dew Point.  The dew point temperature provides a measure of humidity.  When moisture content is high, the dew point is high.  At extremely high humidity levels, the dew point temperature approaches the dry bulb temperature.  When moisture content is low, the dew point is low relative to the dry bulb temperature.  Figure 3-8 shows an example of average dry bulb temperature and dew point temperature values.  This figure also plots the difference between dry bulb and dew point temperatures.  The average dew point variable is computed for each zone as follows:

AveDPz=s∈zWgts100×AveDPs

where	AveDPz = Average dew point temperature for a zone,

sz = the list of stations that are used to represent zone z,

Wgts = the weight assigned to station s in zone z,

AveDPs = the average dew point temperature for station s.

The primary use of this variable is to capture the additional load that humidity places on cooling systems on warm days.  To isolate this effect, the AveDP value is adjusted for its mean value of 56.8 and is interacted with the variable for hot days.  For each zone z, this variable is defined based on humidity and temperature conditions in that zone, as follows:

HotDayDPz=HotDayz×AveDPz-56.8

Figure 3-8:  Average Dew Point, Dry Bulb and Difference (DryBulb – DewPt)

3.3.10  Wind Speed.  Figure 3-9 shows daily average values for dry bulb temperature and wind speed, which is measured in miles per hour.  This variable is constructed in terms of data for individual stations as follows.

AveWSz=s∈z Wgts100×AveWSs

where	AveWSz = Average wind speed for a zone,

sz = the list of stations that are used to represent zone z,

Wgts = the weight assigned to station s in zone z,

AveWSs = the average wind speed in miles per hour for station s.

It is expected that increased wind will reduce load on hot days through a cooling effect.  It is also expected that wind will raise load on cold days, through a wind-chill effect, which will increase loads on electric heating equipment and furnace fans on gas equipment.  To construct the wind variables, wind speed is first adjusted for the overall average value of 8.4 mph, and is then interacted with a set of day-type variables, as follows:

HotDayWSz = HotDayz  (AveWSz – 8.4)

ColdDayWSz = ColdDayz  (AveWSz – 8.4)

MildDayWSz = MildDayz  (AveWSz – 8.4)

Figure 3-9:  Average Temperature and Wind Speed

3.3.11  Cloud Cover.  Figure 3-10 shows daily average values for temperature and cloud cover, which is measured on a scale of 0 (clear) to 10 (cloudy).  The average value of cloud cover is 4.1.  The average value for a day is computed from the values by station as follows.

AveCCz=s∈z Wgts100×AveCCs

where	AveCCz = Average cloud cover for a zone,

sz = the list of stations that are used to represent zone z,

Wgts = the weight assigned to station s in zone z,

AveCCs = the average cloud cover value for station s.

Increased clouds should reduce load on hot days by reducing solar gains, thus reducing the load on mechanical cooling systems.  Conversely, increased cloud cover on cold days should increase the use of electric heating equipment and furnace fans on gas equipment.  To allow these varying responses, the average cloud cover variable is first reduced by its overall mean value of 4.1, and the result is interacted with a set of day-type variables, as follows:

HotDayCCz = HotDayz  (AveCCz – 4.1)

ColdDayCCz = ColdDayz  (AveCCz – 4.1)

MildDayCCz = MildDayz  (AveCCz – 4.1)

Figure 3-10:  Average Temperature and Cloud Cover

3.3.12  Temperature Gain Variables.  In addition to the average variables, a temperature gain variable provides an indication of the temperature range.  It is computed as the afternoon high temperature minus the morning low temperature.  On most days this value is positive, and the average temperature gain is about 17.7 degrees.  On a small number of days, the gain is negative, indicating that afternoon temperatures are below morning temperatures.

On each day, the average temperature gain for a zone is computed from the station data as follows:

TempGainz=s∈z Wgts100×AftDBs−MornDBs

where	TempGainz = Average temperature gain for a zone,

sz = the list of stations that are used to represent zone z,

Wgts = the weight assigned to station s in zone z,

AftDBs = the maximum afternoon temperature for station s,

MornDBs = the minimum morning temperature for station s.

When modeling daily energy, a bigger value for the range (given the average temperature) will typically imply a larger value for daily energy.  This occurs since a bigger range implies larger extreme values, which imply more heating in the winter and more cooling in the summer.  To measure these effects, the temperature gain variable is first reduced by its overall mean value of 17.7 degrees, and the result is then interacted with a set of day-type variables, as follows.

HotTempGainz = HotDayz  (TempGainz – 17.7)

ColdTempGainz = ColdDayz  (TempGainz – 17.7)

MildTempGainz = MildDayz  (TempGainz – 17.7)

3.3.13  Time-of-Day Temperature Variables.  The hourly fraction models discussed utilize the time-of-day temperature variables (MornDB, AftDB, and EveDB) defined in Section 3.3.4.  By including all of these variables in each equation, it is possible to model fractions that reflect the full weather pattern for each day.  For example, for two days with the same average temperature, the profile on days that have cool mornings and hot afternoons will be different from the profile on days that have warm mornings and cool afternoons.  In the models, these variables are also interacted with the day-type (hot days and cold days) and with the weekend variable, allowing slopes to differ between weekdays and weekend days.  The full set of temperature variables used in the hourly fraction equations is as follows.

HotMornDBz = Hotz  MornDBz

HotAftDBz = Hotz  AftDBz

HotEveDBz = Hotz  EveDBz

WkEndHotMornDBz = WkEnd  HotMornDBz

WkEndHotAftDBz = WkEnd  HotAftDBz

WkEndHotEveDBz = WkEnd  HotEveDBz

MildMornDBz = Mildz  MornDBz

MildAftDBz = Mildz  AftDBz

MildEveDBz = Mildz  EveDBz

ColdMornDBz = Coldz  MornDBz

ColdAftDBz = Coldz  AftDBz

ColdEveDBz = Coldz  EveDBz

WkEndColdMornDBz =  WkEnd  ColdMornDBz

WkEndColdAftDBz = WkEnd  ColdAftDBz

WkEndColdEveDBz = WkEnd  ColdEveDBz

## Daylight Variables

Lighting loads have a significant impact on load shapes in the dawn and dusk hours.  The impact is especially large for the residential class.  The timing of these loads is impacted by changes in the time of sunrise and sunset.  Although the change is gradual through the annual cycle, there is a one-hour jump at the transitions into and out of Daylight Saving Time.

Data are stored in one of two ways, clock time and standard time.  In either case, adjustments can be made for the changes in the solar cycle and for the changes in human behavior associated with Daylight Saving.  The profile models are estimated with data that are on clock time rather than standard time, implying that sunrise and sunset shift one hour to the right in April and one hour to the left in October.

Most load research and system load data are stored in clock time.  As a result, there is a missing hour on the first Sunday in April and two reads are averaged on the last Sunday in October.  At the same time, the time of sunset jumps from hour 19 (ending 7 p.m.) to hour 20 (ending 8 p.m.) in April and from hour 19 to hour 18 in October.  An example of the shift in loads is provided for the total residential class in Figure 3-11.

Figure 3-11:  Residential Profiles Before and After Daylight Saving

To track the combination of solar cycles and the incidence of daylight saving, the following variables are included in the daily energy models.

DLSav = 1 for days on Daylight Saving Time, 0 otherwise.

HLight = Sunset – Sunrise (both measured in fractions of hours)

In addition, in the hourly fraction models, a series of variables is defined to quantify the fraction of each of the dawn and dusk hours that is dark.

FracDark7 = Fraction of the hour from 6 a.m. to 7 a.m. that is dark (before sunrise)

FracDark8 = Fraction of the hour from 7 a.m. to 8 a.m. that is dark (before sunrise)

FracDark18 = Fraction of the hour from 5 p.m. to 6 p.m. that is dark (after sunset)

FracDark19 = Fraction of the hour from 6 p.m. to 7 p.m. that is dark (after sunset)

FracDark20 = Fraction of the hour from 7 p.m. to 8 p.m. that is dark (after sunset)

FracDark21 = Fraction of the hour from 8 p.m. to 9 p.m. that is dark (after sunset)

Figure 3-12 to Figure 3-17 show examples of these variables plotted over the 1999 calendar.  In each chart, the heavy red line is the Fraction Dark variable, and the thin green line represents the number of hours of sunlight.  The weighted average values for each zone have been computed and are included in the model spreadsheets that are attached to this report.

Figure 3-12:  Hours of Light and Fraction Dark in Hour 7 (6 a.m. to 7 a.m.)

Figure 3-13:  Hours of Light and Fraction Dark in Hour 8 (7 a.m. to 8 a.m.)

Figure 3-14:  Hours of Light and Fraction Dark in Hour 18 (5 p.m. to 6 p.m.)

Figure 3-15:  Hours of Light and Fraction Dark in Hour 19 (6 p.m. to 7 p.m.)

Figure 3-16:  Hours of Light and Fraction Dark in Hour 20 (7 p.m. to 8 p.m.)

Figure 3-17:  Hours of Light and Fraction Dark in Hour 21 (8 p.m. to 9 p.m.)