| PRR Number | 604 | PRR Title | Replacement Reserve Service Bid Cap |  |
| --- | --- | --- | --- | --- |
| Timeline (Normal or Urgent) | Normal | Recommended Action |  | Approve |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 4.4.11 Ancillary Services Bid Submittal 4.4.16 ERCOT Receipt of Replacement Reserve Service Bids |  |  |
| Proposed Effective Date |  | October 1, 2005 |  |  |
| Priority and Rank Assigned |  |  |  |  |
| Revision Description |  | Pursuant to PRR 414 (Sunset Date for Balancing Energy Bid Cap) and PUCT Docket No. 24770 (Report of Electric Reliability Council of Texas (ERCOT) to the PUCT Regarding Implementation of the ERCOT Protocols), bids for Replacement Reserve Service (RPRS) are capped at $1000. This PRR provides explicit language to state that such bids submitted for RPRS shall not exceed $1,000. |  |  |
| Overall Market Benefit |  | None. |  |  |
| Overall Market Impact |  | If approved, QSEs need to make sure their RPRS bid prices are within the specified range. |  |  |
| Consumer Impact |  | Limited price protection for RPRS service. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  |  |  |  |
| Procedural History |  | - PRR 604 was posted on 5/25/05. - On 6/23/04, PRS considered this PRR. |  |  |
| PRS Recommendation (indicate whether all segments were present for the vote, and the segment of parties that voted no or abstained) |  | PRS voted to recommend approval of PRR604 as amended by PRS. The motion passed unanimously with all market segments present. |  |  |
| Summary of PRS discussion |  | Participants discussed that pursuant to PUCT Order (Docket No. 24770) the replacement reserve service bid cap should be in Protocols and how it should be calculated. OPC inquired how the design of EMMS Release 4 would incorporate the cap. ERCOT Staff explained that Release 4 will have a limit and will reject as the price is submitted. ERCOT Staff indicated that the conditions of Protocol Sections 4.4.16(1) and (2) would be met, but the conditions of item (3) would have to be modified. Participants were amenable to deleting item (3). |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions: To allow for comprehensive PRR consideration, please fill out each block below completely.  Wherever possible, please include reasons, explanations, and quantitative cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Requires ERCOT to not accept bids for RPRS that exceed the stated cap. | None | Ensure compliance with PRR 414 and PUCT Docket No. 24770. |
| MARKET SEGMENT | None | If approved, ERCOT needs to check all RPRS bid prices do not exceed the cap | None |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | None |
| LSE: CR & REP | None | None | None |
| QSE | If approved, QSEs need to make sure their RPRS bid prices are within the specified range. | If approved, QSEs need to make sure their RPRS bid prices are within the specified range. | None |
| Resource | None | None | None |
| TDSP | None | None | None |

| Original Sponsor |  |
| --- | --- |
| Name | Steven Moss |
| Company | First Choice Power |
| Segment | IOU |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| Energy Data Source 061305 | Suggested including language that would establish a minimum bid for Ancillary Services of zero dollars. |
| Air Liquide 061505 | Suggested including language that would establish a minimum bid for Ancillary Services of zero dollars, as allegedly proposed by First Choice. |
| First Choice Power 061705 | Disputes Energy Data Source and Air Liquide’s comments regarding minimum bids. |
| TXU Energy 062005 | Supports First Choice Power comments. |

Proposed Protocol Language Revision

4.4.11	Ancillary Services Bid Submittal

QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period.  Submitted bids remain active for any period until:  (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE.

Ancillary Service bids shall not exceed one thousand ($1,000) dollars per MW for any Resources.

[PRR414: Upon implementation of required system changes, the following provisions will be added to 4.4.11, Ancillary Services Bid Submittal:] Any Ancillary Service bids in excess of one thousand ($1,000) dollars per MW will be rejected by ERCOT.

For Ancillary Service bid, a QSE must provide:

(1)	The market for which the bid is being supplied;

(2)	The period of time for which the bid is submitted;

(3)	A dollars per megawatt price for the capacity bid;

(4)	The quantity of capacity for which the bid price is effective;

(5)	Any ties to other bids in other ERCOT Day Ahead Ancillary Service markets that may require those bids to be removed from those markets if a bid is selected by ERCOT in an earlier clearing market; and

(6)	Expiration time of the bid.

[PRR496: Add item (7) to Section 4.4.11 upon system implementation:] (7) For a Load Acting as a Resource bids for Responsive Reserve Service and Non-Spinning Reserve Service shall have the option to choose the bid to be awarded only as a complete block at the bid quantity. Bids requested in this fashion shall be defined as Block Bids. Block size will be limited to one hundred fifty (150) MWs for both RRS and NSRS.

[PRR342: Revise Section 4.4.11, Ancillary Serviced Bid Submittal, as follows upon system implementation and Notice to the Market.] QSEs may submit, by 1300, Ancillary Service bids to ERCOT for any Ancillary Service market open during the Day Ahead Period. Submitted bids remain active for any period until: (a) selected by ERCOT; or (b) automatically expired by software at the time selected by the QSE. [The following text should be added at the end of 4.4.11 after the numbered list.] A Responsive Reserve capacity bid tied to a Regulation Up capacity bid may only exceed the Regulation Up capacity bid by X%, as approved by the ERCOT Board. A Non-Spinning Reserve capacity bid may only exceed Responsive Reserve capacity bid by X%, as approved by the ERCOT Board.

4.4.16	ERCOT Receipt of Replacement Reserve Service Bids

QSEs may submit unit-specific Replacement Reserve Service (RPRS) bids to ERCOT by 1600.  RPRS bids will have the following components:

(1)	A dollar per megawatt capacity price, not exceeding one thousand dollars ($1,000) per megawatt, at which the supplier will provide the service;

(2)	A dollar per megawatt operational price not exceeding one thousand dollars ($1,000) per megawatt per hour;

- (3)	Designation of the specific Resource;

(4)	Designation of the amount of capacity represented by the bid;

(5)	The hours that the bid is effective;

(6)	The minimum time in minutes until the Resource is available for Balancing Energy deployment; and

(7)	An expiration time for the bid.

[PRR491: Upon system implementation, replace the above section with the following:] 4.4.16 ERCOT Receipt of Replacement Reserve Service Bids QSEs may submit unit-specific Replacement Reserve Service (RPRS) bids to ERCOT by 1600. RPRS bids will have the following components: (1) A dollar per megawatt capacity price, not exceeding one thousand dollars ($1,000) per megawatt, at which the supplier will provide the service; (2) An dollar per megawatt operational price not exceeding one thousand dollars ($1,000) per megawatt per hour; - (3) Designation of the specific Resource; (4) Designation of the amount of capacity represented by the bid; (5) The hours that the bid is effective; and (6) An expiration time for the bid.

[PRR211 & PRR413: Current design does not allow for the submission of a unit specific UBES bid curve with RPRS capacity bids. Current design allows only one UBES curve per zone per QSE and one DBES curve per zone per QSE. Add the following to the end of the bulleted list of items in Section 4.4.16 upon system implementation.] (7) A Balancing Energy bid point in $/MWh for each hour that the RPRS capacity bid is effective, not exceeding one thousand dollars ($1,000) per megawatt hour.