| PRR Number | 588 | PRR Title | Testing of Quick Start Units in the Balancing Energy Market |
| --- | --- | --- | --- |
| Date |  | June 28, 2005 |  |
| Submitter’s Information |  |  |  |
| Name |  | Kevin Gresham |  |
| E-mail Address |  | kgresham@reliant.com |  |
| Company |  | Reliant Energy, Inc |  |
| Company Address |  | 1000 Main St, Houston Texas 77002 |  |
| Phone Number |  | 7134977352 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

This PRR is intended to memorialize the Market Notice sent on April 14, 2005 regarding testing and certification of quick start capacity in ERCOT.  Since then, only 300 MW of quick start capacity has been given provisional certification to bid into the Balancing Energy Market.  This raises the question as to whether the testing criteria may inadvertently be discouraging quick start capacity from submitting to ERCOT’s testing requirements.

The test requirements are listed in PRR 588 under the proposed OGRR.  Reliant Energy proposes that the testing requirements be changed to decrease the seven day test period to three days and to increase the interval that capacity is measured from the 10 minute ramp period to the full 15 minute settlement interval.  Although this OGRR has yet to be reviewed by ROS, ERCOT is using the criteria for testing.

It should also be noted that the market notice appears to have assumed that the Replacement Reserve market tools would be functioning when peak season began.  However, this functionality will not be available until late-August 2005, thus unnecessarily limiting the amount of capacity available to bid into the Balancing Energy Market.

Revised Proposed Protocol Language

Operating Guide Revision

2.5.5 Balancing Energy Service

Reference:  Protocols Section 6.5.2, Balancing Energy Service

For purposes of testing Quick Start Units providing Balancing Energy Service, ERCOT will test each unit by issuing a unit-specific Dispatch Instruction for the MW amount that the QSE requesting to have the Quick Start Units be qualified to provide.  ERCOT will send the Dispatch Instruction as a normal electronic deployment within a seven (7) three (3) day testing window mutually agreed by ERCOT and the QSE requesting the test.  The Quick Start Units will be qualified to provide only the output amount observed at the end of the ten-minute Balancing Energy ramp settlement period.