## Slide 1: Down Regulation in Depleted Intervals
13 June, 2005
QSE Project Managers WG
Brandon Whittle
ERCOT Market Operations Support

## Slide 2: What was the Question?
Why do we deploy Down Regulation in Intervals where UBES is depleted? (Original Question)
  Group indicated that a larger sample size was preferred.

## Slide 3: Suggestion
Why is more than 50% of Down Regulation deployed when more than 90% of UBES bid is cleared? (Percentages adjustable)

## Slide 4: Variables
Readily Observable
  Regulation Required & Deployed
  Balancing Bid & Deployed
  MCPE (average?) or Heat Rate?
  SCE
  Generation Requirement – Telemetered Generation
  DC Tie Schedules – DC Tie Telemetry
  Dynamic Schedules – Dynamic Telemetry
  SPD Energy Schedule – QSE Energy Schedule
Not Readily Observable
  Manual Dispatch
  Private Network Variances
Others?