| QSE Manager Working Group |  |  |
| --- | --- | --- |
| Event Description: QSE MWG June meeting | Meeting Date: 06/13/05 REVISED | Completed by: Lisa Sumruld |
| Chair: Larry Gurley |  |  |
| Summary of Topics: |  |  |
| - Antitrust Guidelines: Larry Gurley briefly reviewed anti-trust guidelines, reminding all of the responsibility to adhere to all antitrust rules and guidelines. Copies of current policies can be requested from ERCOT at http://www.ercot.com/AboutERCOT/InformationRequest.cfm. - EMMS Release 4 Update: Jeff Robinson of ERCOT presented an update on EMMS Release 4 and the continuation of site acceptance testing. It was explained that ERCOT’s ongoing issues with the OOM tool and RPRS market changes have forced the extension of acceptance testing until 8/2/05, and full implementation until 8/25/05. Specifically, the RPRS market is not resolving within a one hour time frame as desired. It was asked if factory acceptance testing of the identified items was successful. Explanations were given why factory testing was successful and site testing has stalled, including different set of testers, and scenarios not identified for factory testing. Market Participant’s also questioned the timing of the release in middle of summer. ERCOT stated it realizes the dangers of summer roll-out, but believes the changes implemented may not require waiting until shoulder months (The OOM tool change is an automation of what is already going on, so this is not a big change; the RPRS market is also not being used, at this time.) It was also confirmed that the planned XML specification update will not be affected by the delays. The group asked if the cost for continued delays has been detailed so it can be presented at the next meeting if possible. - BES Bid Depletion: Brandon Whittle of ERCOT returned for a continuation of a previous meeting item, for which the original question was, “Why do we deploy down regulation on intervals where UBES is depleted” to widen the scope to use a larger sample size. Brandon Whittle presented suggestions for the expanded criteria, and suggested that further efforts in this analysis begin with an approach of “50% of Down regulation deployed when at least 90% of UBES is cleared”. The percentages should be adjusted until we capture all the violated intervals, and see how often they converge (number of intervals would be a good example). Brandon proposed a set of readily observable variables for consideration and comment. There was specific clarification on the affect of DC tie scheduling on regulation deployment. Brandon will report details from his analysis at a later meeting. - BES Awards and Ramp Rate Constraint: Young Li of ERCOT discussed “proposals to Improve OOME as Instructed Deviation and portfolio ramp rate recall. A continuation of an example demonstrated by Larry Gurley at the last meeting was discussed extensively in order to examine it for a violation of Scenario #14 of Market Bulletin #19. Yung suggests it is perhaps scenario #10 that describes the situation. Larry Gurley contended that the example does not follow the outlined scenarios, and that there are set recall limits not being followed. Young suggested ERCOT is interested in changes it can make to alleviate such issues without large system changes. Market Participants suggest for future releases, the type of information in Market Bulletin 19 should be known ahead of time. Also discussed was the fact that the complexity of BE market will not facilitate a whole fix; one fix may break another part. Attendees may submit suggestions for further discussion at the next meeting. - Resource Plan Metric: Robbie Staples reported on the PRR ERCOT Compliance is drafting for proposed changes to the Resource Plan performance metric. It introduces higher individual adjustment of performance requirements rather than an equal overall increase for all measures. It will also propose the needed additional exceptions, including one for a single unit regulating in a single zone. A future agenda item will be added for this topic. Also, as requested at the previous meeting, it was confirmed that the impact of R4 on resource plan metrics would require only adjustments to the scoring tools, but not the underlying measurements or reporting. - Adjustment Period A/S Market Protocol Revision: Larry Gurley reviewed a PRR to Protocol Section 4.5, Adjustment Period Scheduling Process geared at allowing time to adjust schedules and bids in the event of an adjustment period A/S market. The draft PRR includes an extension to timeline so that the minimum notification time from 2 hours is increased to 2 hours and 30 minutes. There was some discussion of the bid requirements in section 4.5.9.1, which limits a QSE’s ability to resubmit bids not selected in the previous market at a higher price than in the previous market. This language was required by a PUC order to mitigate market participants raising prices once it was known that additional capacity was needed. WMO also stated that clarification from the PUC would be required regarding the procedure to follow for changing Commission order language. Larry Gurley will finalize this PRR on behalf of the QSEMWG, suggesting timeline revisions only. - Congestion Management: The recent increase in congestion management on the South to Houston CSC has raised some curiosity and concern. The group looked as some recent data reflecting what appears to be the tendency of ERCOT Operations to continue dispatching for a constraint, when it appears the flow has decreased sufficiently below the posted limit and is continuing in that downward direction. The group will make a recommendation to WMS to study or record as a performance metric for ERCOT. The cost of congestion when the flow is below the CSC limit. |  |  |
| Action Items |  |  |
| - ERCOT is to provide a cost of EMMS Release 4 delay. - PRR to section 4.5.9 will be finalized by Larry Gurley. - Recommendation to be made to WMS to study cost of congestion when flow on the CSC is below the limit. |  |  |
| Future Agenda Items: |  |  |
| - Study of continued use of OOMC for capacity insufficiency while the RPRS market is further delayed by R4 delays. - Continue study of BES bid depletion. - Compliance exception for down regulating units then deployed for down balancing units beyond their ability to comply. - RP Metric exception; single unit regulating in a single zone |  |  |
| Attendees: |  |  |
| NAME; COMPANY; PHONE NUMBER. Larry Gurley; TENASKA; 817-303-3601. Jason Sweeney; SUEZ; 713-636-1477. Gary Singleton; GARLAND; 972-205-3017. Jim Krajelki; THE STRUCTURE GROUP; 512-422-8322. John Hsu; FORMOSA; 361-987-7346. Josh Clevenger; BRAZOS; 254-750-6283. Lloyd Prichard; BP; 281-366-4375. Robert Bailey; RELIANT; 713-497-1147. Ryan Thomas; CORAL; 713-767-5627. Alex Brinis; FPL; 561-625-7104. Ron Wheeler; DYNEGY; 713-767-0441. Mike Rowley; STREAM; 469-964-5699. Shannon Caraway; TXU ENERGY; 214-875-9397. Chip Sandresky; SUNGARD; 713-210-8086. Matt Samsel; EXELON; 610-765-6568. Kristy Ashley; EXELON; 512-470-9696. Clayton Greer; CONSTELLATION; 512-921-2013. Lisa Sumruld; ERCOT; 512-248-3951. Tony Marsh; ERCOT; 512-248-6458. Dan Jones; CPS ENERGY; 512-427-7601. Danielle Jaussaud; PUC-WMO; 512-936-7396. |