| PRR Number | 592 | PRR Title | Modify Shift factor Calculation to Exclude Fixed Output Generators |
| --- | --- | --- | --- |
| Impact Analysis Date |  | May 23, 2005 |  |
| Credit Impacts |  | YES _______ NO __X____ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | None. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No project is required. |  |
| ERCOT Staffing Impacts (across all areas) |  | Section 7.2.1.4, will add a negligible workload to existing ERCOT staff to compile the list of all nuclear, coal or lignite fueled Generation Resources that will be excluded from the calculation of Zonal Shift factors for the year. |  |
| ERCOT Business Function Impacts |  | There will be a negligible impact to add the steps necessary to exclude units with typically a fixed output to the shift factor calculation process. |  |
| Grid Operations & Practices Impacts |  | None |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

This PRR addresses Potomac Economics Recommendation #3 which suggests modifying the zonal average shift factor calculation methodology to exclude generation whose output is generally fixed.