## Slide 1
ERCOT Technical Advisory Committee
June 2, 2005
Cyber Security Standard Update
(Critical Infrastructure Protection)

## Slide 2: Why Have a Cyber Security Standard?
Documented Cases of Cyber attacks
  Several SCADA Systems disabled due to virus attacks
EMS & SCADA Systems moving toward more standard architectures with known vulnerabilities
Higher risk of cyber incidents due to inside activities
August 14, 2003 Northeast Blackout
  No evidence of terrorist activities, but recognition that the grid is vulnerable.

## Slide 3: Cyber Security Standard Background
Cyber Security Standards Authorization Request (SAR) for Standard 1200 initiated in April 2003.
The NERC Board of Trustees adopted this Standard into the NERC Compliance Enforcement Program (CEP) in August 2003.
All Control Areas and Reliability Coordinators (ERCOT) in North America were expected to self-certify in the 1st Quarter 2005.

## Slide 4: Cyber Security Standard Background (cont’d)
Standard 1200 is set to expire in August 2005 and will be replaced by Standard 1300.
NERC is re-organizing its Standard’s naming and number conventions.
Standard 1300 is now part of the Critical Infrastructure Protection (CIP) Policy.
CIP-002 thru CIP-009 will replace 1301 thru 1308.
  Currently proposed to become effective on November 1, 2005.

## Slide 5: Format/Numbering Changes
New standards as compared to sections in Draft Standard 1300 – Draft 1
Old Section # | Topic | New Std #
1301 | Security Management Controls | CIP-003-1
1302 | Critical Cyber Assets | CIP-002-1
1303 | Personnel and Training | CIP-004-1
1304 | Electronic Security | CIP-005-1
1305 | Physical Security | CIP-006-1
1306 | Systems Security Management | CIP-007-1
1307 | Incident Reporting and Response Planning | CIP-008-1
1308 | Recovery Plans | CIP-009-1

## Slide 6
Who will the Standard Apply to? |  | 
√ | Reliability Coordinator (RC) | Ensures the reliability of the bulk transmission system within its Reliability Authority area. This is the highest reliability authority.
√ | Balancing Authority (BA) | Integrates resource plans ahead of time, and maintains load-interchange-resource balance within its metered boundary and supports system frequency in real time
√ | Interchange Authority (IA) | Authorizes valid and balanced Interchange Schedules
 | Planning Authority (PA) | Plans the bulk electric system
√ | Transmission Provider (TP) | Provides transmission services to qualified market participants under applicable transmission service agreements
√ | Transmission Owner (TO) | Owns transmission facilities
√ | Transmission Operator (TOP) | Operates and maintains the transmission facilities, and executes switching orders
 | Distribution Provider (DP) | Provides and operates the “wires” between the transmission system and the customer
√ | Generator (GOP & GO) | Owns and operates generation unit(s) or runs a market for generation products that performs the functions of supplying energy and Interconnected Operations Services
 | Purchasing-Selling Entity (PSE) | The function of purchasing or selling energy, capacity and all necessary Interconnected Operations Services as required
√ | Load-Serving Entity (LSE) | Secures energy and transmission (and related generation services) to serve the end user

## Slide 7: Standard 1200 Expectations
ERCOT as the Control Area & Reliability Coordinator self-certified in 1Q05
Annual self-certification is required of Control Areas and Reliability Coordinators
All owner/operators of SCADA and EMS are expected to be in compliance, but are not required to self-certify
There are no sanctions that can be imposed at this time

## Slide 8: Implementation Schedule
CIP-001- Sabotage Reporting
  Effective April 1, 2005 for RCs, BAs, TOPs, GOPs, and LSEs.
CIP-002 thru CIP-009
  BAs, TOPs, RCs, TPs, NERC, & RROs auditably compliant with all requirements by 2Q09.
  IAs, TOs, GOs, GOPs, & LSEs auditably compliant within 36 months of registration to a Functional Model function.

## Slide 9: Proposed Implementation Plan
Compliance Schedule for Standard CIP-004-1
Balancing Authorities and Transmission Operators Required to Self-certify to
Urgent Action (UA) Standard 1200, and Reliability Coordinators
 | 2nd Qtr 2006 |  | 2nd Qtr 2007 |  | 2nd Qtr 2008 |  | 2nd Qtr 2009 | 
Requirement | System Control Center | Other Facilities | System Control Center | Other Facilities | System Control Center | Other Facilities | System Control Center | Other Facilities
Standard CIP-004-1 – Personnel & Training |  |  |  |  |  |  |  | 
R1 | SC | BW | AC | SC | AC | AC | AC | AC
R2 | SC | BW | AC | SC | AC | AC | AC | AC
R3 | SC | BW | SC | SC | AC | SC | AC | AC
R4 | SC | BW | AC | SC | AC | AC | AC | AC
AC - Auditably Compliant means the entity meets the full intent of the requirement and can prove compliance to an auditor.
SC - Substantially Compliant means an entity has begun the process to become compliant with a requirement, but is not yet
Auditably Compliant.
BW - Begin Work means a responsible entity has developed a plan to address the requirements of a standard.
Implementation Plan - Draft 3 contains comparable tables for the other Draft Standards.

## Slide 10: Proposed Implementation Plan (cont’d)
Compliance Schedule for Standard CIP-004-1
Transmission Providers, those Balancing Authorities and Transmission Operators Not Required
to Self-certify to UA Standard 1200, NERC, and Regional Reliability Organizations.
 | 2nd Qtr 2006 | 2nd Qtr 2007 | 2nd Qtr 2008 | Dec. 31, 2009 & Beyond
Requirement | All Facilities | All Facilities | All Facilities | All Facilities
Standard CIP-004-1 – Personnel & Training |  |  |  | 
R1 | BW | SC | AC | AC
R2 | BW | SC | AC | AC
R3 | BW | SC | SC | AC
R4 | BW | SC | AC | AC
AC - Auditably Compliant means the entity meets the full intent of the requirement and can prove compliance to an auditor.
SC - Substantially Compliant means an entity has begun the process to become compliant with a requirement, but is not yet
Auditably Compliant.
BW - Begin Work means a responsible entity has developed a plan to address the requirements of a standard.
Implementation Plan - Draft 3 contains comparable tables for the other Draft Standards.

## Slide 11: Compliance Schedule for Standard CIP-004-1 Interchange Authorities, Transmission Owners, Generator Owners, Generator Operators, and Load-Serving Entities
 | Registration | Registration + 12 months | Registration + 24 months | Registration + 36 months
Requirement | All Facilities | All Facilities | All Facilities | All Facilities
Standard CIP-004-1 – Personnel & Training |  |  |  | 
R1 | BW | SC | AC | AC
R2 | BW | SC | AC | AC
R3 | BW | SC | SC | AC
R4 | BW | SC | AC | AC
Proposed Implementation Plan (cont’d)
AC - Auditably Compliant means the entity meets the full intent of the requirement and can prove compliance to an auditor.
SC - Substantially Compliant means an entity has begun the process to become compliant with a requirement, but is not yet
Auditably Compliant.
BW - Begin Work means a responsible entity has developed a plan to address the requirements of a standard.
Implementation Plan - Draft 3 contains comparable tables for the other Draft Standards.

## Slide 12: NERC Cyber Security Resources
www.esisac.com/library-CSS-WS.htm
  Cyber Security Workshop Presentations
www.nerc.com/~filez/standards-cyber.html
  NERC Urgent Action Cyber Security Standard 1200
www.nerc.com/~filez/standards/Cyber-Security-Permanent.html
  NERC Cyber Security Standards
  NERC Cyber Security Cross-Reference
  Draft Implementation Plan for Cyber Security Standards
www.nerc.com/~filez/standards/Standards-sitemap.html
  NERC Reliability Standards