## Compare
HISTORICAL LOAD BY LOAD AREA | [9 empty] | CONTROL AREA LOAD FORECAST
Market Date: | [9 empty] | Market Date: | [9 empty] | Assume a 5% distribution loss factor.
Interval Ending | COAST | EAST | FAR_WEST | NORTH | NORTH_C | SOUTHERN | SOUTH_C | WEST | System | Interval Ending | COAST | EAST | FAR_WEST | NORTH | NORTH_C | SOUTHERN | SOUTH_C | WEST | System | ERCOT |  | 0.05 | 0.05
[9 empty] | Total | [9 empty] | Total | Actual | Forecast | Actual | Forecast | Delta | MCPE | Dollars | Absolute $
0100 | 11123 | 1843 | 1254 | 1307 | 13786 | 3111 | 6500 | 1216 | 40140 | 0100 | 11179 | 1905 | 1222 | 1280 | 14066 | 3119 | 6654 | 1176 | 40601 | 40140 | 40601 | 2007 | 2030.05 | 23.05 | 71.02 | 1637.011 | 1637.011
0200 | 10568 | 1749 | 1193 | 1240 | 12982 | 2929 | 6047 | 1146 | 37854 | 0200 | 10534 | 1745 | 1210 | 1239 | 13012 | 2933 | 6039 | 1112 | 37824 | 37854 | 37824 | 1892.7 | 1891.2 | -1.5 | 54.9325 | -82.3988 | 82.3988
0300 | 10191 | 1662 | 1111 | 1188 | 12251 | 2794 | 5700 | 1082 | 35979 | 0300 | 10088 | 1766 | 1157 | 1190 | 12357 | 2805 | 5672 | 1077 | 36112 | 35979 | 36112 | 1798.95 | 1805.6 | 6.65 | 47.165 | 313.6473 | 313.6473
0400 | 9924 | 1613 | 1085 | 1150 | 11755 | 2686 | 5458 | 1043 | 34714 | 0400 | 9855 | 1599 | 1097 | 1148 | 11783 | 2702 | 5450 | 1051 | 34685 | 34714 | 34685 | 1735.7 | 1734.25 | -1.45 | 46.4125 | -67.2981 | 67.2981
0500 | 9788 | 1593 | 1078 | 1135 | 11441 | 2624 | 5318 | 1020 | 33997 | 0500 | 9739 | 1586 | 1043 | 1116 | 11467 | 2597 | 5271 | 1024 | 33843 | 33997 | 33843 | 1699.85 | 1692.15 | -7.7 | 45.115 | -347.3855 | 347.3855
0600 | 9820 | 1592 | 1080 | 1094 | 11343 | 2608 | 5281 | 1014 | 33832 | 0600 | 9777 | 1597 | 1095 | 1108 | 11307 | 2590 | 5262 | 1013 | 33749 | 33832 | 33749 | 1691.6 | 1687.45 | -4.15 | 36.87 | -153.0105 | 153.0105
0700 | 9706 | 1563 | 1091 | 1011 | 11233 | 2611 | 5258 | 1008 | 33481 | 0700 | 9698 | 1550 | 1088 | 1052 | 11125 | 2580 | 5299 | 1019 | 33411 | 33481 | 33411 | 1674.05 | 1670.55 | -3.5 | 20.69 | -72.415 | 72.415
0800 | 9787 | 1584 | 1088 | 987 | 11153 | 2610 | 5274 | 1004 | 33487 | 0800 | 9968 | 1605 | 1093 | 1019 | 11502 | 2640 | 5417 | 1016 | 34260 | 33487 | 34260 | 1674.35 | 1713 | 38.65 | 13.02 | 503.223 | 503.223
0900 | 10612 | 1714 | 1135 | 1027 | 11611 | 2828 | 5644 | 1054 | 35625 | 0900 | 10652 | 1781 | 1129 | 1077 | 12243 | 2855 | 5768 | 1104 | 36609 | 35625 | 36609 | 1781.25 | 1830.45 | 49.2 | 30.495 | 1500.354 | 1500.354
1000 | 11621 | 1856 | 1183 | 1099 | 12103 | 3116 | 6245 | 1114 | 38337 | 1000 | 11613 | 1912 | 1180 | 1118 | 12643 | 3112 | 6222 | 1140 | 38940 | 38337 | 38940 | 1916.85 | 1947 | 30.15 | 46.7575 | 1409.7386 | 1409.7386
1100 | 12616 | 1996 | 1244 | 1154 | 12603 | 3426 | 6930 | 1207 | 41176 | 1100 | 12694 | 1971 | 1245 | 1208 | 13441 | 3412 | 6853 | 1194 | 42018 | 41176 | 42018 | 2058.8 | 2100.9 | 42.1 | 42.2975 | 1780.7248 | 1780.7248
1200 | 13502 | 2090 | 1301 | 1251 | 13690 | 3677 | 7548 | 1302 | 44361 | 1200 | 13524 | 2068 | 1315 | 1268 | 13739 | 3675 | 7543 | 1318 | 44450 | 44361 | 44450 | 2218.05 | 2222.5 | 4.45 | 52.5225 | 233.7251 | 233.7251
1300 | 14123 | 2199 | 1372 | 1319 | 14813 | 3877 | 8058 | 1380 | 47141 | 1300 | 14184 | 2150 | 1353 | 1311 | 14735 | 3883 | 8013 | 1387 | 47016 | 47141 | 47016 | 2357.05 | 2350.8 | -6.25 | 62.775 | -392.3438 | 392.3438
1400 | 14591 | 2288 | 1438 | 1373 | 15855 | 4025 | 8458 | 1431 | 49459 | 1400 | 14552 | 2288 | 1405 | 1372 | 15675 | 4035 | 8449 | 1447 | 49223 | 49459 | 49223 | 2472.95 | 2461.15 | -11.8 | 70.23 | -828.714 | 828.714
1500 | 14918 | 2351 | 1485 | 1439 | 16852 | 4121 | 8754 | 1472 | 51392 | 1500 | 14910 | 2414 | 1481 | 1439 | 16500 | 4148 | 8792 | 1482 | 51166 | 51392 | 51166 | 2569.6 | 2558.3 | -11.3 | 71.4075 | -806.9048 | 806.9048
1600 | 15151 | 2417 | 1511 | 1504 | 17618 | 4170 | 8979 | 1509 | 52859 | 1600 | 15048 | 2450 | 1515 | 1502 | 17604 | 4215 | 9022 | 1514 | 52870 | 52859 | 52870 | 2642.95 | 2643.5 | 0.55 | 75.94 | 41.767 | 41.767
1700 | 15237 | 2457 | 1526 | 1542 | 18090 | 4178 | 9112 | 1529 | 53671 | 1700 | 15161 | 2467 | 1515 | 1557 | 18134 | 4223 | 9116 | 1554 | 53727 | 53671 | 53727 | 2683.55 | 2686.35 | 2.8 | 77.8075 | 217.861 | 217.861
1800 | 15140 | 2452 | 1532 | 1557 | 18299 | 4123 | 9121 | 1537 | 53761 | 1800 | 15028 | 2440 | 1514 | 1536 | 17935 | 4133 | 9076 | 1530 | 53192 | 53761 | 53192 | 2688.05 | 2659.6 | -28.45 | 77.305 | -2199.3272 | 2199.3272
1900 | 14677 | 2397 | 1509 | 1521 | 18043 | 3986 | 8913 | 1514 | 52560 | 1900 | 14749 | 2425 | 1489 | 1531 | 17766 | 4036 | 8994 | 1526 | 52516 | 52560 | 52516 | 2628 | 2625.8 | -2.2 | 76.145 | -167.519 | 167.519
2000 | 14099 | 2301 | 1470 | 1477 | 17369 | 3814 | 8544 | 1466 | 50540 | 2000 | 14126 | 2277 | 1473 | 1477 | 17247 | 3843 | 8638 | 1487 | 50568 | 50540 | 50568 | 2527 | 2528.4 | 1.4 | 73.445 | 102.823 | 102.823
2100 | 13600 | 2213 | 1414 | 1395 | 16604 | 3679 | 8155 | 1401 | 48461 | 2100 | 13744 | 2235 | 1431 | 1413 | 16492 | 3728 | 8251 | 1400 | 48694 | 48461 | 48694 | 2423.05 | 2434.7 | 11.65 | 61.365 | 714.9023 | 714.9023
2200 | 13171 | 2138 | 1376 | 1341 | 15931 | 3610 | 7869 | 1349 | 46785 | 2200 | 13313 | 2166 | 1383 | 1381 | 16132 | 3666 | 7952 | 1367 | 47360 | 46785 | 47360 | 2339.25 | 2368 | 28.75 | 63.08 | 1813.55 | 1813.55
2300 | 12475 | 2070 | 1290 | 1316 | 14974 | 3446 | 7375 | 1254 | 44200 | 2300 | 12416 | 2028 | 1319 | 1306 | 14839 | 3441 | 7398 | 1256 | 44003 | 44200 | 44003 | 2210 | 2200.15 | -9.85 | 58.2075 | -573.3439 | 573.3439
2400 | 11730 | 1971 | 1201 | 1237 | 13937 | 3231 | 6829 | 1144 | 41280 | 2400 | 11926 | 1988 | 1258 | 1208 | 13591 | 3322 | 7108 | 1213 | 41614 | 41280 | 41614 | 2064 | 2080.7 | 16.7 | 58.3575 | 974.5703 | 974.5703
[26 empty] | 5553.2368 | 16934.5577
[26 empty] | 365 | 366
[26 empty] | 2026931.4138 | 6198048.1365

## MCPE
BALANCING SERVICES MCP
Market Date: 05-JUL-200504-JUL-200503-JUL-200502-JUL-2005
Interval Ending Zone
15 | 75.53 | 75.53 | 75.53 | 75.53 | 75.53
30 | 80.27 | 80.27 | 80.27 | 80.27 | 80.27
45 | 72.77 | 72.77 | 72.77 | 72.77 | 72.77
100 | 55.51 | 55.51 | 55.51 | 55.51 | 55.51 | 71.02
115 | 70.73 | 70.73 | 70.73 | 70.73 | 70.73
130 | 49.94 | 49.94 | 49.94 | 49.94 | 49.94
145 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87
200 | 49.19 | 49.19 | 49.19 | 49.19 | 49.19 | 54.9325
215 | 48.51 | 48.51 | 48.51 | 48.51 | 48.51
230 | 47 | 47 | 47 | 47 | 47
245 | 46.79 | 46.79 | 46.79 | 46.79 | 46.79
300 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36 | 47.165
315 | 46.57 | 46.57 | 46.57 | 46.57 | 46.57
330 | 46.47 | 46.47 | 46.47 | 46.47 | 46.47
345 | 46.36 | 46.36 | 46.36 | 46.36 | 46.36
400 | 46.25 | 46.25 | 46.25 | 46.25 | 46.25 | 46.4125
415 | 46.47 | 46.47 | 46.47 | 46.47 | 46.47
430 | 45.09 | 45.09 | 45.09 | 45.09 | 45.09
445 | 44 | 44 | 44 | 44 | 44
500 | 44.9 | 44.9 | 44.9 | 44.9 | 44.9 | 45.115
515 | 42.92 | 42.92 | 42.92 | 42.92 | 42.92
530 | 34.06 | 34.06 | 34.06 | 34.06 | 34.06
545 | 37.01 | 37.01 | 37.01 | 37.01 | 37.01
600 | 33.49 | 33.49 | 33.49 | 33.49 | 33.49 | 36.87
615 | 14.14 | 14.14 | 14.14 | 14.14 | 14.14
630 | 14.14 | 14.14 | 14.14 | 14.14 | 14.14
645 | 28.93 | 28.93 | 28.93 | 28.93 | 28.93
700 | 25.55 | 25.55 | 25.55 | 25.55 | 25.55 | 20.69
715 | 13.07 | 13.07 | 13.07 | 13.07 | 13.07
730 | 12.9 | 12.9 | 12.9 | 12.9 | 12.9
745 | 13.01 | 13.01 | 13.01 | 13.01 | 13.01
800 | 13.1 | 13.1 | 13.1 | 13.1 | 13.1 | 13.02
815 | 13.4 | 13.4 | 13.4 | 13.4 | 13.4
830 | 30 | 30 | 30 | 30 | 30
845 | 33.99 | 33.99 | 33.99 | 33.99 | 33.99
900 | 44.59 | 44.59 | 44.59 | 44.59 | 44.59 | 30.495
915 | 44.48 | 44.48 | 44.48 | 44.48 | 44.48
930 | 45.44 | 45.44 | 45.44 | 45.44 | 45.44
945 | 48.6 | 48.6 | 48.6 | 48.6 | 48.6
1000 | 48.51 | 48.51 | 48.51 | 48.51 | 48.51 | 46.7575
1015 | 40.39 | 40.39 | 40.39 | 40.39 | 40.39
1030 | 42.48 | 40.73 | 40.7 | 38.25 | 40.5
1045 | 44.38 | 43.38 | 43.36 | 41.95 | 43.25
1100 | 45.05 | 45.05 | 45.05 | 45.05 | 45.05 | 42.2975
1115 | 45.06 | 44.94 | 44.93 | 44.77 | 44.92
1130 | 53.4 | 49.91 | 49.85 | 44.98 | 49.46
1145 | 62.11 | 55.53 | 55.42 | 46.24 | 54.68
1200 | 61.89 | 61.13 | 61.12 | 60.05 | 61.03 | 52.5225
1215 | 54.9 | 54.9 | 54.9 | 54.9 | 54.9
1230 | 60.29 | 60.2 | 60.2 | 60.07 | 60.19
1245 | 67.26 | 67.26 | 67.26 | 67.26 | 67.26
1300 | 68.75 | 68.75 | 68.75 | 68.75 | 68.75 | 62.775
1315 | 62.8 | 62.8 | 62.8 | 62.8 | 62.8
1330 | 71.36 | 71.36 | 71.36 | 71.36 | 71.36
1345 | 73.34 | 73.34 | 73.34 | 73.34 | 73.34
1400 | 73.42 | 73.42 | 73.42 | 73.42 | 73.42 | 70.23
1415 | 68.08 | 68.08 | 68.08 | 68.08 | 68.08
1430 | 70.19 | 70.19 | 70.19 | 70.19 | 70.19
1445 | 73.03 | 73.03 | 73.03 | 73.03 | 73.03
1500 | 74.33 | 74.33 | 74.33 | 74.33 | 74.33 | 71.4075
1515 | 73.73 | 73.73 | 73.73 | 73.73 | 73.73
1530 | 75.01 | 75.01 | 75.01 | 75.01 | 75.01
1545 | 77.06 | 77.06 | 77.06 | 77.06 | 77.06
1600 | 77.96 | 77.96 | 77.96 | 77.96 | 77.96 | 75.94
1615 | 77.86 | 77.86 | 77.86 | 77.86 | 77.86
1630 | 77.85 | 77.85 | 77.85 | 77.85 | 77.85
1645 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76
1700 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.8075
1715 | 76.95 | 76.95 | 76.95 | 76.95 | 76.95
1730 | 77.58 | 77.58 | 77.58 | 77.58 | 77.58
1745 | 77.33 | 77.33 | 77.33 | 77.33 | 77.33
1800 | 77.36 | 77.36 | 77.36 | 77.36 | 77.36 | 77.305
1815 | 78.65 | 78.65 | 78.65 | 78.65 | 78.65
1830 | 77.36 | 77.36 | 77.36 | 77.36 | 77.36
1845 | 74.84 | 74.84 | 74.84 | 74.84 | 74.84
1900 | 73.73 | 73.73 | 73.73 | 73.73 | 73.73 | 76.145
1915 | 76.88 | 76.88 | 76.88 | 76.88 | 76.88
1930 | 75.65 | 75.65 | 75.65 | 75.65 | 75.65
1945 | 73.24 | 73.24 | 73.24 | 73.24 | 73.24
2000 | 68.01 | 68.01 | 68.01 | 68.01 | 68.01 | 73.445
2015 | 70.08 | 70.08 | 70.08 | 70.08 | 70.08
2030 | 62.14 | 62.14 | 62.14 | 62.14 | 62.14
2045 | 55.9 | 55.9 | 55.9 | 55.9 | 55.9
2100 | 58.78 | 57.5 | 57.48 | 55.7 | 57.34 | 61.365
2115 | 71.45 | 71.45 | 71.45 | 71.45 | 71.45
2130 | 71.06 | 71.06 | 71.06 | 71.06 | 71.06
2145 | 58.3 | 58.3 | 58.3 | 58.3 | 58.3
2200 | 51.51 | 51.51 | 51.51 | 51.51 | 51.51 | 63.08
2215 | 69.31 | 69.31 | 69.31 | 69.31 | 69.31
2230 | 54.7 | 54.7 | 54.7 | 54.7 | 54.7
2245 | 54.41 | 54.41 | 54.41 | 54.41 | 54.41
2300 | 54.41 | 54.41 | 54.41 | 54.41 | 54.41 | 58.2075
2315 | 70.01 | 70.01 | 70.01 | 70.01 | 70.01
2330 | 60.01 | 60.01 | 60.01 | 60.01 | 60.01
2345 | 52.9 | 52.9 | 52.9 | 52.9 | 52.9
2400 | 50.51 | 50.51 | 50.51 | 50.51 | 50.51 | 58.3575